## Summary
BIG SUMMARY
Data Centre Allocation: | Current
Total Capacity [GW]: | 4
Flexibility: | 10%
x_CFE: | 30%
Total Green Energy | 123437.019
Total Storage | 33087.675
| Inflexible | Temporal | Spatial | Both | CFE | CFE_both
Total Green Energy Curtailment | 11551016.2276 | 11569839.7635 | 11838855.8228 | 11737787.6193 | 11880238.1 | 11966102.15
Total Wind Offshore Curtailment | 6741252.8919 | 6667469.0159 | 6764399.9217 | 6769494.2683 | 6832674 | 6982622
Total Wind Onshore Curtailment | 3093481.4656 | 3097251.9865 | 3295088.9888 | 3175365.799 | 3356432 | 3355908
Total Solar PV Curtailment | 1431946.4995 | 1511529.7613 | 1469958.6955 | 1497178.3748 | 1392276 | 1322932
DC Cost | 9415421.1158 | 9413063.7231 | 9412419.4726 | 9368208.6495 | 14475760 | 14380660
Network objective | 77721398.5732 | 77468601.6622 | 77655938.6327 | 76789793.802 | 82435033.5368 | 81058474.8829
Tot Green En Curtailment Reduction w.r.t. Inflexible |  | -0.163% | -2.492% | -1.617% | -2.85% | -3.594%
Total Wind Offshore Curtailment Reduction |  | 1.095% | -0.3434% | -0.4189% | -1.356% | -3.58%
Total Wind Onshore Curtailment Reduction |  | -0.1219% | -6.517% | -2.647% | -8.5% | -8.483%
Total Solar PV Curtailment Reduction |  | -5.558% | -2.655% | -4.555% | 2.77% | 7.613%
DC Cost Reduction w.r.t. Inflexible |  | 0.02504% | 0.03188% | 0.5014% | -53.75% | -52.74%
Objective Reduction w.r.t. Inflexible |  | 0.3253% | 0.08422% | 1.199% | -6.065% | -4.294%

## Inflexible
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3395181.8105 | 0 | 3395181.8105 | 0 | 0.11346 | 26528393.1895 | 0 | 37763451.1832 | 37763451.1832 | 11.1227
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4256.679 | 0 | 4256.679 | 0 | 0.1771 | 19778.321 | 0 | 53038.2203 | 90804.6105 | 21.3322
| Landfill Gas | 834.5111 | 834.5111 | 35.5821 | 0 | 35.5821 | 0 | 1.9508e-05 | 1823371.0976 | 0 | 1921.4325 | 1971.449 | 55.422
| Large Hydro | 1897.296 | 1897.296 | 1408454.0471 | 0 | 1408454.0471 | 0 | 0.33975 | 249782.6569 | 0 | 0 | 8906718.6056 | 6.3238
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 239216.8371 | 0 | 239216.8371 | 0 | 0.43042 | 34552.7137 | 0 | 0 | 1905014.9409 | 7.9635
| Nuclear | 4570 | 4570 | 3952702.2729 | 0 | 3952702.2729 | 0 | 0.39585 | 6032747.7271 | 0 | 39527022.7292 | 64825334.0098 | 16.4003
| Offshore Wind | 53544.202 | 53544.202 | 25373593.2177 | 0 | 25373593.2177 | 0 | 0.21688 | 6741252.8919 | 0 | 0 | 96286758.3726 | 3.7948
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11241652.8908 | 0 | 11241652.8908 | 0 | 0.18866 | 3093481.4656 | 0 | 0 | 39685900.7136 | 3.5303
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13133594.9597 | 0 | 13133594.9597 | 0 | 0.14852 | 1431946.4995 | 0 | 0 | 86252971.7835 | 6.5674
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 31712499.5694 | 23826230.1676 | 7886269.4017 | -7886269.4017 | 0.11013 | 0 | 0 | 0 | 78316379.0633 | 1.4101
Link | DC | 12450 | 12450 | 9418356.1735 | 5936118.419 | 3482237.7544 | -3482237.7544 | 0.56444 | 30685487.7544 | 0 | 0 | 65578337.1051 | 4.271
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 118824.326 | -118824.326 | 0 | 0.014887 | 7863187.7126 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 75193.0016 | -75193.0016 | 0 | 0.12362 | 533069.4834 | 0 | 375965.0078 | 0
Load | Data Centre | 0 | 0 | 0 | 1305638.9621 | -1305638.9621 | 0 |  | 0 | 0 | 0 | -9415421.1158 | -7.2114
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -393498803.3762 | -7.5414
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 2534480.7073 | 6022224.7119 | -3487744.0046 | 0 | 0.14793 | 61329005.0095 | 0 | 0 | 16374792.6031 | 1.9137
| Domestic Battery Storage | 857.708 | 857.708 | 135053.0854 | 267736.025 | -132682.9396 | 0 | 0.21492 | 2006774.9196 | 0 | 0 | 537457.8448 | 1.3343
| Liquid Air Energy Storage | 457.994 | 457.994 | 32097.394 | 259872.9163 | -227775.5223 | 0 | 0.29176 | 1228492.4123 | 0 | 0 | 546305.3145 | 1.8711
| Pumped Storage Hydroelectricity | 5300 | 5300 | 820056.1705 | 2242395.3659 | -1422339.1954 | 0 | 0.26445 | 13002839.1954 | 0 | 0 | 10106392.0826 | 3.3001
Store | Hydrogen Gas | 46768.008 | 46768.008 | 74108.303 | 82092.3296 | -7984.0266 | 0 | 0.78131 | 0 | 0 | 0 | 0

## Temporal
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3386634.5047 | 0 | 3386634.5047 | 0 | 0.11318 | 26536940.4953 | 0 | 37546898.7912 | 37546898.7912 | 11.0868
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4256.679 | 0 | 4256.679 | 0 | 0.1771 | 19778.321 | 0 | 53038.2203 | 90781.2613 | 21.3267
| Landfill Gas | 834.5111 | 834.5111 | 35.5821 | 0 | 35.5821 | 0 | 1.9508e-05 | 1823371.0976 | 0 | 1921.4325 | 1971.449 | 55.422
| Large Hydro | 1897.296 | 1897.296 | 1401465.6544 | 0 | 1401465.6544 | 0 | 0.33806 | 256771.0496 | 0 | 0 | 8903915.0791 | 6.3533
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 236951.6006 | 0 | 236951.6006 | 0 | 0.42635 | 36817.9502 | 0 | 0 | 1904115.0225 | 8.0359
| Nuclear | 4570 | 4570 | 3949338.5882 | 0 | 3949338.5882 | 0 | 0.39551 | 6036111.4118 | 0 | 39493385.8815 | 64752793.1971 | 16.3959
| Offshore Wind | 53544.202 | 53544.202 | 25447377.0936 | 0 | 25447377.0936 | 0 | 0.21751 | 6667469.0159 | 0 | 0 | 96337276.792 | 3.7857
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11237882.3699 | 0 | 11237882.3699 | 0 | 0.1886 | 3097251.9865 | 0 | 0 | 39695975.8155 | 3.5323
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13054011.6979 | 0 | 13054011.6979 | 0 | 0.14762 | 1511529.7613 | 0 | 0 | 86210634.2455 | 6.6041
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 30446276.2437 | 24298262.7913 | 6148013.4525 | -6148013.4525 | 0.10856 | 0 | 0 | 0 | 78146122.6734 | 1.4275
Link | DC | 12450 | 12450 | 9429713.4954 | 5956242.2086 | 3473471.2868 | -3473471.2868 | 0.56559 | 30676721.2868 | 0 | 0 | 65331781.5743 | 4.2462
| DSM | 20000000 | 20000000 | 0 | 75077.3184 | -75077.3184 | 0 | 1.718e-06 | 43699924922.6816 | 0 | 0.75077 | -560172.7636 | -7.4613
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 112876.4978 | -112876.4978 | 0 | 0.014141 | 7869135.5408 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 74671.3172 | -74671.3172 | 0 | 0.12276 | 533591.1678 | 0 | 373356.5859 | 0
Load | Data Centre | 0 | 0 | 0 | 1305638.9621 | -1305638.9621 | 0 |  | 0 | 0 | 0 | -9413063.7231 | -7.2095
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -393354705.1225 | -7.5387
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 2588526.9387 | 6068031.1185 | -3479504.1799 | 0 | 0.14966 | 61320765.1849 | 0 | 0 | 16301792.925 | 1.8832
| Domestic Battery Storage | 857.708 | 857.708 | 139017.1503 | 269815.4249 | -130798.2746 | 0 | 0.21815 | 2004890.2546 | 0 | 0 | 535030.6744 | 1.3087
| Liquid Air Energy Storage | 457.994 | 457.994 | 32827.5228 | 259059.6507 | -226232.1279 | 0 | 0.29168 | 1226949.018 | 0 | 0 | 545943.8509 | 1.8704
| Pumped Storage Hydroelectricity | 5300 | 5300 | 842301.881 | 2251042.2582 | -1408740.3772 | 0 | 0.26712 | 12989240.3772 | 0 | 0 | 10090844.8133 | 3.2621
Store | DSM | 10000000 | 10000000 | 37538.6592 | 37538.6592 | 0 | 0 | 0.99993 | 0 | 0 | 0 | 0
| Hydrogen Gas | 46768.008 | 46768.008 | 73894.6825 | 78236.9138 | -4342.2313 | 0 | 0.42493 | 0 | 0 | 0 | 0

## Spatial
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3396832.6494 | 0 | 3396832.6494 | 0 | 0.11352 | 26526742.3506 | 0 | 37718347.8441 | 37718347.8441 | 11.104
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4263.345 | 0 | 4263.345 | 0 | 0.17738 | 19771.655 | 0 | 53121.2787 | 90849.4587 | 21.3094
| Landfill Gas | 834.5111 | 834.5111 | 35.5821 | 0 | 35.5821 | 0 | 1.9508e-05 | 1823371.0976 | 0 | 1921.4325 | 1971.0808 | 55.4115
| Large Hydro | 1897.296 | 1897.296 | 1385991.8983 | 0 | 1385991.8983 | 0 | 0.33433 | 272244.8057 | 0 | 0 | 8909315.4926 | 6.4281
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 236606.1398 | 0 | 236606.1398 | 0 | 0.42573 | 37163.4111 | 0 | 0 | 1904782.8683 | 8.0504
| Nuclear | 4570 | 4570 | 3949669.3366 | 0 | 3949669.3366 | 0 | 0.39554 | 6035780.6634 | 0 | 39496693.3655 | 64761852.4417 | 16.3968
| Offshore Wind | 53544.202 | 53544.202 | 25350446.1879 | 0 | 25350446.1879 | 0 | 0.21668 | 6764399.9217 | 0 | 0 | 96266374.837 | 3.7974
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11040045.3676 | 0 | 11040045.3676 | 0 | 0.18528 | 3295088.9888 | 0 | 0 | 39683848.6257 | 3.5945
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13095582.7637 | 0 | 13095582.7637 | 0 | 0.14809 | 1469958.6955 | 0 | 0 | 86215575.8822 | 6.5836
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 30142351.4532 | 24554717.5342 | 5587633.919 | -5587633.919 | 0.10846 | 0 | 0 | 0 | 77674918.3203 | 1.4201
Link | DC | 12450 | 12450 | 9457277.9022 | 5973346.9797 | 3483930.9225 | -3483930.9225 | 0.56723 | 30687180.9225 | 0 | 0 | 65485236.8045 | 4.2438
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 120822.2951 | -120822.2951 | 0 | 0.015137 | 7861189.7436 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 77170.9285 | -77170.9285 | 0 | 0.12687 | 531091.5565 | 0 | 385854.6426 | 0
| Virtual Link | 90000000 | 90000000 | 0 | 6913.1525 | -6913.1525 | 6913.1525 | 3.5155e-08 | 196649993086.8474 | 0 | 0.06913 | -27623.1691 | -3.9957
Load | Data Centre | 0 | 0 | 0 | 1305638.9621 | -1305638.9621 | 0 |  | 0 | 0 | 0 | -9412419.4726 | -7.2091
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -393350240.7085 | -7.5386
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 3359457.8586 | 6652166.5604 | -3292708.7017 | 0 | 0.17309 | 61133969.7067 | 0 | 0 | 16373812.7946 | 1.6355
| Domestic Battery Storage | 857.708 | 857.708 | 159295.0189 | 285122.4801 | -125827.4612 | 0 | 0.23714 | 1999919.4412 | 0 | 0 | 537384.1391 | 1.2092
| Liquid Air Energy Storage | 457.994 | 457.994 | 36512.64 | 252192.4994 | -215679.8593 | 0 | 0.2885 | 1216396.7493 | 0 | 0 | 546177.0976 | 1.8918
| Pumped Storage Hydroelectricity | 5300 | 5300 | 932101.0692 | 2278245.0058 | -1346143.9366 | 0 | 0.27722 | 12926643.9366 | 0 | 0 | 10114208.7397 | 3.1505
Store | Hydrogen Gas | 46768.008 | 46768.008 | 76749.3894 | 84154.0675 | -7404.678 | 0 | 0.72461 | 0 | 0 | 0 | 0

## Both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3363263.7467 | 0 | 3363263.7467 | 0 | 0.1124 | 26560311.2533 | 0 | 37126080.6999 | 37126080.6999 | 11.0387
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4217.264 | 0 | 4217.264 | 0 | 0.17546 | 19817.736 | 0 | 52547.1094 | 89926.7062 | 21.3234
| Landfill Gas | 834.5111 | 834.5111 | 35.5821 | 0 | 35.5821 | 0 | 1.9508e-05 | 1823371.0976 | 0 | 1921.4325 | 1968.3752 | 55.3354
| Large Hydro | 1897.296 | 1897.296 | 1399631.5301 | 0 | 1399631.5301 | 0 | 0.33762 | 258605.1739 | 0 | 0 | 8786365.0561 | 6.2776
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 236625.5475 | 0 | 236625.5475 | 0 | 0.42576 | 37144.0033 | 0 | 0 | 1891214.1372 | 7.9924
| Nuclear | 4570 | 4570 | 3924050.4692 | 0 | 3924050.4692 | 0 | 0.39298 | 6061399.5308 | 0 | 39240504.6921 | 64291646.4491 | 16.384
| Offshore Wind | 53544.202 | 53544.202 | 25345351.8413 | 0 | 25345351.8413 | 0 | 0.21664 | 6769494.2683 | 0 | 0 | 95725796.9023 | 3.7769
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11159768.5574 | 0 | 11159768.5574 | 0 | 0.18729 | 3175365.799 | 0 | 0 | 39439515.0374 | 3.5341
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13068363.0844 | 0 | 13068363.0844 | 0 | 0.14779 | 1497178.3748 | 0 | 0 | 85827048.4833 | 6.5675
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 30540293.6312 | 24407796.8681 | 6132496.7631 | -6132496.7631 | 0.10896 | 0 | 0 | 0 | 77699812.0145 | 1.4141
Link | DC | 12450 | 12450 | 9418080.0921 | 5968578.8134 | 3449501.2787 | -3449501.2787 | 0.56562 | 30652751.2787 | 0 | 0 | 64670733.3126 | 4.203
| DSM | 20000000 | 20000000 | 0 | 120794.5436 | -120794.5436 | 0 | 2.7642e-06 | 43699879205.4564 | 0 | 1.208 | -131010.926 | -1.0846
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 116543.1165 | -116543.1165 | 0 | 0.014601 | 7865468.9221 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 73747.7145 | -73747.7145 | 0 | 0.12124 | 534514.7705 | 0 | 368738.5723 | 0
| Virtual Link | 90000000 | 90000000 | 0 | 8778.0508 | -8778.0508 | 8778.0508 | 4.4638e-08 | 196649991221.9492 | 0 | 0.08778 | -12445.9935 | -1.4179
Load | Data Centre | 0 | 0 | 0 | 1305638.9621 | -1305638.9621 | 0 |  | 0 | 0 | 0 | -9368208.6495 | -7.1752
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -391798724.3814 | -7.5088
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 3222542.8656 | 6558527.4105 | -3335984.5449 | 0 | 0.1691 | 61177245.5499 | 0 | 0 | 16356736.9924 | 1.6723
| Domestic Battery Storage | 857.708 | 857.708 | 169532.5719 | 292880.1601 | -123347.5882 | 0 | 0.24674 | 1997439.5682 | 0 | 0 | 537094.0256 | 1.1615
| Liquid Air Energy Storage | 457.994 | 457.994 | 36088.0862 | 255895.9157 | -219807.8295 | 0 | 0.29177 | 1220524.7195 | 0 | 0 | 544063.3515 | 1.8633
| Pumped Storage Hydroelectricity | 5300 | 5300 | 959804.1236 | 2304565.3027 | -1344761.1791 | 0 | 0.28189 | 12925261.1791 | 0 | 0 | 10023568.174 | 3.0706
Store | DSM | 10000000 | 10000000 | 60397.2718 | 60397.2718 | 0 | 0 | 0.99926 | 0 | 0 | 0 | 0
| Hydrogen Gas | 46768.008 | 46768.008 | 72935.5108 | 80767.9779 | -7832.4671 | 0 | 0.76648 | 0 | 0 | 0 | 0

## CFE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3574109 | 0 | 3574109 | 0 | 0.11944 | 26349470 | 0 | 41118460 | 41118460 | 11.5045
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4558.222 | 0 | 4558.222 | 0 | 0.18965 | 19476.78 | 0 | 56795.45 | 97867.21 | 21.4705
| Landfill Gas | 834.5111 | 834.5111 | 1037.996 | 0 | 1037.996 | 0 | 0.000569 | 1822369 | 0 | 56051.8 | 56229.9 | 54.1711
| Large Hydro | 1897.296 | 1897.296 | 1398401 | 0 | 1398401 | 0 | 0.33732 | 259835.4 | 0 | 0 | 9285688 | 6.6402
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 234748.8 | 0 | 234748.8 | 0 | 0.42238 | 39020.7 | 0 | 0 | 1988605 | 8.4712
| Nuclear | 4570 | 4570 | 4081360 | 0 | 4081360 | 0 | 0.40873 | 5904090 | 0 | 40813600 | 68447700 | 16.7708
| Offshore Wind | 53544.202 | 53544.202 | 25282170 | 0 | 25282170 | 0 | 0.2161 | 6832674 | 0 | 0 | 101829500 | 4.0277
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.741 | 27270.741 | 10978700 | 0 | 10978700 | 0 | 0.18425 | 3356432 | 0 | 0 | 41949680 | 3.821
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.422 | 40470.422 | 13173270 | 0 | 13173270 | 0 | 0.14897 | 1392276 | 0 | 0 | 90600320 | 6.8776
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 31687430 | 23538770 | 8148657 | -8148657 | 0.10951 | 0 | 0 | 0 | 78659330 | 1.4243
Link | DC | 12450 | 12450 | 9528262 | 5862509 | 3665753 | -3665753 | 0.56577 | 30869000 | 0 | 0 | 71315980 | 4.6337
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 115909.7 | -115909.7 | 0 | 0.014521 | 7866102 | 0 | 0 | 36.7617 | 0.000317
| H2 Power Generation | 278.381 | 278.381 | 0 | 78025.34 | -78025.34 | 0 | 0.12828 | 530237.1 | 0 | 390126.7 | 0 | NaN
Load | Data Centre | 0 | 0 | 0 | 1877552 | -1877552 | 0 | NaN | 0 | 0 | 0 | -14475760 | -7.7099
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -412153700 | -7.8989
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 3798709 | 6913930 | -3115221 | 0 | 0.18521 | 60956480 | 0 | 0 | 16751020 | 1.5637
| Domestic Battery Storage | 857.708 | 857.708 | 191162.1 | 307458.5 | -116296.3 | 0 | 0.26606 | 1990388 | 0 | 0 | 542807.3 | 1.0886
| Liquid Air Energy Storage | 457.994 | 457.994 | 33084.26 | 244788 | -211703.7 | 0 | 0.27767 | 1212421 | 0 | 0 | 554579.4 | 1.9958
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1089884 | 2333879 | -1243994 | 0 | 0.29565 | 12824490 | 0 | 0 | 10305380 | 3.01
Store | Hydrogen Gas | 46768.008 | 46768.008 | 76143.93 | 79255.37 | -3111.437 | 0 | 0.30448 | 0 | 0 | 0 | 0 | NaN

## CFE_both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.892 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.807 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3535296 | 0 | 3535296 | 0 | 0.11814 | 26388280 | 0 | 40144510 | 40144510 | 11.3553
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4556.233 | 0 | 4556.233 | 0 | 0.18957 | 19478.77 | 0 | 56770.66 | 97138.9 | 21.32
| Landfill Gas | 834.5111 | 834.5111 | 132.1844 | 0 | 132.1844 | 0 | 7.2498e-05 | 1823274 | 0 | 7137.958 | 7265.314 | 54.9602
| Large Hydro | 1897.296 | 1897.296 | 1394715 | 0 | 1394715 | 0 | 0.33643 | 263521.9 | 0 | 0 | 9186608 | 6.5867
| Load Shedding | 48629.19 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 232651.3 | 0 | 232651.3 | 0 | 0.41861 | 41118.25 | 0 | 0 | 1974313 | 8.4861
| Nuclear | 4570 | 4570 | 4047975 | 0 | 4047975 | 0 | 0.40539 | 5937475 | 0 | 40479750 | 67612460 | 16.7028
| Offshore Wind | 53544.2 | 53544.2 | 25132220 | 0 | 25132220 | 0 | 0.21482 | 6982622 | 0 | 0 | 101226600 | 4.0278
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.74 | 27270.74 | 10979230 | 0 | 10979230 | 0 | 0.18426 | 3355908 | 0 | 0 | 41679480 | 3.7962
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.42 | 40470.42 | 13242610 | 0 | 13242610 | 0 | 0.14976 | 1322932 | 0 | 0 | 90092240 | 6.8032
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 31940290 | 23555210 | 8385087 | -8385087 | 0.11005 | 0 | 0 | 0 | 78739580 | 1.4188
Link | DC | 12450 | 12450 | 9547466 | 5921522 | 3625944 | -3625944 | 0.56864 | 30829190 | 0 | 0 | 69909750 | 4.5193
| DSM | 20000000 | 20000000 | 0 | 177646.2 | -177646.2 | 0 | 4.0651e-06 | 43699820000 | 0 | 1.7765 | -706537.2 | -3.9772
| Electrolysis | 3653.095 | 3653.095 | 0 | 116580.8 | -116580.8 | 0 | 0.014605 | 7865431 | 0 | 0 | 31.6334 | 0.000271
| H2 Power Generation | 278.381 | 278.381 | 0 | 74059.3 | -74059.3 | 0 | 0.12176 | 534203.2 | 0 | 370296.5 | 0 | NaN
| Virtual Link | 90000000 | 90000000 | 0 | 9065.369 | -9065.369 | 9065.369 | 4.6099e-08 | 196650000000 | 0 | 0.09065 | -15733.65 | -1.7356
Load | Data Centre | 0 | 0 | 0 | 1877552 | -1877552 | 0 | NaN | 0 | 0 | 0 | -14380660 | -7.6593
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -409526900 | -7.8486
StorageUnit | Battery Storage | 26471.97 | 26471.97 | 4258572 | 7234905 | -2976332 | 0 | 0.19871 | 60817590 | 0 | 0 | 16579460 | 1.4425
| Domestic Battery Storage | 857.708 | 857.708 | 216329.9 | 325616 | -109286.1 | 0 | 0.28918 | 1983378 | 0 | 0 | 538337.1 | 0.99334
| Liquid Air Energy Storage | 457.994 | 457.994 | 34637.4 | 244954 | -210316.6 | 0 | 0.27939 | 1211034 | 0 | 0 | 549048.9 | 1.9638
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1130788 | 2359448 | -1228660 | 0 | 0.30139 | 12809160 | 0 | 0 | 10164050 | 2.9121
Store | DSM | 10000000 | 10000000 | 88823.08 | 88823.08 | 0 | 0 | 0.99877 | 0 | 0 | 0 | 0 | NaN
| Hydrogen Gas | 46768.01 | 46768.01 | 72456.04 | 80003.3 | -7547.269 | 0 | 0.73857 | 0 | 0 | 0 | 0 | NaN