## Summary
BIG SUMMARY
Data Centre Allocation: | Population
Total Capacity [GW]: | 4
Flexibility: | 10%
x_CFE: | 100%
Total Green Energy | 123437.019
Total Storage | 33087.675
| Inflexible | Temporal | Spatial | Both | CFE | CFE_both
Total Green Energy Curtailment | 11412538.7291 | 11416156.9777 | 11775024.442 | 11639358.4813 | 12108762.58 | 12098775.62
Total Wind Offshore Curtailment | 6536103.4404 | 6602690.0352 | 6564609.8832 | 6712367.8615 | 7138085 | 7218102
Total Wind Onshore Curtailment | 3222104.4621 | 3114089.9084 | 3362993.7074 | 3287011.9954 | 3448608 | 3360975
Total Solar PV Curtailment | 1339813.4739 | 1388330.2163 | 1508285.2373 | 1309421.9723 | 1178857 | 1169451
DC Cost | 15237429.2491 | 15206049.6651 | 15237428.5427 | 15145488.4793 | 15255380 | 15106840
Network objective | 83006417.4226 | 82606742.585 | 83006292.183 | 81641873.5352 | 83697462.6175 | 82313810.1464
Tot Green En Curtailment Reduction w.r.t. Inflexible |  | -0.0317% | -3.176% | -1.987% | -6.101% | -6.013%
Total Wind Offshore Curtailment Reduction |  | -1.019% | -0.4361% | -2.697% | -9.21% | -10.43%
Total Wind Onshore Curtailment Reduction |  | 3.352% | -4.373% | -2.014% | -7.03% | -4.31%
Total Solar PV Curtailment Reduction |  | -3.621% | -12.57% | 2.268% | 12.01% | 12.72%
DC Cost Reduction w.r.t. Inflexible |  | 0.2059% | 4.636e-06% | 0.6034% | -0.1178% | 0.857%
Objective Reduction w.r.t. Inflexible |  | 0.4815% | 0.0001509% | 1.644% | -0.8325% | 0.8344%

## Inflexible
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3617998.2648 | 0 | 3617998.2648 | 0 | 0.12091 | 26305576.7352 | 0 | 41523690.0341 | 41523690.0341 | 11.477
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4626.798 | 0 | 4626.798 | 0 | 0.1925 | 19408.202 | 0 | 57649.9031 | 97520.6149 | 21.0773
| Landfill Gas | 834.5111 | 834.5111 | 484.795 | 0 | 484.795 | 0 | 0.00026587 | 1822921.8846 | 0 | 26178.9311 | 26314.7002 | 54.2811
| Large Hydro | 1897.296 | 1897.296 | 1376986.7725 | 0 | 1376986.7725 | 0 | 0.33216 | 281249.9315 | 0 | 0 | 8653086.774 | 6.2841
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 240502.1295 | 0 | 240502.1295 | 0 | 0.43274 | 33267.4213 | 0 | 0 | 1937849.2941 | 8.0575
| Nuclear | 4570 | 4570 | 4104923.8381 | 0 | 4104923.8381 | 0 | 0.41109 | 5880526.1619 | 0 | 41049238.3806 | 68828600.6862 | 16.7673
| Offshore Wind | 53544.202 | 53544.202 | 25578742.6692 | 0 | 25578742.6692 | 0 | 0.21863 | 6536103.4404 | 0 | 0 | 101617652.6383 | 3.9727
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11113029.8944 | 0 | 11113029.8944 | 0 | 0.1865 | 3222104.4621 | 0 | 0 | 41099209.7824 | 3.6983
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13225727.9853 | 0 | 13225727.9853 | 0 | 0.14957 | 1339813.4739 | 0 | 0 | 90581604.9586 | 6.8489
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 32551784.1506 | 23320581.3232 | 9231202.8274 | -9231202.8274 | 0.11079 | 0 | 0 | 0 | 99542435.7716 | 1.7816
Link | DC | 12450 | 12450 | 9583051.789 | 5872284.338 | 3710767.4511 | -3710767.4511 | 0.56814 | 30914017.4511 | 0 | 0 | 71862787.4103 | 4.6497
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 111151.3948 | -111151.3948 | 0 | 0.013925 | 7870860.6439 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 69932.0348 | -69932.0348 | 0 | 0.11497 | 538330.4502 | 0 | 349660.1738 | 0
Load | Data Centre | 0 | 0 | 0 | 1877542.7831 | -1877542.7831 | 0 |  | 0 | 0 | 0 | -15237429.2491 | -8.1156
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -411597719.5007 | -7.8883
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 2534785.6103 | 5970502.2084 | -3435716.5981 | 0 | 0.14705 | 61276977.6031 | 0 | 0 | 16733883.1459 | 1.9675
| Domestic Battery Storage | 857.708 | 857.708 | 138085.3594 | 270500.3505 | -132414.9912 | 0 | 0.21802 | 2006506.9712 | 0 | 0 | 550607.0228 | 1.3476
| Liquid Air Energy Storage | 457.994 | 457.994 | 30637.9669 | 251498.4245 | -220860.4576 | 0 | 0.28193 | 1221577.3476 | 0 | 0 | 557677.1842 | 1.9766
| Pumped Storage Hydroelectricity | 5300 | 5300 | 813057.9709 | 2247794.305 | -1434736.3341 | 0 | 0.26431 | 13015236.3341 | 0 | 0 | 9938024.0907 | 3.2468
Store | Hydrogen Gas | 46768.008 | 46768.008 | 68895.075 | 76769.0166 | -7873.9416 | 0 | 0.77053 | 0 | 0 | 0 | 0

## Temporal
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3596047.0416 | 0 | 3596047.0416 | 0 | 0.12017 | 26327527.9584 | 0 | 41131015.123 | 41131015.123 | 11.4378
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4453.372 | 0 | 4453.372 | 0 | 0.18529 | 19581.628 | 0 | 55489.0151 | 95186.798 | 21.3741
| Landfill Gas | 834.5111 | 834.5111 | 522.8323 | 0 | 522.8323 | 0 | 0.00028673 | 1822883.8473 | 0 | 28232.945 | 28368.1311 | 54.2592
| Large Hydro | 1897.296 | 1897.296 | 1382017.6341 | 0 | 1382017.6341 | 0 | 0.33337 | 276219.0699 | 0 | 0 | 8637571.9416 | 6.25
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 238941.8029 | 0 | 238941.8029 | 0 | 0.42993 | 34827.7479 | 0 | 0 | 1935411.9283 | 8.0999
| Nuclear | 4570 | 4570 | 4104458.9139 | 0 | 4104458.9139 | 0 | 0.41104 | 5880991.0861 | 0 | 41044589.1395 | 68653450.5366 | 16.7266
| Offshore Wind | 53544.202 | 53544.202 | 25512156.0743 | 0 | 25512156.0743 | 0 | 0.21806 | 6602690.0352 | 0 | 0 | 101513478.0108 | 3.979
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11221044.448 | 0 | 11221044.448 | 0 | 0.18831 | 3114089.9084 | 0 | 0 | 41022297.8047 | 3.6558
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13177211.2429 | 0 | 13177211.2429 | 0 | 0.14902 | 1388330.2163 | 0 | 0 | 90344947.028 | 6.8562
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 32692993.448 | 23168647.3035 | 9524346.1445 | -9524346.1445 | 0.11077 | 0 | 0 | 0 | 98850007.2672 | 1.7696
Link | DC | 12450 | 12450 | 9604788.4669 | 5916535.0909 | 3688253.376 | -3688253.376 | 0.57057 | 30891503.376 | 0 | 0 | 71373919.0877 | 4.5984
| DSM | 26000000 | 26000000 | 0 | 117173.9121 | -117173.9121 | 0 | 2.0626e-06 | 56809882826.0879 | 0 | 1.1717 | -1041930.4632 | -8.8922
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 102077.8159 | -102077.8159 | 0 | 0.012788 | 7879934.2227 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 69483.0381 | -69483.0381 | 0 | 0.11423 | 538779.4469 | 0 | 347415.1906 | 0
Load | Data Centre | 0 | 0 | 0 | 1877542.7831 | -1877542.7831 | 0 |  | 0 | 0 | 0 | -15206049.6651 | -8.0989
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -410643691.3267 | -7.87
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 2603248.2395 | 6038224.3379 | -3434976.0984 | 0 | 0.1494 | 61276237.1034 | 0 | 0 | 16577041.8843 | 1.9183
| Domestic Battery Storage | 857.708 | 857.708 | 142469.9688 | 272476.0696 | -130006.1008 | 0 | 0.22141 | 2004098.0808 | 0 | 0 | 545406.7103 | 1.3144
| Liquid Air Energy Storage | 457.994 | 457.994 | 31820.7672 | 252267.3171 | -220446.5499 | 0 | 0.28388 | 1221163.44 | 0 | 0 | 552474.6132 | 1.9447
| Pumped Storage Hydroelectricity | 5300 | 5300 | 821260.8643 | 2241676.9402 | -1420416.0759 | 0 | 0.26449 | 13000916.0759 | 0 | 0 | 9857427.5405 | 3.2183
Store | DSM | 13000000 | 13000000 | 58586.9561 | 58586.9561 | 0 | 0 | 0.99993 | 0 | 0 | 0 | 0
| Hydrogen Gas | 46768.008 | 46768.008 | 68330.0555 | 70301.4885 | -1971.433 | 0 | 0.19292 | 0 | 0 | 0 | 0

## Spatial
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3619085.2403 | 0 | 3619085.2403 | 0 | 0.12094 | 26304489.7597 | 0 | 41523637.6926 | 41523637.6926 | 11.4735
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4626.798 | 0 | 4626.798 | 0 | 0.1925 | 19408.202 | 0 | 57649.9031 | 97520.6146 | 21.0773
| Landfill Gas | 834.5111 | 834.5111 | 484.795 | 0 | 484.795 | 0 | 0.00026587 | 1822921.8846 | 0 | 26178.9311 | 26314.7002 | 54.2811
| Large Hydro | 1897.296 | 1897.296 | 1355338.2084 | 0 | 1355338.2084 | 0 | 0.32693 | 302898.4956 | 0 | 0 | 8653084.4209 | 6.3844
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 237532.4324 | 0 | 237532.4324 | 0 | 0.42739 | 36237.1185 | 0 | 0 | 1937849.2635 | 8.1583
| Nuclear | 4570 | 4570 | 4105063.8288 | 0 | 4105063.8288 | 0 | 0.4111 | 5880386.1712 | 0 | 41050638.2884 | 68829995.3471 | 16.7671
| Offshore Wind | 53544.202 | 53544.202 | 25550236.2264 | 0 | 25550236.2264 | 0 | 0.21839 | 6564609.8832 | 0 | 0 | 101617651.5231 | 3.9772
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 10972140.6491 | 0 | 10972140.6491 | 0 | 0.18414 | 3362993.7074 | 0 | 0 | 41099208.1189 | 3.7458
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13057256.2219 | 0 | 13057256.2219 | 0 | 0.14766 | 1508285.2373 | 0 | 0 | 90581596.1014 | 6.9373
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 32710577.2198 | 23296425.0241 | 9414152.1957 | -9414152.1957 | 0.11106 | 0 | 0 | 0 | 98969393.1285 | 1.7671
Link | DC | 12450 | 12450 | 9596868.5716 | 5884986.2738 | 3711882.2978 | -3711882.2978 | 0.56912 | 30915132.2978 | 0 | 0 | 71862732.2428 | 4.6417
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 102550.6241 | -102550.6241 | 0 | 0.012848 | 7879461.4145 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 69637.4722 | -69637.4722 | 0 | 0.11449 | 538625.0128 | 0 | 348187.3611 | 0
| Virtual Link | 156000000 | 156000000 | 0 | 668.606 | -668.606 | 668.606 | 1.9615e-09 | 340859999331.394 | 0 | 0.00669 | -6077.8418 | -9.0903
Load | Data Centre | 0 | 0 | 0 | 1877542.7831 | -1877542.7831 | 0 |  | 0 | 0 | 0 | -15237428.5427 | -8.1156
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -411597668.0622 | -7.8883
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 3506518.0346 | 6737429.4913 | -3230911.4568 | 0 | 0.1771 | 61072172.4618 | 0 | 0 | 16733885.9792 | 1.6335
| Domestic Battery Storage | 857.708 | 857.708 | 188390.3625 | 307210.6683 | -118820.3058 | 0 | 0.26445 | 1992912.2858 | 0 | 0 | 550606.9754 | 1.111
| Liquid Air Energy Storage | 457.994 | 457.994 | 33362.3495 | 244032.76 | -210670.4105 | 0 | 0.2772 | 1211387.3005 | 0 | 0 | 557677.1842 | 2.0104
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1024552.2287 | 2335101.0505 | -1310548.8218 | 0 | 0.29011 | 12891048.8218 | 0 | 0 | 9938024.0907 | 2.9581
Store | Hydrogen Gas | 46768.008 | 46768.008 | 68750.4756 | 70898.4403 | -2147.9647 | 0 | 0.2102 | 0 | 0 | 0 | 0

## Both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3567776.3889 | 0 | 3567776.3889 | 0 | 0.11923 | 26355798.6111 | 0 | 40461381.0441 | 40461381.0441 | 11.3408
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4453.372 | 0 | 4453.372 | 0 | 0.18529 | 19581.628 | 0 | 55489.0151 | 94600.8978 | 21.2425
| Landfill Gas | 834.5111 | 834.5111 | 37.806 | 0 | 37.806 | 0 | 2.0731e-05 | 1823368.8737 | 0 | 2041.5221 | 2169.7175 | 57.3994
| Large Hydro | 1897.296 | 1897.296 | 1361765.7866 | 0 | 1361765.7866 | 0 | 0.32849 | 296470.9174 | 0 | 0 | 8602315.9475 | 6.317
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 239683.8163 | 0 | 239683.8163 | 0 | 0.43126 | 34085.7346 | 0 | 0 | 1925872.1292 | 8.0351
| Nuclear | 4570 | 4570 | 4077561.2231 | 0 | 4077561.2231 | 0 | 0.40835 | 5907888.7769 | 0 | 40775612.2309 | 68045813.2251 | 16.6879
| Offshore Wind | 53544.202 | 53544.202 | 25402478.248 | 0 | 25402478.248 | 0 | 0.21713 | 6712367.8615 | 0 | 0 | 101189046.0255 | 3.9834
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11048122.361 | 0 | 11048122.361 | 0 | 0.18541 | 3287011.9954 | 0 | 0 | 40926759.9941 | 3.7044
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13256119.4869 | 0 | 13256119.4869 | 0 | 0.14991 | 1309421.9723 | 0 | 0 | 90039499.22 | 6.7923
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 32086594.0335 | 23381746.5422 | 8704847.4913 | -8704847.4913 | 0.10999 | 0 | 0 | 0 | 97870681.9137 | 1.7644
Link | DC | 12450 | 12450 | 9550825.482 | 5891567.6473 | 3659257.8347 | -3659257.8347 | 0.56767 | 30862507.8348 | 0 | 0 | 70328226.7229 | 4.5542
| DSM | 26000000 | 26000000 | 0 | 186967.0887 | -186967.0887 | 0 | 3.2911e-06 | 56809813032.9113 | 0 | 1.8697 | -860318.1451 | -4.6014
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 102512.5497 | -102512.5497 | 0 | 0.012843 | 7879499.489 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 69469.5706 | -69469.5706 | 0 | 0.11421 | 538792.9144 | 0 | 347347.8529 | 0
| Virtual Link | 156000000 | 156000000 | 0 | 45.5484 | -45.5484 | 45.5484 | 1.3365e-10 | 340859999954.4517 | 0 | 0.00046 | -352.4636 | -7.7367
Load | Data Centre | 0 | 0 | 0 | 1877542.7831 | -1877542.7831 | 0 |  | 0 | 0 | 0 | -15145488.4793 | -8.0667
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -409116366.1708 | -7.8407
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 3444808.0916 | 6690756.1515 | -3245948.0598 | 0 | 0.17523 | 61087209.0649 | 0 | 0 | 16551694.1184 | 1.633
| Domestic Battery Storage | 857.708 | 857.708 | 175681.3402 | 297064.6994 | -121383.3592 | 0 | 0.25225 | 1995475.3392 | 0 | 0 | 544578.7569 | 1.1519
| Liquid Air Energy Storage | 457.994 | 457.994 | 33416.3394 | 249000.2182 | -215583.8788 | 0 | 0.28221 | 1216300.7688 | 0 | 0 | 551200.9486 | 1.9517
| Pumped Storage Hydroelectricity | 5300 | 5300 | 956022.2174 | 2298930.515 | -1342908.2976 | 0 | 0.28107 | 12923408.2976 | 0 | 0 | 9834972.4665 | 3.0215
Store | DSM | 13000000 | 13000000 | 93483.5443 | 93483.5443 | 0 | 0 | 0.99917 | 0 | 0 | 0 | 0
| Hydrogen Gas | 46768.008 | 46768.008 | 68934.5637 | 71223.7779 | -2289.2142 | 0 | 0.22402 | 0 | 0 | 0 | 0

## CFE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3597931 | 0 | 3597931 | 0 | 0.12024 | 26325640 | 0 | 42060820 | 42060820 | 11.6903
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4576.383 | 0 | 4576.383 | 0 | 0.1904 | 19458.62 | 0 | 57021.73 | 97548.01 | 21.3156
| Landfill Gas | 834.5111 | 834.5111 | 645.113 | 0 | 645.113 | 0 | 0.000354 | 1822762 | 0 | 34836.1 | 34967.69 | 54.2033
| Large Hydro | 1897.296 | 1897.296 | 1354074 | 0 | 1354074 | 0 | 0.32663 | 304162.3 | 0 | 0 | 8668030 | 6.4014
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 234719.3 | 0 | 234719.3 | 0 | 0.42233 | 39050.28 | 0 | 0 | 1942952 | 8.2778
| Nuclear | 4570 | 4570 | 4119444 | 0 | 4119444 | 0 | 0.41254 | 5866006 | 0 | 41194440 | 69485510 | 16.8677
| Offshore Wind | 53544.202 | 53544.202 | 24976760 | 0 | 24976760 | 0 | 0.21349 | 7138085 | 0 | 0 | 100114400 | 4.0083
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.741 | 27270.741 | 10886530 | 0 | 10886530 | 0 | 0.1827 | 3448608 | 0 | 0 | 41126430 | 3.7777
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.422 | 40470.422 | 13386680 | 0 | 13386680 | 0 | 0.15138 | 1178857 | 0 | 0 | 91522970 | 6.8369
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 32103970 | 22909530 | 9194436 | -9194436 | 0.10909 | 0 | 0 | 0 | 98683680 | 1.7938
Link | DC | 12450 | 12450 | 9530884 | 5840698 | 3690186 | -3690186 | 0.56506 | 30893440 | 0 | 0 | 72674280 | 4.7278
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 111056.3 | -111056.3 | 0 | 0.013913 | 7870956 | 0 | 0 | 36.7249 | 0.000331
| H2 Power Generation | 278.381 | 278.381 | 0 | 70068.67 | -70068.67 | 0 | 0.1152 | 538193.8 | 0 | 350343.3 | 0 | NaN
Load | Data Centre | 0 | 0 | 0 | 1877543 | -1877543 | 0 | NaN | 0 | 0 | 0 | -15255380 | -8.1252
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -412799100 | -7.9113
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 4237642 | 7187049 | -2949407 | 0 | 0.19752 | 60790670 | 0 | 0 | 16848870 | 1.4748
| Domestic Battery Storage | 857.708 | 857.708 | 189229.8 | 304145.9 | -114916.1 | 0 | 0.26326 | 1989008 | 0 | 0 | 526097.7 | 1.0663
| Liquid Air Energy Storage | 457.994 | 457.994 | 34904.66 | 221274 | -186369.3 | 0 | 0.25599 | 1187086 | 0 | 0 | 568388.6 | 2.2187
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1102541 | 2373565 | -1271024 | 0 | 0.30017 | 12851520 | 0 | 0 | 9905804 | 2.8497
Store | Hydrogen Gas | 46768.008 | 46768.008 | 69028.42 | 76699.13 | -7670.717 | 0 | 0.75065 | 0 | 0 | 0 | 0 | NaN

## CFE_both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.892 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.807 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3554704 | 0 | 3554704 | 0 | 0.11879 | 26368870 | 0 | 41005180 | 41005180 | 11.5355
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4552.734 | 0 | 4552.734 | 0 | 0.18942 | 19482.27 | 0 | 56727.07 | 96220.01 | 21.1346
| Landfill Gas | 834.5111 | 834.5111 | 35.5821 | 0 | 35.5821 | 0 | 1.9508e-05 | 1823371 | 0 | 1921.433 | 2050.64 | 57.648
| Large Hydro | 1897.296 | 1897.296 | 1347670 | 0 | 1347670 | 0 | 0.32509 | 310566.8 | 0 | 0 | 8590193 | 6.3741
| Load Shedding | 48629.19 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 234088.7 | 0 | 234088.7 | 0 | 0.4212 | 39680.82 | 0 | 0 | 1925001 | 8.2234
| Nuclear | 4570 | 4570 | 4090214 | 0 | 4090214 | 0 | 0.40962 | 5895236 | 0 | 40902140 | 68451070 | 16.7353
| Offshore Wind | 53544.2 | 53544.2 | 24896740 | 0 | 24896740 | 0 | 0.2128 | 7218102 | 0 | 0 | 99179400 | 3.9836
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.74 | 27270.74 | 10974160 | 0 | 10974160 | 0 | 0.18417 | 3360975 | 0 | 0 | 40722620 | 3.7108
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.42 | 40470.42 | 13396090 | 0 | 13396090 | 0 | 0.15149 | 1169451 | 0 | 0 | 90514520 | 6.7568
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 31665270 | 23275840 | 8389427 | -8389427 | 0.10895 | 0 | 0 | 0 | 95506010 | 1.7383
Link | DC | 12450 | 12450 | 9516954 | 5871103 | 3645851 | -3645851 | 0.56567 | 30849100 | 0 | 0 | 70895930 | 4.6072
| DSM | 26000000 | 26000000 | 0 | 187551.4 | -187551.4 | 0 | 3.3014e-06 | 56809810000 | 0 | 1.8755 | -856326.3 | -4.5658
| Electrolysis | 3653.095 | 3653.095 | 0 | 107599.5 | -107599.5 | 0 | 0.01348 | 7874412 | 0 | 0 | 36.7617 | 0.000342
| H2 Power Generation | 278.381 | 278.381 | 0 | 69568.32 | -69568.32 | 0 | 0.11437 | 538694.2 | 0 | 347841.6 | 0 | NaN
| Virtual Link | 156000000 | 156000000 | 0 | 45.5484 | -45.5484 | 45.5484 | 1.3365e-10 | 340860000000 | 0 | 0.00046 | -353.0776 | -7.7501
Load | Data Centre | 0 | 0 | 0 | 1877543 | -1877543 | 0 | NaN | 0 | 0 | 0 | -15106840 | -8.0461
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -408701900 | -7.8328
StorageUnit | Battery Storage | 26471.97 | 26471.97 | 4272510 | 7204323 | -2931814 | 0 | 0.19842 | 60773070 | 0 | 0 | 16734450 | 1.4581
| Domestic Battery Storage | 857.708 | 857.708 | 209683.6 | 319058.7 | -109375.1 | 0 | 0.28213 | 1983467 | 0 | 0 | 519651.7 | 0.98281
| Liquid Air Energy Storage | 457.994 | 457.994 | 36625.14 | 220552.1 | -183927 | 0 | 0.25699 | 1184644 | 0 | 0 | 561803.4 | 2.1845
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1124985 | 2360581 | -1235595 | 0 | 0.30099 | 12816100 | 0 | 0 | 9803800 | 2.8127
Store | DSM | 13000000 | 13000000 | 93775.71 | 93775.71 | 0 | 0 | 0.9991 | 0 | 0 | 0 | 0 | NaN
| Hydrogen Gas | 46768.01 | 46768.01 | 68601.81 | 74353.17 | -5751.361 | 0 | 0.56282 | 0 | 0 | 0 | 0 | NaN