## Summary
BIG SUMMARY
Data Centre Allocation: | Population
Total Capacity [GW]: | 4
Flexibility: | 40%
x_CFE: | 3%
Total Green Energy | 123437.019
Total Storage | 33087.675
| Inflexible | Temporal | Spatial | Both | CFE | CFE_both
Total Green Energy Curtailment | 11373568.8532 | 11321787.1272 | 11599286.7164 | 11335366.4774 | 0 | 0
Total Wind Offshore Curtailment | 6656963.0803 | 6427010.9042 | 6519195.143 | 6422469.6176 | 0 | 0
Total Wind Onshore Curtailment | 3045594.9475 | 3127072.3457 | 3225549.8792 | 3137100.5677 | 0 | 0
Total Solar PV Curtailment | 1382226.3144 | 1477801.8547 | 1557061.764 | 1483129.1366 | 0 | 0
DC Cost | 14463558.5382 | 14290380.0487 | 14462047.7523 | 14016470.5554 | 0 | 0
Network objective | 83006417.4226 | 81454380.7565 | 83005919.8648 | 77624801.0693 | - | -
Tot Green En Curtailment Reduction w.r.t. Inflexible |  | 0.4553% | -1.985% | 0.3359% | 100% | 100%
Total Wind Offshore Curtailment Reduction |  | 3.454% | 2.07% | 3.523% | 100% | 100%
Total Wind Onshore Curtailment Reduction |  | -2.675% | -5.909% | -3.005% | 100% | 100%
Total Solar PV Curtailment Reduction |  | -6.915% | -12.65% | -7.3% | 100% | 100%
DC Cost Reduction w.r.t. Inflexible |  | 1.197% | 0.01045% | 3.091% | 100% | 100%
Objective Reduction w.r.t. Inflexible |  | 1.87% | 0.0005994% | 6.483% | #VALUE! | #VALUE!

## Inflexible
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3595219.5721 | 0 | 3595219.5721 | 0 | 0.12015 | 26328355.4279 | 0 | 40980953.4678 | 40980953.4678 | 11.3987
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4556.233 | 0 | 4556.233 | 0 | 0.18957 | 19478.767 | 0 | 56770.6632 | 97738.3441 | 21.4516
| Landfill Gas | 834.5111 | 834.5111 | 1037.9963 | 0 | 1037.9963 | 0 | 0.00056927 | 1822368.6834 | 0 | 56051.7994 | 56229.9009 | 54.1711
| Large Hydro | 1897.296 | 1897.296 | 1403906.6036 | 0 | 1403906.6036 | 0 | 0.33865 | 254330.1004 | 0 | 0 | 9271543.0945 | 6.6041
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 239315.1402 | 0 | 239315.1402 | 0 | 0.4306 | 34454.4106 | 0 | 0 | 1985170.8672 | 8.2952
| Nuclear | 4570 | 4570 | 4077556.2172 | 0 | 4077556.2172 | 0 | 0.40835 | 5907893.7828 | 0 | 40775562.172 | 68282832.6457 | 16.746
| Offshore Wind | 53544.202 | 53544.202 | 25457883.0293 | 0 | 25457883.0293 | 0 | 0.2176 | 6656963.0803 | 0 | 0 | 102223740.3191 | 4.0154
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11289539.4089 | 0 | 11289539.4089 | 0 | 0.18946 | 3045594.9475 | 0 | 0 | 41885959.6538 | 3.7102
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13183315.1448 | 0 | 13183315.1448 | 0 | 0.14909 | 1382226.3144 | 0 | 0 | 90405068.8166 | 6.8575
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 31647957.8111 | 24298711.9092 | 7349245.9018 | -7349245.9018 | 0.11094 | 0 | 0 | 0 | 79045054.2526 | 1.4129
Link | DC | 12450 | 12450 | 9569831.9397 | 5882427.2504 | 3687404.6893 | -3687404.6893 | 0.56803 | 30890654.6893 | 0 | 0 | 71061065.4111 | 4.5987
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 121236.5507 | -121236.5507 | 0 | 0.015189 | 7860775.488 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 77342.5413 | -77342.5413 | 0 | 0.12715 | 530919.9437 | 0 | 386712.7067 | 0
Load | Data Centre | 0 | 0 | 0 | 1877552.1709 | -1877552.1709 | 0 |  | 0 | 0 | 0 | -14463558.5382 | -7.7034
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -411649928.5479 | -7.8893
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 2570385.1701 | 6005829.678 | -3435444.5079 | 0 | 0.14827 | 61276705.5129 | 0 | 0 | 16754071.9329 | 1.9536
| Domestic Battery Storage | 857.708 | 857.708 | 137271.0325 | 269261.0524 | -131990.0199 | 0 | 0.21692 | 2006081.9999 | 0 | 0 | 549750.8812 | 1.3523
| Liquid Air Energy Storage | 457.994 | 457.994 | 31159.9299 | 253070.2775 | -221910.3476 | 0 | 0.28403 | 1222627.2376 | 0 | 0 | 553009.6074 | 1.9456
| Pumped Storage Hydroelectricity | 5300 | 5300 | 824624.65 | 2241340.9948 | -1416716.3447 | 0 | 0.26475 | 12997216.3447 | 0 | 0 | 10345195.9992 | 3.3742
Store | Hydrogen Gas | 46768.008 | 46768.008 | 75886.8562 | 83409.9003 | -7523.0441 | 0 | 0.7362 | 0 | 0 | 0 | 0

## Temporal
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3504830.7938 | 0 | 3504830.7938 | 0 | 0.11713 | 26418744.2062 | 0 | 39658129.9648 | 39658129.9648 | 11.3153
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4313.509 | 0 | 4313.509 | 0 | 0.17947 | 19721.491 | 0 | 53746.3221 | 93409.2744 | 21.655
| Landfill Gas | 834.5111 | 834.5111 | 35.5821 | 0 | 35.5821 | 0 | 1.9508e-05 | 1823371.0976 | 0 | 1921.4325 | 2026.3761 | 56.9656
| Large Hydro | 1897.296 | 1897.296 | 1403795.9437 | 0 | 1403795.9437 | 0 | 0.33862 | 254440.7603 | 0 | 0 | 9023160.0644 | 6.4277
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 238308.2885 | 0 | 238308.2885 | 0 | 0.42879 | 35461.2623 | 0 | 0 | 1955751.2766 | 8.2068
| Nuclear | 4570 | 4570 | 4068700.1017 | 0 | 4068700.1017 | 0 | 0.40746 | 5916749.8983 | 0 | 40687001.0166 | 67224436.7144 | 16.5223
| Offshore Wind | 53544.202 | 53544.202 | 25687835.2054 | 0 | 25687835.2054 | 0 | 0.21957 | 6427010.9042 | 0 | 0 | 101129506.4563 | 3.9369
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11208062.0107 | 0 | 11208062.0107 | 0 | 0.1881 | 3127072.3457 | 0 | 0 | 41238738.5086 | 3.6794
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13087739.6045 | 0 | 13087739.6045 | 0 | 0.148 | 1477801.8547 | 0 | 0 | 90020751.4438 | 6.8783
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 30658298.9739 | 24525712.2381 | 6132586.7358 | -6132586.7358 | 0.10943 | 0 | 0 | 0 | 80995512.954 | 1.4677
Link | DC | 12450 | 12450 | 9518094.456 | 5923396.206 | 3594698.25 | -3594698.25 | 0.56763 | 30797948.2501 | 0 | 0 | 69172216.1257 | 4.4796
| DSM | 20000000 | 20000000 | 0 | 438146.8657 | -438146.8657 | 0 | 1.0026e-05 | 43699561853.1343 | 0 | 4.3815 | -2842295.664 | -6.4871
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 110637.852 | -110637.852 | 0 | 0.013861 | 7871374.1866 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 74920.9961 | -74920.9961 | 0 | 0.12317 | 533341.4889 | 0 | 374604.9805 | 0
Load | Data Centre | 0 | 0 | 0 | 1877552.1709 | -1877552.1709 | 0 |  | 0 | 0 | 0 | -14290380.0487 | -7.6112
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -406808390.6028 | -7.7965
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 2543991.5146 | 5956156.0439 | -3412164.5293 | 0 | 0.14696 | 61253425.5343 | 0 | 0 | 16018091.2948 | 1.8844
| Domestic Battery Storage | 857.708 | 857.708 | 133441.3169 | 262989.1244 | -129547.8075 | 0 | 0.21153 | 2003639.7875 | 0 | 0 | 525438.1264 | 1.3254
| Liquid Air Energy Storage | 457.994 | 457.994 | 31698.299 | 253656.5476 | -221958.2487 | 0 | 0.28515 | 1222675.1387 | 0 | 0 | 532562.4503 | 1.8663
| Pumped Storage Hydroelectricity | 5300 | 5300 | 823885.7074 | 2224638.3011 | -1400752.5936 | 0 | 0.26325 | 12981252.5937 | 0 | 0 | 9918967.3037 | 3.2537
Store | DSM | 10000000 | 10000000 | 219073.4329 | 219073.4329 | 0 | 0 | 0.99962 | 0 | 0 | 0 | 0
| Hydrogen Gas | 46768.008 | 46768.008 | 73990.1466 | 76515.6469 | -2525.5003 | 0 | 0.24714 | 0 | 0 | 0 | 0

## Spatial
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3562668.7595 | 0 | 3562668.7595 | 0 | 0.11906 | 26360906.2405 | 0 | 40764969.585 | 40764969.585 | 11.4423
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4649.743 | 0 | 4649.743 | 0 | 0.19346 | 19385.257 | 0 | 57935.7978 | 99116.4202 | 21.3165
| Landfill Gas | 834.5111 | 834.5111 | 1244.8028 | 0 | 1244.8028 | 0 | 0.00068268 | 1822161.8769 | 0 | 67219.3491 | 67397.1954 | 54.1432
| Large Hydro | 1897.296 | 1897.296 | 1399952.8858 | 0 | 1399952.8858 | 0 | 0.3377 | 258283.8182 | 0 | 0 | 9323878.4119 | 6.6601
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 234573.4388 | 0 | 234573.4388 | 0 | 0.42207 | 39196.1121 | 0 | 0 | 1988044.6643 | 8.4751
| Nuclear | 4570 | 4570 | 4066822.902 | 0 | 4066822.902 | 0 | 0.40727 | 5918627.098 | 0 | 40668229.0204 | 68113679.8691 | 16.7486
| Offshore Wind | 53544.202 | 53544.202 | 25595650.9666 | 0 | 25595650.9666 | 0 | 0.21878 | 6519195.143 | 0 | 0 | 102264795.2245 | 3.9954
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11109584.4772 | 0 | 11109584.4772 | 0 | 0.18644 | 3225549.8792 | 0 | 0 | 41928238.7824 | 3.7741
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13008479.6952 | 0 | 13008479.6952 | 0 | 0.14711 | 1557061.764 | 0 | 0 | 90358874.8433 | 6.9462
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 30642658.3401 | 24804323.0923 | 5838335.2478 | -5838335.2478 | 0.10995 | 0 | 0 | 0 | 79910666.9054 | 1.4412
Link | DC | 12450 | 12450 | 9579504.6455 | 5925485.405 | 3654019.2405 | -3654019.2405 | 0.56997 | 30857269.2405 | 0 | 0 | 70847107.1556 | 4.5693
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 131419.3862 | -131419.3862 | 0 | 0.016464 | 7850592.6524 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 84363.3813 | -84363.3813 | 0 | 0.1387 | 523899.1037 | 0 | 421816.9065 | 0
| Virtual Link | 90000000 | 90000000 | 0 | 27977.0791 | -27977.0791 | 27977.0791 | 1.4227e-07 | 196649972022.9209 | 0 | 0.27977 | -110868.4674 | -3.9628
Load | Data Centre | 0 | 0 | 0 | 1877552.1709 | -1877552.1709 | 0 |  | 0 | 0 | 0 | -14462047.7523 | -7.7026
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -411534447.9764 | -7.8871
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 3285931.187 | 6555503.0433 | -3269571.8563 | 0 | 0.17015 | 61110832.8613 | 0 | 0 | 16707272.5132 | 1.6976
| Domestic Battery Storage | 857.708 | 857.708 | 173366.1241 | 295475.1025 | -122108.9784 | 0 | 0.25017 | 1996200.9584 | 0 | 0 | 547942.4044 | 1.1687
| Liquid Air Energy Storage | 457.994 | 457.994 | 31575.8379 | 246365.5426 | -214789.7047 | 0 | 0.27774 | 1215506.5947 | 0 | 0 | 550682.2601 | 1.9813
| Pumped Storage Hydroelectricity | 5300 | 5300 | 972198.2527 | 2295580.2073 | -1323381.9545 | 0 | 0.28218 | 12903881.9545 | 0 | 0 | 10398994.385 | 3.1823
Store | Hydrogen Gas | 46768.008 | 46768.008 | 83010.4745 | 90640.6636 | -7630.189 | 0 | 0.74668 | 0 | 0 | 0 | 0

## Both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3386719.798 | 0 | 3386719.798 | 0 | 0.11318 | 26536855.202 | 0 | 37139054.2668 | 37139054.2668 | 10.9661
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4225.147 | 0 | 4225.147 | 0 | 0.17579 | 19809.853 | 0 | 52645.3316 | 89958.387 | 21.2911
| Landfill Gas | 834.5111 | 834.5111 | 35.5821 | 0 | 35.5821 | 0 | 1.9508e-05 | 1823371.0976 | 0 | 1921.4325 | 1968.3752 | 55.3354
| Large Hydro | 1897.296 | 1897.296 | 1402483.4458 | 0 | 1402483.4458 | 0 | 0.33831 | 255753.2582 | 0 | 0 | 8915119.6949 | 6.3567
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 236855.6535 | 0 | 236855.6535 | 0 | 0.42617 | 36913.8973 | 0 | 0 | 1921789.3292 | 8.1138
| Nuclear | 4570 | 4570 | 3928975.8774 | 0 | 3928975.8774 | 0 | 0.39347 | 6056474.1226 | 0 | 39289758.7738 | 64329788.3545 | 16.3732
| Offshore Wind | 53544.202 | 53544.202 | 25692376.492 | 0 | 25692376.492 | 0 | 0.2196 | 6422469.6176 | 0 | 0 | 99417501.2403 | 3.8695
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11198033.7888 | 0 | 11198033.7888 | 0 | 0.18793 | 3137100.5677 | 0 | 0 | 40573829.6362 | 3.6233
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13082412.3226 | 0 | 13082412.3226 | 0 | 0.14794 | 1483129.1366 | 0 | 0 | 87894330.2862 | 6.7185
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 30787510.208 | 24973856.3639 | 5813653.8441 | -5813653.8441 | 0.11057 | 0 | 0 | 0 | 80512959.1652 | 1.4439
Link | DC | 12450 | 12450 | 9433503.4118 | 5959944.6446 | 3473558.7672 | -3473558.7672 | 0.56587 | 30676808.7672 | 0 | 0 | 65100600.3347 | 4.2291
| DSM | 20000000 | 20000000 | 0 | 708637.3966 | -708637.3966 | 0 | 1.6216e-05 | 43699291362.6034 | 0 | 7.0864 | -2821331.1376 | -3.9813
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 113916.2317 | -113916.2317 | 0 | 0.014272 | 7868095.8069 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 71638.3547 | -71638.3547 | 0 | 0.11778 | 536624.1303 | 0 | 358191.7737 | 0
| Virtual Link | 90000000 | 90000000 | 0 | 37269.7453 | -37269.7453 | 37269.7453 | 1.8952e-07 | 196649962730.2547 | 0 | 0.3727 | -58068.9844 | -1.5581
Load | Data Centre | 0 | 0 | 0 | 1877552.1709 | -1877552.1709 | 0 |  | 0 | 0 | 0 | -14016470.5554 | -7.4653
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -398954197.4869 | -7.646
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 3289316.2235 | 6522150.2699 | -3232834.0464 | 0 | 0.16963 | 61074095.0514 | 0 | 0 | 16038000.9448 | 1.6346
| Domestic Battery Storage | 857.708 | 857.708 | 170169.4727 | 291717.2261 | -121547.7534 | 0 | 0.24646 | 1995639.7334 | 0 | 0 | 526528.1504 | 1.14
| Liquid Air Energy Storage | 457.994 | 457.994 | 33635.0204 | 245487.6565 | -211852.6361 | 0 | 0.27892 | 1212569.526 | 0 | 0 | 523674.2023 | 1.8761
| Pumped Storage Hydroelectricity | 5300 | 5300 | 966479.6281 | 2285217.2517 | -1318737.6236 | 0 | 0.28079 | 12899237.6236 | 0 | 0 | 9835124.7271 | 3.0246
Store | DSM | 10000000 | 10000000 | 354318.6983 | 354318.6983 | 0 | 0 | 0.99505 | 0 | 0 | 0 | 0
| Hydrogen Gas | 46768.008 | 46768.008 | 70953.8477 | 79056.8552 | -8103.0075 | 0 | 0.79295 | 0 | 0 | 0 | 0

## CFE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue
Generator | Advanced Biofuel | 0 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Biogas | 0 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Biomass | 0 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 0 | 23586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combined Heat & Power | 0 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| European Imports | 0 | 13695 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gas Engine | 0 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Geothermal | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Landfill Gas | 0 | 834.5111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Large Hydro | 0 | 1897.296 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Load Shedding | 0 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Marine Energy | 0 | 254.358 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Nuclear | 0 | 4570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Offshore Wind | 0 | 53544.202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Oil | 0 | 78.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Onshore Wind | 0 | 27270.741 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Open Cycle Gas Turbine | 0 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sewage Gas | 0 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Solar PV | 0 | 40470.422 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Waste to Energy | 0 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line | AC | 0 | 230800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Link | DC | 0 | 12450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Electrolysis | 0 | 3653.0948 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| H2 Power Generation | 0 | 278.381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
StorageUnit | Battery Storage | 0 | 26471.973 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Domestic Battery Storage | 0 | 857.708 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Liquid Air Energy Storage | 0 | 457.994 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Pumped Storage Hydroelectricity | 0 | 5300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Store | Hydrogen Gas | 0 | 46768.008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## CFE_both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue
Generator | Advanced Biofuel | 0 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Biogas | 0 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Biomass | 0 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 0 | 23586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combined Heat & Power | 0 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| European Imports | 0 | 13695 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gas Engine | 0 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Geothermal | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Landfill Gas | 0 | 834.5111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Large Hydro | 0 | 1897.296 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Load Shedding | 0 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Marine Energy | 0 | 254.358 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Nuclear | 0 | 4570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Offshore Wind | 0 | 53544.202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Oil | 0 | 78.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Onshore Wind | 0 | 27270.741 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Open Cycle Gas Turbine | 0 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sewage Gas | 0 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Solar PV | 0 | 40470.422 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Waste to Energy | 0 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line | AC | 0 | 230800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Link | DC | 0 | 12450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| DSM | 0 | 20000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Electrolysis | 0 | 3653.0948 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| H2 Power Generation | 0 | 278.381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Virtual Link | 0 | 90000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
StorageUnit | Battery Storage | 0 | 26471.973 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Domestic Battery Storage | 0 | 857.708 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Liquid Air Energy Storage | 0 | 457.994 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Pumped Storage Hydroelectricity | 0 | 5300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Store | DSM | 0 | 10000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hydrogen Gas | 0 | 46768.008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0