## Summary
BIG SUMMARY
Data Centre Allocation: | Population
Total Capacity [GW]: | 6
Flexibility: | 10%
x_CFE: | 60%
Total Green Energy | 123437.019
Total Storage | 33087.675
| Inflexible | Temporal | Spatial | Both | CFE | CFE_both
Total Green Energy Curtailment | 11161304.9291 | 11099208.4172 | 11392948.3509 | 11264871.2948 | 11745301.67 | 11698948.82
Total Wind Offshore Curtailment | 6395793.6426 | 6331991.6912 | 6377182.9545 | 6370425.1133 | 6895547 | 6928791
Total Wind Onshore Curtailment | 3191673.4606 | 3097148.4053 | 3356670.1221 | 3187101.9161 | 3361588 | 3302773
Total Solar PV Curtailment | 1265445.4135 | 1356312.9224 | 1323175.1289 | 1376094.5487 | 1140635 | 1141252
DC Cost | 24283741.837 | 24109122.6779 | 24283741.837 | 23981640.5425 | 24421310 | 24148940
Network objective | 90874750.205 | 90243558.1313 | 90874749.3006 | 88719472.3571 | 91571983.1398 | 89395978.5244
Tot Green En Curtailment Reduction w.r.t. Inflexible |  | 0.5564% | -2.075% | -0.9279% | -5.232% | -4.817%
Total Wind Offshore Curtailment Reduction |  | 0.9976% | 0.291% | 0.3966% | -7.814% | -8.334%
Total Wind Onshore Curtailment Reduction |  | 2.962% | -5.17% | 0.1432% | -5.324% | -3.481%
Total Solar PV Curtailment Reduction |  | -7.181% | -4.562% | -8.744% | 9.863% | 9.814%
DC Cost Reduction w.r.t. Inflexible |  | 0.7191% | 0% | 1.244% | -0.5665% | 0.5551%
Objective Reduction w.r.t. Inflexible |  | 0.6946% | 9.952e-07% | 2.372% | -0.7672% | 1.627%

## Inflexible
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3926506.6402 | 0 | 3926506.6402 | 0 | 0.13122 | 25997068.3598 | 0 | 46960110.8757 | 46960110.8757 | 11.9598
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4965.767 | 0 | 4965.767 | 0 | 0.20661 | 19069.233 | 0 | 61873.4568 | 107998.1135 | 21.7485
| Landfill Gas | 834.5111 | 834.5111 | 8679.0625 | 0 | 8679.0625 | 0 | 0.0047598 | 1814727.6171 | 0 | 468669.3743 | 471777.8604 | 54.3582
| Large Hydro | 1897.296 | 1897.296 | 1384913.273 | 0 | 1384913.273 | 0 | 0.33407 | 273323.431 | 0 | 0 | 9159885.294 | 6.614
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 238700.5694 | 0 | 238700.5694 | 0 | 0.42949 | 35068.9815 | 0 | 0 | 2055045.8284 | 8.6093
| Nuclear | 4570 | 4570 | 4302129.2789 | 0 | 4302129.2789 | 0 | 0.43084 | 5683320.7211 | 0 | 43021292.7886 | 75008945.0223 | 17.4353
| Offshore Wind | 53544.202 | 53544.202 | 25719052.467 | 0 | 25719052.467 | 0 | 0.21983 | 6395793.6426 | 0 | 0 | 108062346.3744 | 4.2016
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11143460.8958 | 0 | 11143460.8958 | 0 | 0.18701 | 3191673.4606 | 0 | 0 | 43899254.1627 | 3.9395
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13300096.0458 | 0 | 13300096.0458 | 0 | 0.15041 | 1265445.4135 | 0 | 0 | 96553687.753 | 7.2596
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 32630559.2672 | 23873456.2841 | 8757102.9831 | -8757102.9831 | 0.11204 | 0 | 0 | 0 | 108573918.837 | 1.9215
Link | DC | 12450 | 12450 | 9792030.2309 | 5764843.9332 | 4027186.2976 | -4027186.2976 | 0.57188 | 31230436.2976 | 0 | 0 | 81330317.3248 | 5.2279
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 114616.9239 | -114616.9239 | 0 | 0.014359 | 7867395.1147 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 72560.7419 | -72560.7419 | 0 | 0.11929 | 535701.7431 | 0 | 362803.7095 | 0
Load | Data Centre | 0 | 0 | 0 | 2816335.2971 | -2816335.2971 | 0 |  | 0 | 0 | 0 | -24283741.837 | -8.6225
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -437047000.6164 | -8.376
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 2697880.6518 | 6017380.0449 | -3319499.3931 | 0 | 0.15068 | 61160760.3981 | 0 | 0 | 17681082.0797 | 2.0287
| Domestic Battery Storage | 857.708 | 857.708 | 136015.035 | 262319.45 | -126304.415 | 0 | 0.21255 | 2000396.395 | 0 | 0 | 581486.6694 | 1.4598
| Liquid Air Energy Storage | 457.994 | 457.994 | 30871.4311 | 242676.5697 | -211805.1386 | 0 | 0.27335 | 1212522.0285 | 0 | 0 | 592818.3395 | 2.1671
| Pumped Storage Hydroelectricity | 5300 | 5300 | 824068.4019 | 2222635.4705 | -1398567.0686 | 0 | 0.26309 | 12979067.0686 | 0 | 0 | 10517292.7481 | 3.452
Store | Hydrogen Gas | 46768.008 | 46768.008 | 71476.5247 | 79147.6296 | -7671.1048 | 0 | 0.75068 | 0 | 0 | 0 | 0

## Temporal
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3906121.1532 | 0 | 3906121.1532 | 0 | 0.13054 | 26017453.8468 | 0 | 46429877.8848 | 46429877.8848 | 11.8864
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4934.235 | 0 | 4934.235 | 0 | 0.20529 | 19100.765 | 0 | 61480.5681 | 106589.7912 | 21.6021
| Landfill Gas | 834.5111 | 834.5111 | 7254.7527 | 0 | 7254.7527 | 0 | 0.0039787 | 1816151.927 | 0 | 391756.6431 | 394010.438 | 54.3107
| Large Hydro | 1897.296 | 1897.296 | 1379222.6665 | 0 | 1379222.6665 | 0 | 0.3327 | 279014.0375 | 0 | 0 | 9098789.5065 | 6.597
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 239028.19 | 0 | 239028.19 | 0 | 0.43008 | 34741.3608 | 0 | 0 | 2039584.3336 | 8.5328
| Nuclear | 4570 | 4570 | 4300001.745 | 0 | 4300001.745 | 0 | 0.43063 | 5685448.255 | 0 | 43000017.4497 | 74321581.6036 | 17.2841
| Offshore Wind | 53544.202 | 53544.202 | 25782854.4184 | 0 | 25782854.4184 | 0 | 0.22038 | 6331991.6912 | 0 | 0 | 107369905.3341 | 4.1644
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11237985.9511 | 0 | 11237985.9511 | 0 | 0.1886 | 3097148.4053 | 0 | 0 | 43633634.3449 | 3.8827
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13209228.5368 | 0 | 13209228.5368 | 0 | 0.14938 | 1356312.9224 | 0 | 0 | 96223930.371 | 7.2846
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 32740905.7794 | 23580577.2667 | 9160328.5127 | -9160328.5127 | 0.11168 | 0 | 0 | 0 | 105987071.8299 | 1.8818
Link | DC | 12450 | 12450 | 9766566.1613 | 5760288.0555 | 4006278.1058 | -4006278.1058 | 0.57077 | 31209528.1058 | 0 | 0 | 80273569.6178 | 5.17
| DSM | 24000000 | 24000000 | 0 | 175114.5634 | -175114.5634 | 0 | 3.3393e-06 | 52439824885.4365 | 0 | 1.7511 | -1424711.2546 | -8.1359
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 113820.0408 | -113820.0408 | 0 | 0.01426 | 7868191.9978 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 72084.7669 | -72084.7669 | 0 | 0.11851 | 536177.7181 | 0 | 360423.8345 | 0
Load | Data Centre | 0 | 0 | 0 | 2816335.2971 | -2816335.2971 | 0 |  | 0 | 0 | 0 | -24109122.6779 | -8.5605
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -434056627.3236 | -8.3187
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 2587555.4311 | 5943014.4653 | -3355459.0342 | 0 | 0.14748 | 61196720.0392 | 0 | 0 | 17373986.0452 | 2.0367
| Domestic Battery Storage | 857.708 | 857.708 | 141752.8049 | 270043.8002 | -128290.9952 | 0 | 0.21973 | 2002382.9752 | 0 | 0 | 571314.8886 | 1.3874
| Liquid Air Energy Storage | 457.994 | 457.994 | 31753.0914 | 242313.9362 | -210560.8449 | 0 | 0.27387 | 1211277.7349 | 0 | 0 | 584358.6756 | 2.1322
| Pumped Storage Hydroelectricity | 5300 | 5300 | 830769.7285 | 2230798.7094 | -1400028.9809 | 0 | 0.26437 | 12980528.9809 | 0 | 0 | 10368714.5215 | 3.3867
Store | DSM | 12000000 | 12000000 | 87557.2817 | 87557.2817 | 0 | 0 | 0.99988 | 0 | 0 | 0 | 0
| Hydrogen Gas | 46768.008 | 46768.008 | 70868.6526 | 78457.9143 | -7589.2617 | 0 | 0.74268 | 0 | 0 | 0 | 0

## Spatial
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3933183.7635 | 0 | 3933183.7635 | 0 | 0.13144 | 25990391.2365 | 0 | 46960109.9707 | 46960109.9707 | 11.9395
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4965.767 | 0 | 4965.767 | 0 | 0.20661 | 19069.233 | 0 | 61873.4568 | 107998.1135 | 21.7485
| Landfill Gas | 834.5111 | 834.5111 | 8679.0625 | 0 | 8679.0625 | 0 | 0.0047598 | 1814727.6171 | 0 | 468669.3743 | 471777.8604 | 54.3582
| Large Hydro | 1897.296 | 1897.296 | 1357491.0739 | 0 | 1357491.0739 | 0 | 0.32745 | 300745.6301 | 0 | 0 | 9159885.294 | 6.7477
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 238595.0356 | 0 | 238595.0356 | 0 | 0.4293 | 35174.5153 | 0 | 0 | 2055045.8284 | 8.6131
| Nuclear | 4570 | 4570 | 4302100.6654 | 0 | 4302100.6654 | 0 | 0.43084 | 5683349.3346 | 0 | 43021006.6536 | 75008658.8873 | 17.4354
| Offshore Wind | 53544.202 | 53544.202 | 25737663.155 | 0 | 25737663.155 | 0 | 0.21999 | 6377182.9545 | 0 | 0 | 108062346.3744 | 4.1986
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 10978464.2343 | 0 | 10978464.2343 | 0 | 0.18424 | 3356670.1221 | 0 | 0 | 43899254.1627 | 3.9987
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13242366.3303 | 0 | 13242366.3303 | 0 | 0.14975 | 1323175.1289 | 0 | 0 | 96553687.753 | 7.2913
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 32782859.7178 | 23611681.9585 | 9171177.7593 | -9171177.7593 | 0.11183 | 0 | 0 | 0 | 108458128.233 | 1.9232
Link | DC | 12450 | 12450 | 9901158.9148 | 5867124.2855 | 4034034.6293 | -4034034.6293 | 0.57965 | 31237284.6293 | 0 | 0 | 81330316.4198 | 5.1578
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 106913.9482 | -106913.9482 | 0 | 0.013394 | 7875098.0904 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 72617.9689 | -72617.9689 | 0 | 0.11939 | 535644.5161 | 0 | 363089.8445 | 0
| Virtual Link | 132000000 | 132000000 | 0 | 63.0828 | -63.0828 | 63.0828 | 2.1871e-10 | 288419999936.9172 | 0 | 0.00063 | -397.0057 | -6.2937
Load | Data Centre | 0 | 0 | 0 | 2816335.2971 | -2816335.2971 | 0 |  | 0 | 0 | 0 | -24283741.837 | -8.6225
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -437047000.6164 | -8.376
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 3428924.4997 | 6622522.5124 | -3193598.0128 | 0 | 0.17378 | 61034859.0178 | 0 | 0 | 17681082.0797 | 1.7591
| Domestic Battery Storage | 857.708 | 857.708 | 178815.4757 | 297631.3813 | -118815.9056 | 0 | 0.25423 | 1992907.8856 | 0 | 0 | 581486.6694 | 1.2205
| Liquid Air Energy Storage | 457.994 | 457.994 | 33468.5426 | 242211.242 | -208742.6994 | 0 | 0.27548 | 1209459.5894 | 0 | 0 | 592818.3395 | 2.1504
| Pumped Storage Hydroelectricity | 5300 | 5300 | 975990.3042 | 2293917.5871 | -1317927.283 | 0 | 0.28236 | 12898427.283 | 0 | 0 | 10517292.7481 | 3.2164
Store | Hydrogen Gas | 46768.008 | 46768.008 | 71510.6296 | 73732.4245 | -2221.7949 | 0 | 0.21742 | 0 | 0 | 0 | 0

## Both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3844124.9537 | 0 | 3844124.9537 | 0 | 0.12846 | 26079450.0463 | 0 | 45318438.9741 | 45318438.9741 | 11.789
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4933.1076 | 0 | 4933.1076 | 0 | 0.20525 | 19101.8924 | 0 | 61466.5205 | 105838.4578 | 21.4547
| Landfill Gas | 834.5111 | 834.5111 | 6418.9046 | 0 | 6418.9046 | 0 | 0.0035203 | 1816987.7751 | 0 | 346620.8475 | 347166.1957 | 54.085
| Large Hydro | 1897.296 | 1897.296 | 1361164.2463 | 0 | 1361164.2463 | 0 | 0.32834 | 297072.4576 | 0 | 0 | 9043664.2302 | 6.6441
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 239592.2917 | 0 | 239592.2917 | 0 | 0.4311 | 34177.2591 | 0 | 0 | 2029309.9496 | 8.4698
| Nuclear | 4570 | 4570 | 4263390.1839 | 0 | 4263390.1839 | 0 | 0.42696 | 5722059.8161 | 0 | 42633901.8386 | 73527210.8979 | 17.2462
| Offshore Wind | 53544.202 | 53544.202 | 25744420.9963 | 0 | 25744420.9963 | 0 | 0.22005 | 6370425.1133 | 0 | 0 | 106930749.573 | 4.1536
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11148032.4404 | 0 | 11148032.4404 | 0 | 0.18709 | 3187101.9161 | 0 | 0 | 43439315.2249 | 3.8966
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13189446.9105 | 0 | 13189446.9105 | 0 | 0.14915 | 1376094.5487 | 0 | 0 | 95591716.3104 | 7.2476
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 32651255.6528 | 23595630.3683 | 9055625.2846 | -9055625.2846 | 0.11154 | 0 | 0 | 0 | 103627313.5145 | 1.8424
Link | DC | 12450 | 12450 | 9754103.659 | 5811411.3989 | 3942692.2601 | -3942692.2601 | 0.57219 | 31145942.2602 | 0 | 0 | 78647435.7049 | 5.0527
| DSM | 24000000 | 24000000 | 0 | 281169.1699 | -281169.1699 | 0 | 5.3617e-06 | 52439718830.83 | 0 | 2.8117 | -1338313.6957 | -4.7598
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 105766.2581 | -105766.2581 | 0 | 0.013251 | 7876245.7805 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 71808.2729 | -71808.2729 | 0 | 0.11805 | 536454.2121 | 0 | 359041.3647 | 0
| Virtual Link | 132000000 | 132000000 | 0 | 0 | 0 | 0 | 0 | 288420000000 | 0 | 0 | 0
Load | Data Centre | 0 | 0 | 0 | 2816335.2971 | -2816335.2971 | 0 |  | 0 | 0 | 0 | -23981640.5425 | -8.5152
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -431641811.7084 | -8.2724
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 3274822.952 | 6472336.1046 | -3197513.1526 | 0 | 0.16852 | 61038774.1576 | 0 | 0 | 17265801.6296 | 1.7714
| Domestic Battery Storage | 857.708 | 857.708 | 177933.5751 | 296577.8638 | -118644.2887 | 0 | 0.2532 | 1992736.2687 | 0 | 0 | 567766.2127 | 1.1965
| Liquid Air Energy Storage | 457.994 | 457.994 | 33899.3732 | 236548.4146 | -202649.0414 | 0 | 0.27025 | 1203365.9314 | 0 | 0 | 581146.8262 | 2.1488
| Pumped Storage Hydroelectricity | 5300 | 5300 | 976494.2604 | 2293245.9086 | -1316751.6482 | 0 | 0.28235 | 12897251.6482 | 0 | 0 | 10292440.4553 | 3.1478
Store | DSM | 12000000 | 12000000 | 140584.585 | 140584.585 | 0 | 0 | 0.99853 | 0 | 0 | 0 | 0
| Hydrogen Gas | 46768.008 | 46768.008 | 70890.5833 | 73118.691 | -2228.1078 | 0 | 0.21804 | 0 | 0 | 0 | 0

## CFE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3913229 | 0 | 3913229 | 0 | 0.13077 | 26010350 | 0 | 47550510 | 47550510 | 12.1512
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 5128.193 | 0 | 5128.193 | 0 | 0.21336 | 18906.81 | 0 | 63897.28 | 110989.7 | 21.643
| Landfill Gas | 834.5111 | 834.5111 | 9306.286 | 0 | 9306.286 | 0 | 0.005104 | 1814100 | 0 | 502539.4 | 506577.6 | 54.4339
| Large Hydro | 1897.296 | 1897.296 | 1348717 | 0 | 1348717 | 0 | 0.32534 | 309519.5 | 0 | 0 | 9215904 | 6.8331
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 235757.4 | 0 | 235757.4 | 0 | 0.4242 | 38012.17 | 0 | 0 | 2066799 | 8.7666
| Nuclear | 4570 | 4570 | 4309445 | 0 | 4309445 | 0 | 0.43157 | 5676005 | 0 | 43094450 | 75702860 | 17.5667
| Offshore Wind | 53544.202 | 53544.202 | 25219300 | 0 | 25219300 | 0 | 0.21556 | 6895547 | 0 | 0 | 108253900 | 4.2925
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.741 | 27270.741 | 10973550 | 0 | 10973550 | 0 | 0.18416 | 3361588 | 0 | 0 | 43948730 | 4.005
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.422 | 40470.422 | 13424910 | 0 | 13424910 | 0 | 0.15182 | 1140635 | 0 | 0 | 97697400 | 7.2773
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 32526090 | 23260350 | 9265746 | -9265746 | 0.11062 | 0 | 0 | 0 | 109146400 | 1.9565
Link | DC | 12450 | 12450 | 9796406 | 5782838 | 4013568 | -4013568 | 0.5727 | 31216820 | 0 | 0 | 82270390 | 5.2808
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 114106.8 | -114106.8 | 0 | 0.014295 | 7867905 | 0 | 0 | 37.6588 | 0.00033
| H2 Power Generation | 278.381 | 278.381 | 0 | 72116.23 | -72116.23 | 0 | 0.11856 | 536146.3 | 0 | 360581.2 | 0 | NaN
Load | Data Centre | 0 | 0 | 0 | 2816335 | -2816335 | 0 | NaN | 0 | 0 | 0 | -24421310 | -8.6713
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -440560500 | -8.4434
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 4119571 | 7040099 | -2920527 | 0 | 0.19294 | 60761790 | 0 | 0 | 17939090 | 1.6075
| Domestic Battery Storage | 857.708 | 857.708 | 191828.9 | 303744.8 | -111915.9 | 0 | 0.26443 | 1986008 | 0 | 0 | 564486.2 | 1.1391
| Liquid Air Energy Storage | 457.994 | 457.994 | 34640.49 | 217560 | -182919.5 | 0 | 0.25202 | 1183636 | 0 | 0 | 607408.6 | 2.4084
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1095588 | 2347179 | -1251591 | 0 | 0.29729 | 12832090 | 0 | 0 | 10515730 | 3.0544
Store | Hydrogen Gas | 46768.008 | 46768.008 | 71119.7 | 78878.22 | -7758.519 | 0 | 0.75924 | 0 | 0 | 0 | 0 | NaN

## CFE_both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.892 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.807 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3831296 | 0 | 3831296 | 0 | 0.12804 | 26092280 | 0 | 45911490 | 45911490 | 11.9833
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 5049.363 | 0 | 5049.363 | 0 | 0.21008 | 18985.64 | 0 | 62915.06 | 108299.4 | 21.4481
| Landfill Gas | 834.5111 | 834.5111 | 6618.712 | 0 | 6618.712 | 0 | 0.00363 | 1816788 | 0 | 357410.5 | 358344.1 | 54.141
| Large Hydro | 1897.296 | 1897.296 | 1372207 | 0 | 1372207 | 0 | 0.331 | 286029.9 | 0 | 0 | 9113032 | 6.6411
| Load Shedding | 48629.19 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 233666.6 | 0 | 233666.6 | 0 | 0.42044 | 40102.92 | 0 | 0 | 2042999 | 8.7432
| Nuclear | 4570 | 4570 | 4270674 | 0 | 4270674 | 0 | 0.42769 | 5714776 | 0 | 42706740 | 74284990 | 17.3942
| Offshore Wind | 53544.2 | 53544.2 | 25186060 | 0 | 25186060 | 0 | 0.21528 | 6928791 | 0 | 0 | 107348100 | 4.2622
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.74 | 27270.74 | 11032360 | 0 | 11032360 | 0 | 0.18515 | 3302773 | 0 | 0 | 43557830 | 3.9482
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.42 | 40470.42 | 13424290 | 0 | 13424290 | 0 | 0.15181 | 1141252 | 0 | 0 | 96691300 | 7.2027
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 32245580 | 23235180 | 9010397 | -9010397 | 0.11002 | 0 | 0 | 0 | 104897500 | 1.8907
Link | DC | 12450 | 12450 | 9680448 | 5750914 | 3929534 | -3929534 | 0.56726 | 31132780 | 0 | 0 | 79556810 | 5.1555
| DSM | 24000000 | 24000000 | 0 | 281046.5 | -281046.5 | 0 | 5e-06 | 52439720000 | 0 | 2.8105 | -1334706 | -4.7491
| Electrolysis | 3653.095 | 3653.095 | 0 | 105498 | -105498 | 0 | 0.013217 | 7876514 | 0 | 0 | 37.9264 | 0.00036
| H2 Power Generation | 278.381 | 278.381 | 0 | 71483.7 | -71483.7 | 0 | 0.11752 | 536778.8 | 0 | 357418.5 | 0 | NaN
| Virtual Link | 132000000 | 132000000 | 0 | 0 | 0 | 0 | 0 | 288420000000 | 0 | 0 | 0 | NaN
Load | Data Centre | 0 | 0 | 0 | 2816335 | -2816335 | 0 | NaN | 0 | 0 | 0 | -24148940 | -8.5746
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -435606700 | -8.3484
StorageUnit | Battery Storage | 26471.97 | 26471.97 | 4196055 | 7048282 | -2852227 | 0 | 0.1944 | 60693490 | 0 | 0 | 17596730 | 1.5649
| Domestic Battery Storage | 857.708 | 857.708 | 212967.1 | 319240 | -106272.9 | 0 | 0.28398 | 1980365 | 0 | 0 | 554574.4 | 1.042
| Liquid Air Energy Storage | 457.994 | 457.994 | 34804.92 | 216336.7 | -181531.8 | 0 | 0.25096 | 1182249 | 0 | 0 | 597469.3 | 2.379
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1079439 | 2335436 | -1255997 | 0 | 0.29488 | 12836500 | 0 | 0 | 10324220 | 3.0233
Store | DSM | 12000000 | 12000000 | 140523.2 | 140523.2 | 0 | 0 | 0.99855 | 0 | 0 | 0 | 0 | NaN
| Hydrogen Gas | 46768.01 | 46768.01 | 70390.27 | 72755.2 | -2364.93 | 0 | 0.23143 | 0 | 0 | 0 | 0 | NaN