## Summary
BIG SUMMARY
Data Centre Allocation: | Scotland
Total Capacity [GW]: | 4
Flexibility: | 10%
x_CFE: | 20%
Total Green Energy | 123437.019
Total Storage | 33087.675
| Inflexible | Temporal | Spatial | Both | CFE | CFE_both
Total Green Energy Curtailment | 11412215.56 | 11384884.49 | 11631524.7 | 11705346.49 | 0 | 0
Total Wind Offshore Curtailment | 6642041 | 6615477 | 6930775 | 6816858 | 0 | 0
Total Wind Onshore Curtailment | 3145740 | 2920392 | 3064199 | 3168929 | 0 | 0
Total Solar PV Curtailment | 1348080 | 1570499 | 1344158 | 1412444 | 0 | 0
DC Cost | 14118940 | 14097900 | 14124690 | 14080300 | 0 | 0
Network objective | 81875276.0255 | 81501280.3251 | 81690989.6522 | 81316953.8806 | - | -
Tot Green En Curtailment Reduction w.r.t. Inflexible |  | 0.2395% | -1.922% | -2.569% | 100% | 100%
Total Wind Offshore Curtailment Reduction |  | 0.3999% | -4.347% | -2.632% | 100% | 100%
Total Wind Onshore Curtailment Reduction |  | 7.164% | 2.592% | -0.7372% | 100% | 100%
Total Solar PV Curtailment Reduction |  | -16.5% | 0.2909% | -4.774% | 100% | 100%
DC Cost Reduction w.r.t. Inflexible |  | 0.149% | -0.04073% | 0.2737% | 100% | 100%
Objective Reduction w.r.t. Inflexible |  | 0.4568% | 0.2251% | 0.6819% | #VALUE! | #VALUE!

## Inflexible
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3571751 | 0 | 3571751 | 0 | 0.11936 | 26351820 | 0 | 40697210 | 40697210 | 11.3942
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4643.509 | 0 | 4643.509 | 0 | 0.1932 | 19391.49 | 0 | 57858.12 | 99256.85 | 21.3754
| Landfill Gas | 834.5111 | 834.5111 | 1327.783 | 0 | 1327.783 | 0 | 0.000728 | 1822079 | 0 | 71700.3 | 71876.93 | 54.1331
| Large Hydro | 1897.296 | 1897.296 | 1417072 | 0 | 1417072 | 0 | 0.34183 | 241164.7 | 0 | 0 | 9471836 | 6.6841
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 238579.7 | 0 | 238579.7 | 0 | 0.42928 | 35189.86 | 0 | 0 | 2000389 | 8.3846
| Nuclear | 4570 | 4570 | 4061356 | 0 | 4061356 | 0 | 0.40673 | 5924094 | 0 | 40613560 | 68047740 | 16.7549
| Offshore Wind | 53544.202 | 53544.202 | 25472810 | 0 | 25472810 | 0 | 0.21773 | 6642041 | 0 | 0 | 102405100 | 4.0202
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.741 | 27270.741 | 11189390 | 0 | 11189390 | 0 | 0.18778 | 3145740 | 0 | 0 | 42150350 | 3.767
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.422 | 40470.422 | 13217460 | 0 | 13217460 | 0 | 0.14947 | 1348080 | 0 | 0 | 90278670 | 6.8303
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 35023140 | 21829910 | 13193230 | -13193230 | 0.11274 | 0 | 0 | 0 | 135731500 | 2.3874
Link | DC | 12450 | 12450 | 9549085 | 5885750 | 3663335 | -3663335 | 0.56739 | 30866580 | 0 | 0 | 70784100 | 4.586
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 134827.9 | -134827.9 | 0 | 0.016891 | 7847184 | 0 | 0 | 0 | NaN
| H2 Power Generation | 278.381 | 278.381 | 0 | 86990.56 | -86990.56 | 0 | 0.14302 | 521271.9 | 0 | 434952.8 | 0 | NaN
Load | Data Centre | 0 | 0 | 0 | 1877543 | -1877543 | 0 | NaN | 0 | 0 | 0 | -14118940 | -7.5199
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -411891500 | -7.8939
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 2729198 | 6114821 | -3385623 | 0 | 0.1529 | 61226880 | 0 | 0 | 16741690 | 1.893
| Domestic Battery Storage | 857.708 | 857.708 | 142784.8 | 270758.7 | -127974 | 0 | 0.22066 | 2002066 | 0 | 0 | 548921.5 | 1.3274
| Liquid Air Energy Storage | 457.994 | 457.994 | 31042.26 | 250613 | -219570.7 | 0 | 0.28145 | 1220288 | 0 | 0 | 549749.4 | 1.9519
| Pumped Storage Hydroelectricity | 5300 | 5300 | 846578.6 | 2232174 | -1385595 | 0 | 0.26586 | 12966100 | 0 | 0 | 10545950 | 3.4254
Store | Hydrogen Gas | 46768.008 | 46768.008 | 86120.38 | 93509.37 | -7388.984 | 0 | 0.72308 | 0 | 0 | 0 | 0 | NaN
[8 empty] | total curtailment: | 312453256.65 | total: | 81875281.22 | 153567949.68 | 130.0755
[8 empty] | wind curtailment: | 9787781
[8 empty] | solar curtailment: | 1348080
Summary
Total Green Capacity: |  | 121341.1844
Total Green Energy curtailment: |  | 11257826.4
Total Wind Energy Curtailment: |  | 9787781
Data Centre Cost: |  | 14118940

## Temporal
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.892 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.807 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3544252 | 0 | 3544252 | 0 | 0.11844 | 26379320 | 0 | 40348850 | 40348850 | 11.3843
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4559.605 | 0 | 4559.605 | 0 | 0.18971 | 19475.39 | 0 | 56812.68 | 97821.15 | 21.4538
| Landfill Gas | 834.5111 | 834.5111 | 985.9801 | 0 | 985.9801 | 0 | 0.000541 | 1822421 | 0 | 53242.93 | 53415.83 | 54.1753
| Large Hydro | 1897.296 | 1897.296 | 1416387 | 0 | 1416387 | 0 | 0.34166 | 241849.9 | 0 | 0 | 9439016 | 6.6642
| Load Shedding | 48629.19 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 237103 | 0 | 237103 | 0 | 0.42662 | 36666.59 | 0 | 0 | 1996544 | 8.4206
| Nuclear | 4570 | 4570 | 4060086 | 0 | 4060086 | 0 | 0.4066 | 5925364 | 0 | 40600860 | 67848500 | 16.7111
| Offshore Wind | 53544.2 | 53544.2 | 25499370 | 0 | 25499370 | 0 | 0.21795 | 6615477 | 0 | 0 | 102437800 | 4.0173
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.74 | 27270.74 | 11414740 | 0 | 11414740 | 0 | 0.19157 | 2920392 | 0 | 0 | 42126150 | 3.6905
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.42 | 40470.42 | 12995040 | 0 | 12995040 | 0 | 0.14696 | 1570499 | 0 | 0 | 90210550 | 6.9419
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 35364110 | 21540860 | 13823250 | -13823250 | 0.11284 | 0 | 0 | 0 | 133319500 | 2.3428
Link | DC | 12450 | 12450 | 9582992 | 5947862 | 3635130 | -3635130 | 0.57092 | 30838380 | 0 | 0 | 70335700 | 4.5288
| DSM | 26000000 | 26000000 | 0 | 109235.3 | -109235.3 | 0 | 2e-06 | 56809890000 | 0 | 1.0923 | -882868.5 | -8.0823
| Electrolysis | 3653.095 | 3653.095 | 0 | 131416.1 | -131416.1 | 0 | 0.016464 | 7850596 | 0 | 0 | 0 | NaN
| H2 Power Generation | 278.381 | 278.381 | 0 | 88302.75 | -88302.75 | 0 | 0.14517 | 519959.7 | 0 | 441513.7 | 0 | NaN
Load | Data Centre | 0 | 0 | 0 | 1877543 | -1877543 | 0 | NaN | 0 | 0 | 0 | -14097900 | -7.5087
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -411303000 | -7.8826
StorageUnit | Battery Storage | 26471.97 | 26471.97 | 2741421 | 6133689 | -3392268 | 0 | 0.15344 | 61233530 | 0 | 0 | 16580990 | 1.8683
| Domestic Battery Storage | 857.708 | 857.708 | 143178.5 | 273329.3 | -130150.8 | 0 | 0.22224 | 2004243 | 0 | 0 | 543694.1 | 1.3054
| Liquid Air Energy Storage | 457.994 | 457.994 | 31291.71 | 253075.2 | -221783.5 | 0 | 0.28416 | 1222500 | 0 | 0 | 544677.8 | 1.9154
| Pumped Storage Hydroelectricity | 5300 | 5300 | 863060.3 | 2239119 | -1376059 | 0 | 0.26788 | 12956560 | 0 | 0 | 10420020 | 3.3589
Store | DSM | 13000000 | 13000000 | 54617.63 | 54617.63 | 0 | 0 | 0.99993 | 0 | 0 | 0 | 0 | NaN
| Hydrogen Gas | 46768.01 | 46768.01 | 86530.8 | 90219.3 | -3688.498 | 0 | 0.36095 | 0 | 0 | 0 | 0 | NaN
[8 empty] | total curtailment: | 57135286620.28 | total: | 81501280.4024 | 160019460.38 | 125.3049
[8 empty] | wind curtailment: | 9535869
[8 empty] | solar curtailment: | 1570499
Summary
Total Green Capacity: |  | 121341.1794
Total Green Energy curtailment: |  | 11228333.4
Total Wind Energy Curtailment: |  | 9535869
Data Centre Cost: |  | 14097900

## Spatial
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.892 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.807 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3541053 | 0 | 3541053 | 0 | 0.11834 | 26382520 | 0 | 40561730 | 40561730 | 11.4547
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4643.509 | 0 | 4643.509 | 0 | 0.1932 | 19391.49 | 0 | 57858.12 | 99417.85 | 21.41
| Landfill Gas | 834.5111 | 834.5111 | 1373.642 | 0 | 1373.642 | 0 | 0.00075334 | 1822033 | 0 | 74176.66 | 74347.88 | 54.1246
| Large Hydro | 1897.296 | 1897.296 | 1399606 | 0 | 1399606 | 0 | 0.33761 | 258630.3 | 0 | 0 | 9528779 | 6.8082
| Load Shedding | 48629.19 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 240007.2 | 0 | 240007.2 | 0 | 0.43184 | 33762.4 | 0 | 0 | 2004213 | 8.3506
| Nuclear | 4570 | 4570 | 4053639 | 0 | 4053639 | 0 | 0.40595 | 5931811 | 0 | 40536390 | 67962270 | 16.7657
| Offshore Wind | 53544.2 | 53544.2 | 25184070 | 0 | 25184070 | 0 | 0.21526 | 6930775 | 0 | 0 | 102429300 | 4.0672
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.74 | 27270.74 | 11270940 | 0 | 11270940 | 0 | 0.18915 | 3064199 | 0 | 0 | 42266950 | 3.7501
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.42 | 40470.42 | 13221380 | 0 | 13221380 | 0 | 0.14952 | 1344158 | 0 | 0 | 90280280 | 6.8284
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 34790030 | 21544090 | 13245940 | -13245940 | 0.11171 | 0 | 0 | 0 | 133333100 | 2.3668
Link | DC | 12450 | 12450 | 9526165 | 5894316 | 3631849 | -3631849 | 0.56686 | 30835100 | 0 | 0 | 70623860 | 4.5799
| Electrolysis | 3653.095 | 3653.095 | 0 | 137504.4 | -137504.4 | 0 | 0.017227 | 7844508 | 0 | 0 | 0 | NaN
| H2 Power Generation | 278.381 | 278.381 | 0 | 92166.44 | -92166.44 | 0 | 0.15152 | 516096 | 0 | 460832.2 | 0 | NaN
| Virtual Link | 156000000 | 156000000 | 0 | 16445.91 | -16445.91 | 16445.91 | 4.8248e-08 | 340860000000 | 0 | 0.16446 | -86144.25 | -5.238
Load | Data Centre | 0 | 0 | 0 | 1877543 | -1877543 | 0 | NaN | 0 | 0 | 0 | -14124690 | -7.523
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -411818900 | -7.8925
StorageUnit | Battery Storage | 26471.97 | 26471.97 | 3422228 | 6657994 | -3235766 | 0 | 0.17427 | 61077030 | 0 | 0 | 16733650 | 1.66
| Domestic Battery Storage | 857.708 | 857.708 | 178312 | 299158.8 | -120846.8 | 0 | 0.25477 | 1994939 | 0 | 0 | 548845.8 | 1.1495
| Liquid Air Energy Storage | 457.994 | 457.994 | 32601.86 | 245888.6 | -213286.7 | 0 | 0.27829 | 1214004 | 0 | 0 | 549093.3 | 1.9717
| Pumped Storage Hydroelectricity | 5300 | 5300 | 997080.9 | 2287389 | -1290308 | 0 | 0.28362 | 12870810 | 0 | 0 | 10511430 | 3.2003
Store | Hydrogen Gas | 46768.01 | 46768.01 | 90821.73 | 94908.4 | -4086.671 | 0 | 0.39992 | 0 | 0 | 0 | 0 | NaN
[8 empty] | total curtailment: | 341172508343.89 | total: | 81690987.1445 | 150966102.58 | 124.6339
[8 empty] | wind curtailment: | 9994974
[8 empty] | solar curtailment: | 1344158
Summary
Total Green Capacity: |  | 121341.1794
Total Green Energy curtailment: |  | 11461097.4
Total Wind Energy Curtailment: |  | 9994974
Data Centre Cost: |  | 14124690

## Both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.892 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.807 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3522451 | 0 | 3522451 | 0 | 0.11771 | 26401120 | 0 | 40227900 | 40227900 | 11.4204
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4564.679 | 0 | 4564.679 | 0 | 0.18992 | 19470.32 | 0 | 56875.9 | 97976.78 | 21.4641
| Landfill Gas | 834.5111 | 834.5111 | 939.5542 | 0 | 939.5542 | 0 | 0.00051527 | 1822467 | 0 | 50735.92 | 50908.45 | 54.1839
| Large Hydro | 1897.296 | 1897.296 | 1385678 | 0 | 1385678 | 0 | 0.33425 | 272558.8 | 0 | 0 | 9492907 | 6.8507
| Load Shedding | 48629.19 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 239212.9 | 0 | 239212.9 | 0 | 0.43042 | 34556.69 | 0 | 0 | 1997884 | 8.3519
| Nuclear | 4570 | 4570 | 4052395 | 0 | 4052395 | 0 | 0.40583 | 5933055 | 0 | 40523950 | 67645010 | 16.6926
| Offshore Wind | 53544.2 | 53544.2 | 25297990 | 0 | 25297990 | 0 | 0.21623 | 6816858 | 0 | 0 | 102337400 | 4.0453
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.74 | 27270.74 | 11166210 | 0 | 11166210 | 0 | 0.18739 | 3168929 | 0 | 0 | 42204570 | 3.7797
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.42 | 40470.42 | 13153100 | 0 | 13153100 | 0 | 0.14874 | 1412444 | 0 | 0 | 90049560 | 6.8463
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 34980080 | 21402270 | 13577810 | -13577810 | 0.1118 | 0 | 0 | 0 | 132119300 | 2.3433
Link | DC | 12450 | 12450 | 9507955 | 5895185 | 3612770 | -3612770 | 0.56622 | 30816020 | 0 | 0 | 70048000 | 4.5476
| DSM | 26000000 | 26000000 | 0 | 109040.9 | -109040.9 | 0 | 1.9194e-06 | 56809890000 | 0 | 1.0904 | -807885.7 | -7.409
| Electrolysis | 3653.095 | 3653.095 | 0 | 136478.5 | -136478.5 | 0 | 0.017098 | 7845534 | 0 | 0 | 0 | NaN
| H2 Power Generation | 278.381 | 278.381 | 0 | 91497.84 | -91497.84 | 0 | 0.15042 | 516764.6 | 0 | 457489.2 | 0 | NaN
| Virtual Link | 156000000 | 156000000 | 0 | 16643.26 | -16643.26 | 16643.26 | 4.8827e-08 | 340860000000 | 0 | 0.16643 | -90369.41 | -5.4298
Load | Data Centre | 0 | 0 | 0 | 1877543 | -1877543 | 0 | NaN | 0 | 0 | 0 | -14080300 | -7.4993
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -410518000 | -7.8676
StorageUnit | Battery Storage | 26471.97 | 26471.97 | 3617944 | 6804928 | -3186985 | 0 | 0.1802 | 61028250 | 0 | 0 | 16528890 | 1.5858
| Domestic Battery Storage | 857.708 | 857.708 | 182298.6 | 300876.4 | -118577.9 | 0 | 0.25782 | 1992670 | 0 | 0 | 542221.3 | 1.1222
| Liquid Air Energy Storage | 457.994 | 457.994 | 33421.78 | 239437.1 | -206015.3 | 0 | 0.27266 | 1206732 | 0 | 0 | 543258.3 | 1.991
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1068761 | 2323427 | -1254666 | 0 | 0.29292 | 12835170 | 0 | 0 | 10364760 | 3.0555
Store | DSM | 13000000 | 13000000 | 54520.46 | 54520.46 | 0 | 0 | 0.99993 | 0 | 0 | 0 | 0 | NaN
| Hydrogen Gas | 46768.01 | 46768.01 | 90325.05 | 94362.16 | -4037.109 | 0 | 0.39507 | 0 | 0 | 0 | 0 | NaN
[8 empty] | total curtailment: | 397994438206.31 | total: | 81316952.2768 | 158753990.72 | 120.0745
[8 empty] | wind curtailment: | 9985787
Summary | [7 empty] | solar curtailment: | 1412444
Total Green Capacity: |  | 121341.1794
Total Green Energy curtailment: |  | 11520196.4
Total Wind Energy Curtailment: |  | 9985787
Data Centre Cost: |  | 14080300
Optimal objective 8.187527603e+07
INFO:gurobipy:Optimal objective 8.187527603e+07

## CFE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue
Generator | Advanced Biofuel | 0 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Biogas | 0 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Biomass | 0 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 0 | 23586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combined Heat & Power | 0 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| European Imports | 0 | 13695 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gas Engine | 0 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Geothermal | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Landfill Gas | 0 | 834.5111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Large Hydro | 0 | 1897.296 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Load Shedding | 0 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Marine Energy | 0 | 254.358 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Nuclear | 0 | 4570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Offshore Wind | 0 | 53544.202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Oil | 0 | 78.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Onshore Wind | 0 | 27270.741 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Open Cycle Gas Turbine | 0 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sewage Gas | 0 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Solar PV | 0 | 40470.422 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Waste to Energy | 0 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line | AC | 0 | 230800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Link | DC | 0 | 12450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Electrolysis | 0 | 3653.0948 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| H2 Power Generation | 0 | 278.381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
StorageUnit | Battery Storage | 0 | 26471.973 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Domestic Battery Storage | 0 | 857.708 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Liquid Air Energy Storage | 0 | 457.994 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Pumped Storage Hydroelectricity | 0 | 5300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Store | Hydrogen Gas | 0 | 46768.008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## CFE_both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue
Generator | Advanced Biofuel | 0 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Biogas | 0 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Biomass | 0 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 0 | 23586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combined Heat & Power | 0 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| European Imports | 0 | 13695 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gas Engine | 0 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Geothermal | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Landfill Gas | 0 | 834.5111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Large Hydro | 0 | 1897.296 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Load Shedding | 0 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Marine Energy | 0 | 254.358 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Nuclear | 0 | 4570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Offshore Wind | 0 | 53544.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Oil | 0 | 78.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Onshore Wind | 0 | 27270.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Open Cycle Gas Turbine | 0 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sewage Gas | 0 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Solar PV | 0 | 40470.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Waste to Energy | 0 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line | AC | 0 | 230800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Link | DC | 0 | 12450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| DSM | 0 | 26000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Electrolysis | 0 | 3653.095 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| H2 Power Generation | 0 | 278.381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Virtual Link | 0 | 156000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
StorageUnit | Battery Storage | 0 | 26471.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Domestic Battery Storage | 0 | 857.708 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Liquid Air Energy Storage | 0 | 457.994 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Pumped Storage Hydroelectricity | 0 | 5300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Store | DSM | 0 | 13000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hydrogen Gas | 0 | 46768.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | total curtailment: | #REF! | total: | 0 | 0 | 0
[8 empty] | wind curtailment: | 0
Summary | [7 empty] | solar curtailment: | 0
Total Green Capacity: |  | 121341.1794
Total Green Energy curtailment: |  | 0
Total Wind Energy Curtailment: |  | 0
Data Centre Cost: |  | 0