## Summary
BIG SUMMARY
Data Centre Allocation: | Current
Total Capacity [GW]: | 4
Flexibility: | 40%
x_CFE: | 30%
Total Green Energy | 123437.019
Total Storage | 33087.675
| Inflexible | Temporal | Spatial | Both | CFE | CFE_both
Total Green Energy Curtailment | 11373568.51 | 11387298.52 | 11599286.91 | 11356417.59 | 11880238.1 | 11741946.02
Total Wind Offshore Curtailment | 6656963 | 6511088 | 6519195 | 6420185 | 6832674 | 6906443
Total Wind Onshore Curtailment | 3045595 | 3217146 | 3225550 | 3132553 | 3356432 | 3281806
Total Solar PV Curtailment | 1382226 | 1365764 | 1557062 | 1508024 | 1392276 | 1261186
DC Cost | 14463560 | 14290380 | 14462050 | 14016470 | 14475760 | 13991740
Network objective | 82256050.809 | 80775408.0981 | 81980170.9387 | 76841579.0375 | 82435033.5368 | 77015111.8196
Tot Green En Curtailment Reduction w.r.t. Inflexible |  | -0.1207% | -1.985% | 0.1508% | -4.455% | -3.239%
Total Wind Offshore Curtailment Reduction |  | 2.191% | 2.07% | 3.557% | -2.64% | -3.748%
Total Wind Onshore Curtailment Reduction |  | -5.633% | -5.909% | -2.855% | -10.21% | -7.756%
Total Solar PV Curtailment Reduction |  | 1.191% | -12.65% | -9.101% | -0.7271% | 8.757%
DC Cost Reduction w.r.t. Inflexible |  | 1.197% | 0.01044% | 3.091% | -0.08435% | 3.262%
Objective Reduction w.r.t. Inflexible |  | 1.8% | 0.3354% | 6.582% | -0.2176% | 6.371%

## Inflexible
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3595220 | 0 | 3595220 | 0 | 0.12015 | 26328360 | 0 | 40980950 | 40980950 | 11.3987
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4556.233 | 0 | 4556.233 | 0 | 0.18957 | 19478.77 | 0 | 56770.66 | 97738.34 | 21.4516
| Landfill Gas | 834.5111 | 834.5111 | 1037.996 | 0 | 1037.996 | 0 | 0.000569 | 1822369 | 0 | 56051.8 | 56229.9 | 54.1711
| Large Hydro | 1897.296 | 1897.296 | 1403907 | 0 | 1403907 | 0 | 0.33865 | 254330.1 | 0 | 0 | 9271543 | 6.6041
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 239315.1 | 0 | 239315.1 | 0 | 0.4306 | 34454.41 | 0 | 0 | 1985171 | 8.2952
| Nuclear | 4570 | 4570 | 4077556 | 0 | 4077556 | 0 | 0.40835 | 5907894 | 0 | 40775560 | 68282830 | 16.746
| Offshore Wind | 53544.202 | 53544.202 | 25457880 | 0 | 25457880 | 0 | 0.2176 | 6656963 | 0 | 0 | 102223700 | 4.0154
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.741 | 27270.741 | 11289540 | 0 | 11289540 | 0 | 0.18946 | 3045595 | 0 | 0 | 41885960 | 3.7102
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.422 | 40470.422 | 13183320 | 0 | 13183320 | 0 | 0.14909 | 1382226 | 0 | 0 | 90405070 | 6.8575
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 31647960 | 24298710 | 7349246 | -7349246 | 0.11094 | 0 | 0 | 0 | 79045050 | 1.4129
Link | DC | 12450 | 12450 | 9569832 | 5882427 | 3687405 | -3687405 | 0.56803 | 30890650 | 0 | 0 | 71061070 | 4.5987
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 121236.6 | -121236.6 | 0 | 0.015189 | 7860775 | 0 | 0 | 0 | NaN
| H2 Power Generation | 278.381 | 278.381 | 0 | 77342.54 | -77342.54 | 0 | 0.12715 | 530919.9 | 0 | 386712.7 | 0 | NaN
Load | Data Centre | 0 | 0 | 0 | 1877552 | -1877552 | 0 | NaN | 0 | 0 | 0 | -14463560 | -7.7034
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -411649900 | -7.8893
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 2570385 | 6005830 | -3435445 | 0 | 0.14827 | 61276710 | 0 | 0 | 16754070 | 1.9536
| Domestic Battery Storage | 857.708 | 857.708 | 137271 | 269261.1 | -131990 | 0 | 0.21692 | 2006082 | 0 | 0 | 549750.9 | 1.3523
| Liquid Air Energy Storage | 457.994 | 457.994 | 31159.93 | 253070.3 | -221910.3 | 0 | 0.28403 | 1222627 | 0 | 0 | 553009.6 | 1.9456
| Pumped Storage Hydroelectricity | 5300 | 5300 | 824624.7 | 2241341 | -1416716 | 0 | 0.26475 | 12997220 | 0 | 0 | 10345200 | 3.3742
Store | Hydrogen Gas | 46768.008 | 46768.008 | 75886.86 | 83409.9 | -7523.044 | 0 | 0.7362 | 0 | 0 | 0 | 0 | NaN

## Temporal
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.892 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.807 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3517381 | 0 | 3517381 | 0 | 0.11754 | 26406190 | 0 | 39658130 | 39658130 | 11.2749
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4313.509 | 0 | 4313.509 | 0 | 0.17947 | 19721.49 | 0 | 53746.32 | 93409.27 | 21.655
| Landfill Gas | 834.5111 | 834.5111 | 35.5821 | 0 | 35.5821 | 0 | 2e-05 | 1823371 | 0 | 1921.433 | 2026.376 | 56.9656
| Large Hydro | 1897.296 | 1897.296 | 1400008 | 0 | 1400008 | 0 | 0.33771 | 258228.3 | 0 | 0 | 9023160 | 6.4451
| Load Shedding | 48629.19 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 238697.3 | 0 | 238697.3 | 0 | 0.42949 | 35072.22 | 0 | 0 | 1955751 | 8.1934
| Nuclear | 4570 | 4570 | 4068596 | 0 | 4068596 | 0 | 0.40745 | 5916854 | 0 | 40685960 | 67223390 | 16.5225
| Offshore Wind | 53544.2 | 53544.2 | 25603760 | 0 | 25603760 | 0 | 0.21885 | 6511088 | 0 | 0 | 101129500 | 3.9498
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.74 | 27270.74 | 11117990 | 0 | 11117990 | 0 | 0.18659 | 3217146 | 0 | 0 | 41238740 | 3.7092
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.42 | 40470.42 | 13199780 | 0 | 13199780 | 0 | 0.14927 | 1365764 | 0 | 0 | 90020750 | 6.8199
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 31143730 | 24577850 | 6565883 | -6565883 | 0.11049 | 0 | 0 | 0 | 81464480 | 1.462
Link | DC | 12450 | 12450 | 9527028 | 5919457 | 3607571 | -3607571 | 0.56782 | 30810820 | 0 | 0 | 69172220 | 4.4782
| DSM | 20000000 | 20000000 | 0 | 438146.9 | -438146.9 | 0 | 1e-05 | 43699560000 | 0 | 4.3815 | -3240503 | -7.3959
| Electrolysis | 3653.095 | 3653.095 | 0 | 118454.1 | -118454.1 | 0 | 0.01484 | 7863558 | 0 | 0 | 0 | NaN
| H2 Power Generation | 278.381 | 278.381 | 0 | 75129.95 | -75129.95 | 0 | 0.12352 | 533132.5 | 0 | 375649.7 | 0 | NaN
Load | Data Centre | 0 | 0 | 0 | 1877552 | -1877552 | 0 | NaN | 0 | 0 | 0 | -14290380 | -7.6112
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -406808400 | -7.7965
StorageUnit | Battery Storage | 26471.97 | 26471.97 | 2704393 | 6065620 | -3361227 | 0 | 0.15162 | 61202490 | 0 | 0 | 16018090 | 1.8265
| Domestic Battery Storage | 857.708 | 857.708 | 136786.1 | 263318.1 | -126532 | 0 | 0.21349 | 2000624 | 0 | 0 | 525438.1 | 1.3133
| Liquid Air Energy Storage | 457.994 | 457.994 | 30377.75 | 253100.5 | -222722.7 | 0 | 0.28327 | 1223440 | 0 | 0 | 532562.5 | 1.8787
| Pumped Storage Hydroelectricity | 5300 | 5300 | 824502.6 | 2217990 | -1393487 | 0 | 0.26272 | 12973990 | 0 | 0 | 9918967 | 3.2601
Store | DSM | 10000000 | 10000000 | 219073.4 | 219073.4 | 0 | 0 | 0.99962 | 0 | 0 | 0 | 0 | NaN
| Hydrogen Gas | 46768.01 | 46768.01 | 74303.54 | 82091.49 | -7787.954 | 0 | 0.76212 | 0 | 0 | 0 | 0 | NaN

## Spatial
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.892 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.807 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3562669 | 0 | 3562669 | 0 | 0.11906 | 26360910 | 0 | 40764970 | 40764970 | 11.4423
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4649.743 | 0 | 4649.743 | 0 | 0.19346 | 19385.26 | 0 | 57935.8 | 99116.42 | 21.3165
| Landfill Gas | 834.5111 | 834.5111 | 1244.803 | 0 | 1244.803 | 0 | 0.00068268 | 1822162 | 0 | 67219.35 | 67397.2 | 54.1432
| Large Hydro | 1897.296 | 1897.296 | 1399953 | 0 | 1399953 | 0 | 0.3377 | 258283.8 | 0 | 0 | 9323878 | 6.6601
| Load Shedding | 48629.19 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 234573.4 | 0 | 234573.4 | 0 | 0.42207 | 39196.11 | 0 | 0 | 1988045 | 8.4751
| Nuclear | 4570 | 4570 | 4066823 | 0 | 4066823 | 0 | 0.40727 | 5918627 | 0 | 40668230 | 68113680 | 16.7486
| Offshore Wind | 53544.2 | 53544.2 | 25595650 | 0 | 25595650 | 0 | 0.21878 | 6519195 | 0 | 0 | 102264800 | 3.9954
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.74 | 27270.74 | 11109580 | 0 | 11109580 | 0 | 0.18644 | 3225550 | 0 | 0 | 41928240 | 3.7741
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.42 | 40470.42 | 13008480 | 0 | 13008480 | 0 | 0.14711 | 1557062 | 0 | 0 | 90358870 | 6.9462
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 30642660 | 24804320 | 5838335 | -5838335 | 0.10995 | 0 | 0 | 0 | 79910670 | 1.4412
Link | DC | 12450 | 12450 | 9579505 | 5925485 | 3654019 | -3654019 | 0.56997 | 30857270 | 0 | 0 | 70847110 | 4.5693
| Electrolysis | 3653.095 | 3653.095 | 0 | 131419.4 | -131419.4 | 0 | 0.016464 | 7850593 | 0 | 0 | 0 | NaN
| H2 Power Generation | 278.381 | 278.381 | 0 | 84363.38 | -84363.38 | 0 | 0.1387 | 523899.1 | 0 | 421816.9 | 0 | NaN
| Virtual Link | 90000000 | 90000000 | 0 | 27977.08 | -27977.08 | 27977.08 | 1.4227e-07 | 196650000000 | 0 | 0.27977 | -110868.5 | -3.9628
Load | Data Centre | 0 | 0 | 0 | 1877552 | -1877552 | 0 | NaN | 0 | 0 | 0 | -14462050 | -7.7026
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -411534400 | -7.8871
StorageUnit | Battery Storage | 26471.97 | 26471.97 | 3285931 | 6555503 | -3269572 | 0 | 0.17015 | 61110830 | 0 | 0 | 16707270 | 1.6976
| Domestic Battery Storage | 857.708 | 857.708 | 173366.1 | 295475.1 | -122109 | 0 | 0.25017 | 1996201 | 0 | 0 | 547942.4 | 1.1687
| Liquid Air Energy Storage | 457.994 | 457.994 | 31575.84 | 246365.5 | -214789.7 | 0 | 0.27774 | 1215507 | 0 | 0 | 550682.3 | 1.9813
| Pumped Storage Hydroelectricity | 5300 | 5300 | 972198.3 | 2295580 | -1323382 | 0 | 0.28218 | 12903880 | 0 | 0 | 10398990 | 3.1823
Store | Hydrogen Gas | 46768.01 | 46768.01 | 83010.47 | 90640.66 | -7630.189 | 0 | 0.74668 | 0 | 0 | 0 | 0 | NaN

## Both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.892 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.807 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3394143 | 0 | 3394143 | 0 | 0.11343 | 26529430 | 0 | 37139050 | 37139050 | 10.9421
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4225.147 | 0 | 4225.147 | 0 | 0.17579 | 19809.85 | 0 | 52645.33 | 89958.39 | 21.2911
| Landfill Gas | 834.5111 | 834.5111 | 35.5821 | 0 | 35.5821 | 0 | 1.9508e-05 | 1823371 | 0 | 1921.433 | 1968.375 | 55.3354
| Large Hydro | 1897.296 | 1897.296 | 1401052 | 0 | 1401052 | 0 | 0.33796 | 257184.5 | 0 | 0 | 8915120 | 6.3632
| Load Shedding | 48629.19 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 235298.5 | 0 | 235298.5 | 0 | 0.42337 | 38471.09 | 0 | 0 | 1921789 | 8.1675
| Nuclear | 4570 | 4570 | 3928950 | 0 | 3928950 | 0 | 0.39347 | 6056500 | 0 | 39289500 | 64329530 | 16.3732
| Offshore Wind | 53544.2 | 53544.2 | 25694660 | 0 | 25694660 | 0 | 0.21962 | 6420185 | 0 | 0 | 99417500 | 3.8692
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.74 | 27270.74 | 11202580 | 0 | 11202580 | 0 | 0.18801 | 3132553 | 0 | 0 | 40573830 | 3.6218
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.42 | 40470.42 | 13057520 | 0 | 13057520 | 0 | 0.14766 | 1508024 | 0 | 0 | 87894330 | 6.7313
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 30630120 | 25093910 | 5536216 | -5536216 | 0.1105 | 0 | 0 | 0 | 80282940 | 1.4407
Link | DC | 12450 | 12450 | 9442736 | 5961563 | 3481173 | -3481173 | 0.56627 | 30684420 | 0 | 0 | 65100600 | 4.2261
| DSM | 20000000 | 20000000 | 0 | 708637.4 | -708637.4 | 0 | 1.6216e-05 | 43699290000 | 0 | 7.0864 | -2821697 | -3.9819
| Electrolysis | 3653.095 | 3653.095 | 0 | 109581.5 | -109581.5 | 0 | 0.013729 | 7872431 | 0 | 0 | 0 | NaN
| H2 Power Generation | 278.381 | 278.381 | 0 | 71691.01 | -71691.01 | 0 | 0.11786 | 536571.5 | 0 | 358455 | 0 | NaN
| Virtual Link | 90000000 | 90000000 | 0 | 37269.75 | -37269.75 | 37269.75 | 1.8952e-07 | 196650000000 | 0 | 0.3727 | -55983.2 | -1.5021
Load | Data Centre | 0 | 0 | 0 | 1877552 | -1877552 | 0 | NaN | 0 | 0 | 0 | -14016470 | -7.4653
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -398954200 | -7.646
StorageUnit | Battery Storage | 26471.97 | 26471.97 | 3331616 | 6559424 | -3227808 | 0 | 0.171 | 61069070 | 0 | 0 | 16038000 | 1.6215
| Domestic Battery Storage | 857.708 | 857.708 | 174409.3 | 295005.1 | -120595.8 | 0 | 0.25048 | 1994688 | 0 | 0 | 526528.2 | 1.1217
| Liquid Air Energy Storage | 457.994 | 457.994 | 33284.36 | 243184.4 | -209900 | 0 | 0.27627 | 1210617 | 0 | 0 | 523674.2 | 1.8942
| Pumped Storage Hydroelectricity | 5300 | 5300 | 988936.3 | 2306501 | -1317565 | 0 | 0.28457 | 12898060 | 0 | 0 | 9835125 | 2.9845
Store | DSM | 10000000 | 10000000 | 354318.7 | 354318.7 | 0 | 0 | 0.99503 | 0 | 0 | 0 | 0 | NaN
| Hydrogen Gas | 46768.01 | 46768.01 | 70633.79 | 75649.82 | -5016.027 | 0 | 0.49086 | 0 | 0 | 0 | 0 | NaN

## CFE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3574109 | 0 | 3574109 | 0 | 0.11944 | 26349470 | 0 | 41118460 | 41118460
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4558.222 | 0 | 4558.222 | 0 | 0.18965 | 19476.78 | 0 | 56795.45 | 97867.21
| Landfill Gas | 834.5111 | 834.5111 | 1037.996 | 0 | 1037.996 | 0 | 0.000569 | 1822369 | 0 | 56051.8 | 56229.9
| Large Hydro | 1897.296 | 1897.296 | 1398401 | 0 | 1398401 | 0 | 0.33732 | 259835.4 | 0 | 0 | 9285688
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 234748.8 | 0 | 234748.8 | 0 | 0.42238 | 39020.7 | 0 | 0 | 1988605
| Nuclear | 4570 | 4570 | 4081360 | 0 | 4081360 | 0 | 0.40873 | 5904090 | 0 | 40813600 | 68447700
| Offshore Wind | 53544.202 | 53544.202 | 25282170 | 0 | 25282170 | 0 | 0.2161 | 6832674 | 0 | 0 | 101829500
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 10978700 | 0 | 10978700 | 0 | 0.18425 | 3356432 | 0 | 0 | 41949680
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13173270 | 0 | 13173270 | 0 | 0.14897 | 1392276 | 0 | 0 | 90600320
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 31687430 | 23538770 | 8148657 | -8148657 | 0.10951 | 0 | 0 | 0 | 78659330
Link | DC | 12450 | 12450 | 9528262 | 5862509 | 3665753 | -3665753 | 0.56577 | 30869000 | 0 | 0 | 71315980
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 115909.7 | -115909.7 | 0 | 0.014521 | 7866102 | 0 | 0 | 36.7617
| H2 Power Generation | 278.381 | 278.381 | 0 | 78025.34 | -78025.34 | 0 | 0.12828 | 530237.1 | 0 | 390126.7 | 0
Load | Data Centre | 0 | 0 | 0 | 1877552 | -1877552 | 0 | NaN | 0 | 0 | 0 | -14475760
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -412153700
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 3798709 | 6913930 | -3115221 | 0 | 0.18521 | 60956480 | 0 | 0 | 16751020
| Domestic Battery Storage | 857.708 | 857.708 | 191162.1 | 307458.5 | -116296.3 | 0 | 0.26606 | 1990388 | 0 | 0 | 542807.3
| Liquid Air Energy Storage | 457.994 | 457.994 | 33084.26 | 244788 | -211703.7 | 0 | 0.27767 | 1212421 | 0 | 0 | 554579.4

## CFE_both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.892 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.807 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3386601 | 0 | 3386601 | 0 | 0.11317 | 26536970 | 0 | 37256290 | 37256290 | 11.0011
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4162.083 | 0 | 4162.083 | 0 | 0.17317 | 19872.92 | 0 | 51859.55 | 89006.05 | 21.385
| Landfill Gas | 834.5111 | 834.5111 | 35.5821 | 0 | 35.5821 | 0 | 1.9508e-05 | 1823371 | 0 | 1921.433 | 1968.375 | 55.3354
| Large Hydro | 1897.296 | 1897.296 | 1405286 | 0 | 1405286 | 0 | 0.33898 | 252950.6 | 0 | 0 | 8908533 | 6.3393
| Load Shedding | 48629.19 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 234209.1 | 0 | 234209.1 | 0 | 0.42141 | 39560.42 | 0 | 0 | 1918863 | 8.1929
| Nuclear | 4570 | 4570 | 3934853 | 0 | 3934853 | 0 | 0.39406 | 6050597 | 0 | 39348530 | 64276110 | 16.3351
| Offshore Wind | 53544.2 | 53544.2 | 25208400 | 0 | 25208400 | 0 | 0.21547 | 6906443 | 0 | 0 | 98895540 | 3.9231
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.74 | 27270.74 | 11053330 | 0 | 11053330 | 0 | 0.1855 | 3281806 | 0 | 0 | 40514490 | 3.6654
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.42 | 40470.42 | 13304360 | 0 | 13304360 | 0 | 0.15045 | 1261186 | 0 | 0 | 87943640 | 6.6101
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 31880120 | 23608080 | 8272034 | -8272034 | 0.11003 | 0 | 0 | 0 | 80666310 | 1.4538
Link | DC | 12450 | 12450 | 9442567 | 5969130 | 3473437 | -3473437 | 0.56654 | 30676690 | 0 | 0 | 65137020 | 4.2265
| DSM | 20000000 | 20000000 | 0 | 708639.7 | -708639.7 | 0 | 1.6216e-05 | 43699290000 | 0 | 7.0864 | -2816730 | -3.9748
| Electrolysis | 3653.095 | 3653.095 | 0 | 112774 | -112774 | 0 | 0.014129 | 7869238 | 0 | 0 | 32.2252 | 0.000286
| H2 Power Generation | 278.381 | 278.381 | 0 | 71301.67 | -71301.67 | 0 | 0.11722 | 536960.8 | 0 | 356508.3 | 0 | NaN
| Virtual Link | 90000000 | 90000000 | 0 | 37315.51 | -37315.51 | 37315.51 | 1.8976e-07 | 196650000000 | 0 | 0.37316 | -54575.53 | -1.4625
Load | Data Centre | 0 | 0 | 0 | 1877552 | -1877552 | 0 | NaN | 0 | 0 | 0 | -13991740 | -7.4521
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -398476000 | -7.6368
StorageUnit | Battery Storage | 26471.97 | 26471.97 | 4271644 | 7231965 | -2960322 | 0 | 0.19888 | 60801580 | 0 | 0 | 15992070 | 1.3902
| Domestic Battery Storage | 857.708 | 857.708 | 219438.6 | 326672.3 | -107233.7 | 0 | 0.2914 | 1981326 | 0 | 0 | 518962.3 | 0.95029
| Liquid Air Energy Storage | 457.994 | 457.994 | 34596.76 | 245532.6 | -210935.9 | 0 | 0.27993 | 1211653 | 0 | 0 | 523343.8 | 1.8682
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1139088 | 2345654 | -1206566 | 0 | 0.30091 | 12787070 | 0 | 0 | 9751333 | 2.7983
Store | DSM | 10000000 | 10000000 | 354319.8 | 354319.8 | 0 | 0 | 0.99499 | 0 | 0 | 0 | 0 | NaN
| Hydrogen Gas | 46768.01 | 46768.01 | 69612.43 | 77252.59 | -7640.158 | 0 | 0.74766 | 0 | 0 | 0 | 0 | NaN