## Summary
BIG SUMMARY
Data Centre Allocation: | Population
Total Capacity [GW]: | 4
Flexibility: | 40%
x_CFE: | 100%
Total Green Energy | 123437.019
Total Storage | 33087.675
| Inflexible | Temporal | Spatial | Both | CFE | CFE_both
Total Green Energy Curtailment | 11415903.56 | 11409645.04 | 11707618.07 | 11507278.14 | 12108762.58 | 11946626.27
Total Wind Offshore Curtailment | 6619733 | 6527355 | 6680651 | 6548418 | 7138085 | 7230193
Total Wind Onshore Curtailment | 3108024 | 3162884 | 3326338 | 3276661 | 3448608 | 3256150
Total Solar PV Curtailment | 1380085 | 1409771 | 1369434 | 1351085 | 1178857 | 1133989
DC Cost | 15237430 | 15040120 | 15237610 | 14777410 | 15255380 | 14746680
Network objective | 83006417.4226 | 81454380.7565 | 83005919.8648 | 77624801.0693 | 83697462.6175 | 78284433.4753
Tot Green En Curtailment Reduction w.r.t. Inflexible |  | 0.05482% | -2.555% | -0.8004% | -6.069% | -4.649%
Total Wind Offshore Curtailment Reduction |  | 1.395% | -0.9202% | 1.077% | -7.83% | -9.222%
Total Wind Onshore Curtailment Reduction |  | -1.765% | -7.024% | -5.426% | -10.96% | -4.766%
Total Solar PV Curtailment Reduction |  | -2.151% | 0.7718% | 2.101% | 14.58% | 17.83%
DC Cost Reduction w.r.t. Inflexible |  | 1.295% | -0.001181% | 3.019% | -0.1178% | 3.221%
Objective Reduction w.r.t. Inflexible |  | 1.87% | 0.0005994% | 6.483% | -0.8325% | 5.689%

## Inflexible
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3619678 | 0 | 3619678 | 0 | 0.12096 | 26303900 | 0 | 41523690 | 41523690 | 11.4717
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4626.798 | 0 | 4626.798 | 0 | 0.1925 | 19408.2 | 0 | 57649.9 | 97520.61 | 21.0773
| Landfill Gas | 834.5111 | 834.5111 | 484.795 | 0 | 484.795 | 0 | 0.000266 | 1822922 | 0 | 26178.93 | 26314.7 | 54.2811
| Large Hydro | 1897.296 | 1897.296 | 1384267 | 0 | 1384267 | 0 | 0.33391 | 273970.2 | 0 | 0 | 8653087 | 6.251
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 239678.2 | 0 | 239678.2 | 0 | 0.43125 | 34091.36 | 0 | 0 | 1937849 | 8.0852
| Nuclear | 4570 | 4570 | 4104895 | 0 | 4104895 | 0 | 0.41109 | 5880555 | 0 | 41048950 | 68828320 | 16.7674
| Offshore Wind | 53544.202 | 53544.202 | 25495110 | 0 | 25495110 | 0 | 0.21792 | 6619733 | 0 | 0 | 101617700 | 3.9858
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.741 | 27270.741 | 11227110 | 0 | 11227110 | 0 | 0.18842 | 3108024 | 0 | 0 | 41099210 | 3.6607
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.422 | 40470.422 | 13185460 | 0 | 13185460 | 0 | 0.14911 | 1380085 | 0 | 0 | 90581600 | 6.8698
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 32758860 | 23130650 | 9628212 | -9628212 | 0.11083 | 0 | 0 | 0 | 99938350 | 1.7881
Link | DC | 12450 | 12450 | 9583407 | 5870916 | 3712490 | -3712490 | 0.56811 | 30915740 | 0 | 0 | 71862790 | 4.65
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 110821.2 | -110821.2 | 0 | 0.013884 | 7871191 | 0 | 0 | 0 | NaN
| H2 Power Generation | 278.381 | 278.381 | 0 | 69988.72 | -69988.72 | 0 | 0.11506 | 538273.8 | 0 | 349943.6 | 0 | NaN
Load | Data Centre | 0 | 0 | 0 | 1877543 | -1877543 | 0 | NaN | 0 | 0 | 0 | -15237430 | -8.1156
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -411597700 | -7.8883
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 2524615 | 5964329 | -3439714 | 0 | 0.14676 | 61280980 | 0 | 0 | 16733880 | 1.9713
| Domestic Battery Storage | 857.708 | 857.708 | 137074.7 | 270045.7 | -132971 | 0 | 0.21724 | 2007063 | 0 | 0 | 550607 | 1.3524
| Liquid Air Energy Storage | 457.994 | 457.994 | 31118.31 | 249096.9 | -217978.6 | 0 | 0.28001 | 1218696 | 0 | 0 | 557677.2 | 1.9902
| Pumped Storage Hydroelectricity | 5300 | 5300 | 806127.5 | 2237880 | -1431752 | 0 | 0.26286 | 13012250 | 0 | 0 | 9938024 | 3.2648
Store | Hydrogen Gas | 46768.008 | 46768.008 | 68900.54 | 76486.64 | -7586.1 | 0 | 0.74237 | 0 | 0 | 0 | 0 | NaN

## Temporal
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.892 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.807 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3557334 | 0 | 3557334 | 0 | 0.11888 | 26366240 | 0 | 40065930 | 40065930 | 11.2629
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4216.882 | 0 | 4216.882 | 0 | 0.17545 | 19818.12 | 0 | 52542.35 | 91061.37 | 21.5945
| Landfill Gas | 834.5111 | 834.5111 | 35.5821 | 0 | 35.5821 | 0 | 2e-05 | 1823371 | 0 | 1921.433 | 2027.403 | 56.9945
| Large Hydro | 1897.296 | 1897.296 | 1382509 | 0 | 1382509 | 0 | 0.33349 | 275728 | 0 | 0 | 8544402 | 6.1804
| Load Shedding | 48629.19 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 239862.5 | 0 | 239862.5 | 0 | 0.43158 | 33907.04 | 0 | 0 | 1917216 | 7.993
| Nuclear | 4570 | 4570 | 4098671 | 0 | 4098671 | 0 | 0.41046 | 5886779 | 0 | 40986710 | 67674200 | 16.5113
| Offshore Wind | 53544.2 | 53544.2 | 25587490 | 0 | 25587490 | 0 | 0.21871 | 6527355 | 0 | 0 | 100501500 | 3.9278
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.74 | 27270.74 | 11172250 | 0 | 11172250 | 0 | 0.1875 | 3162884 | 0 | 0 | 40533540 | 3.6281
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.42 | 40470.42 | 13155770 | 0 | 13155770 | 0 | 0.14877 | 1409771 | 0 | 0 | 90148750 | 6.8524
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 32630140 | 23189870 | 9440272 | -9440272 | 0.11069 | 0 | 0 | 0 | 98449590 | 1.7637
Link | DC | 12450 | 12450 | 9572364 | 5923816 | 3648547 | -3648547 | 0.56964 | 30851800 | 0 | 0 | 69731800 | 4.4999
| DSM | 26000000 | 26000000 | 0 | 460620 | -460620 | 0 | 8e-06 | 56809540000 | 0 | 4.6062 | -4096772 | -8.894
| Electrolysis | 3653.095 | 3653.095 | 0 | 106390.3 | -106390.3 | 0 | 0.013329 | 7875622 | 0 | 0 | 0 | NaN
| H2 Power Generation | 278.381 | 278.381 | 0 | 69455.18 | -69455.18 | 0 | 0.11419 | 538807.3 | 0 | 347275.9 | 0 | NaN
Load | Data Centre | 0 | 0 | 0 | 1877543 | -1877543 | 0 | NaN | 0 | 0 | 0 | -15040120 | -8.0105
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -406241600 | -7.7856
StorageUnit | Battery Storage | 26471.97 | 26471.97 | 2589519 | 5996822 | -3407303 | 0 | 0.14845 | 61248560 | 0 | 0 | 15954740 | 1.8582
| Domestic Battery Storage | 857.708 | 857.708 | 138969.1 | 267994.8 | -129025.7 | 0 | 0.21715 | 2003118 | 0 | 0 | 524495.6 | 1.2888
| Liquid Air Energy Storage | 457.994 | 457.994 | 30994.32 | 251031.4 | -220037.1 | 0 | 0.28182 | 1220754 | 0 | 0 | 535039.5 | 1.8971
| Pumped Storage Hydroelectricity | 5300 | 5300 | 815599.9 | 2221046 | -1405446 | 0 | 0.26222 | 12985950 | 0 | 0 | 9562929 | 3.1492
Store | DSM | 13000000 | 13000000 | 230310 | 230310 | 0 | 0 | 0.99971 | 0 | 0 | 0 | 0 | NaN
| Hydrogen Gas | 46768.01 | 46768.01 | 68424.08 | 73442.11 | -5018.029 | 0 | 0.49106 | 0 | 0 | 0 | 0 | NaN

## Spatial
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.892 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.807 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3607473 | 0 | 3607473 | 0 | 0.12056 | 26316100 | 0 | 41523480 | 41523480 | 11.5104
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4626.798 | 0 | 4626.798 | 0 | 0.1925 | 19408.2 | 0 | 57649.9 | 97520.62 | 21.0773
| Landfill Gas | 834.5111 | 834.5111 | 484.795 | 0 | 484.795 | 0 | 0.00026587 | 1822922 | 0 | 26178.93 | 26314.7 | 54.2811
| Large Hydro | 1897.296 | 1897.296 | 1361064 | 0 | 1361064 | 0 | 0.32832 | 297172.2 | 0 | 0 | 8652598 | 6.3572
| Load Shedding | 48629.19 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 239746.7 | 0 | 239746.7 | 0 | 0.43138 | 34022.87 | 0 | 0 | 1937828 | 8.0828
| Nuclear | 4570 | 4570 | 4105115 | 0 | 4105115 | 0 | 0.41111 | 5880335 | 0 | 41051150 | 68830400 | 16.767
| Offshore Wind | 53544.2 | 53544.2 | 25434190 | 0 | 25434190 | 0 | 0.2174 | 6680651 | 0 | 0 | 101620600 | 3.9954
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.74 | 27270.74 | 11008800 | 0 | 11008800 | 0 | 0.18475 | 3326338 | 0 | 0 | 41099210 | 3.7333
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.42 | 40470.42 | 13196110 | 0 | 13196110 | 0 | 0.14923 | 1369434 | 0 | 0 | 90582810 | 6.8644
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 32038120 | 23489910 | 8548214 | -8548214 | 0.11011 | 0 | 0 | 0 | 100397100 | 1.808
Link | DC | 12450 | 12450 | 9600557 | 5900584 | 3699972 | -3699972 | 0.56983 | 30903220 | 0 | 0 | 71862750 | 4.636
| Electrolysis | 3653.095 | 3653.095 | 0 | 102270.6 | -102270.6 | 0 | 0.012813 | 7879741 | 0 | 0 | 0 | NaN
| H2 Power Generation | 278.381 | 278.381 | 0 | 69490.83 | -69490.83 | 0 | 0.11424 | 538771.7 | 0 | 347454.1 | 0 | NaN
| Virtual Link | 156000000 | 156000000 | 0 | 2532.12 | -2532.12 | 2532.12 | 7.4287e-09 | 340860000000 | 0 | 0.02532 | -23368.58 | -9.2288
Load | Data Centre | 0 | 0 | 0 | 1877543 | -1877543 | 0 | NaN | 0 | 0 | 0 | -15237610 | -8.1157
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -411600400 | -7.8883
StorageUnit | Battery Storage | 26471.97 | 26471.97 | 3439369 | 6700199 | -3260830 | 0 | 0.1753 | 61102090 | 0 | 0 | 16733250 | 1.6503
| Domestic Battery Storage | 857.708 | 857.708 | 181985.7 | 301849 | -119863.3 | 0 | 0.25817 | 1993955 | 0 | 0 | 550584.9 | 1.138
| Liquid Air Energy Storage | 457.994 | 457.994 | 33469.49 | 248634.8 | -215165.3 | 0 | 0.2819 | 1215882 | 0 | 0 | 557677.2 | 1.9768
| Pumped Storage Hydroelectricity | 5300 | 5300 | 972066.2 | 2302912 | -1330846 | 0 | 0.2828 | 12911350 | 0 | 0 | 9936947 | 3.0342
Store | Hydrogen Gas | 46768.01 | 46768.01 | 68399.41 | 70498 | -2098.589 | 0 | 0.20537 | 0 | 0 | 0 | 0 | NaN

## Both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.892 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.807 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3402878 | 0 | 3402878 | 0 | 0.11372 | 26520700 | 0 | 37407720 | 37407720 | 10.993
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4153.818 | 0 | 4153.818 | 0 | 0.17282 | 19881.18 | 0 | 51756.57 | 87927.41 | 21.1679
| Landfill Gas | 834.5111 | 834.5111 | 35.5821 | 0 | 35.5821 | 0 | 1.9508e-05 | 1823371 | 0 | 1921.433 | 1969.372 | 55.363
| Large Hydro | 1897.296 | 1897.296 | 1361794 | 0 | 1361794 | 0 | 0.32849 | 296443.2 | 0 | 0 | 8398480 | 6.1672
| Load Shedding | 48629.19 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 239098.6 | 0 | 239098.6 | 0 | 0.43021 | 34670.94 | 0 | 0 | 1881463 | 7.869
| Nuclear | 4570 | 4570 | 3982504 | 0 | 3982504 | 0 | 0.39883 | 6002946 | 0 | 39825040 | 64984490 | 16.3175
| Offshore Wind | 53544.2 | 53544.2 | 25566430 | 0 | 25566430 | 0 | 0.21853 | 6548418 | 0 | 0 | 99173280 | 3.879
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.74 | 27270.74 | 11058470 | 0 | 11058470 | 0 | 0.18559 | 3276661 | 0 | 0 | 39947720 | 3.6124
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.42 | 40470.42 | 13214460 | 0 | 13214460 | 0 | 0.14944 | 1351085 | 0 | 0 | 88280270 | 6.6806
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 32357760 | 23246250 | 9111517 | -9111517 | 0.11026 | 0 | 0 | 0 | 92462310 | 1.6629
Link | DC | 12450 | 12450 | 9439363 | 5949232 | 3490131 | -3490131 | 0.56569 | 30693380 | 0 | 0 | 65539730 | 4.259
| DSM | 26000000 | 26000000 | 0 | 744704.1 | -744704.1 | 0 | 1.3109e-05 | 56809260000 | 0 | 7.447 | -3433983 | -4.6112
| Electrolysis | 3653.095 | 3653.095 | 0 | 99929.64 | -99929.64 | 0 | 0.012519 | 7882082 | 0 | 0 | 0 | NaN
| H2 Power Generation | 278.381 | 278.381 | 0 | 67671.24 | -67671.24 | 0 | 0.11125 | 540591.2 | 0 | 338356.2 | 0 | NaN
| Virtual Link | 156000000 | 156000000 | 0 | 340.0528 | -340.0528 | 340.0528 | 9.9763e-10 | 340860000000 | 0 | 0.0034 | -2859.787 | -8.4099
Load | Data Centre | 0 | 0 | 0 | 1877543 | -1877543 | 0 | NaN | 0 | 0 | 0 | -14777410 | -7.8706
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -399116200 | -7.6491
StorageUnit | Battery Storage | 26471.97 | 26471.97 | 3627976 | 6801034 | -3173059 | 0 | 0.1803 | 61014320 | 0 | 0 | 15890950 | 1.5237
| Domestic Battery Storage | 857.708 | 857.708 | 187741.1 | 304792 | -117050.9 | 0 | 0.26281 | 1991143 | 0 | 0 | 522656.8 | 1.0612
| Liquid Air Energy Storage | 457.994 | 457.994 | 32632.14 | 241615.3 | -208983.1 | 0 | 0.27405 | 1209700 | 0 | 0 | 526730.5 | 1.9206
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1026914 | 2322923 | -1296009 | 0 | 0.28927 | 12876510 | 0 | 0 | 9464833 | 2.8255
Store | DSM | 13000000 | 13000000 | 372352.1 | 372352.1 | 0 | 0 | 0.99663 | 0 | 0 | 0 | 0 | NaN
| Hydrogen Gas | 46768.01 | 46768.01 | 66938.57 | 69218.08 | -2279.51 | 0 | 0.22307 | 0 | 0 | 0 | 0 | NaN

## CFE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3597931 | 0 | 3597931 | 0 | 0.12024 | 26325640 | 0 | 42060820 | 42060820 | 11.6903
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4576.383 | 0 | 4576.383 | 0 | 0.1904 | 19458.62 | 0 | 57021.73 | 97548.01 | 21.3156
| Landfill Gas | 834.5111 | 834.5111 | 645.113 | 0 | 645.113 | 0 | 0.000354 | 1822762 | 0 | 34836.1 | 34967.69 | 54.2033
| Large Hydro | 1897.296 | 1897.296 | 1354074 | 0 | 1354074 | 0 | 0.32663 | 304162.3 | 0 | 0 | 8668030 | 6.4014
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 234719.3 | 0 | 234719.3 | 0 | 0.42233 | 39050.28 | 0 | 0 | 1942952 | 8.2778
| Nuclear | 4570 | 4570 | 4119444 | 0 | 4119444 | 0 | 0.41254 | 5866006 | 0 | 41194440 | 69485510 | 16.8677
| Offshore Wind | 53544.202 | 53544.202 | 24976760 | 0 | 24976760 | 0 | 0.21349 | 7138085 | 0 | 0 | 100114400 | 4.0083
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.741 | 27270.741 | 10886530 | 0 | 10886530 | 0 | 0.1827 | 3448608 | 0 | 0 | 41126430 | 3.7777
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.422 | 40470.422 | 13386680 | 0 | 13386680 | 0 | 0.15138 | 1178857 | 0 | 0 | 91522970 | 6.8369
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 32103970 | 22909530 | 9194436 | -9194436 | 0.10909 | 0 | 0 | 0 | 98683680 | 1.7938
Link | DC | 12450 | 12450 | 9530884 | 5840698 | 3690186 | -3690186 | 0.56506 | 30893440 | 0 | 0 | 72674280 | 4.7278
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 111056.3 | -111056.3 | 0 | 0.013913 | 7870956 | 0 | 0 | 36.7249 | 0.000331
| H2 Power Generation | 278.381 | 278.381 | 0 | 70068.67 | -70068.67 | 0 | 0.1152 | 538193.8 | 0 | 350343.3 | 0 | NaN
Load | Data Centre | 0 | 0 | 0 | 1877543 | -1877543 | 0 | NaN | 0 | 0 | 0 | -15255380 | -8.1252
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -412799100 | -7.9113
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 4237642 | 7187049 | -2949407 | 0 | 0.19752 | 60790670 | 0 | 0 | 16848870 | 1.4748
| Domestic Battery Storage | 857.708 | 857.708 | 189229.8 | 304145.9 | -114916.1 | 0 | 0.26326 | 1989008 | 0 | 0 | 526097.7 | 1.0663
| Liquid Air Energy Storage | 457.994 | 457.994 | 34904.66 | 221274 | -186369.3 | 0 | 0.25599 | 1187086 | 0 | 0 | 568388.6 | 2.2187
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1102541 | 2373565 | -1271024 | 0 | 0.30017 | 12851520 | 0 | 0 | 9905804 | 2.8497
Store | Hydrogen Gas | 46768.008 | 46768.008 | 69028.42 | 76699.13 | -7670.717 | 0 | 0.75065 | 0 | 0 | 0 | 0 | NaN

## CFE_both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.892 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.807 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3411074 | 0 | 3411074 | 0 | 0.11399 | 26512500 | 0 | 37902320 | 37902320 | 11.1116
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4074.988 | 0 | 4074.988 | 0 | 0.16954 | 19960.01 | 0 | 50774.35 | 86593.95 | 21.2501
| Landfill Gas | 834.5111 | 834.5111 | 35.5821 | 0 | 35.5821 | 0 | 1.9508e-05 | 1823371 | 0 | 1921.433 | 1983.224 | 55.7525
| Large Hydro | 1897.296 | 1897.296 | 1371387 | 0 | 1371387 | 0 | 0.33081 | 286849.4 | 0 | 0 | 8353828 | 6.0915
| Load Shedding | 48629.19 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 234324.7 | 0 | 234324.7 | 0 | 0.42162 | 39444.87 | 0 | 0 | 1874566 | 7.9999
| Nuclear | 4570 | 4570 | 3998908 | 0 | 3998908 | 0 | 0.40047 | 5986542 | 0 | 39989080 | 65123720 | 16.2854
| Offshore Wind | 53544.2 | 53544.2 | 24884650 | 0 | 24884650 | 0 | 0.2127 | 7230193 | 0 | 0 | 98070140 | 3.941
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.74 | 27270.74 | 11078980 | 0 | 11078980 | 0 | 0.18593 | 3256150 | 0 | 0 | 39677120 | 3.5813
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.42 | 40470.42 | 13431550 | 0 | 13431550 | 0 | 0.15189 | 1133989 | 0 | 0 | 88790630 | 6.6106
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 31793510 | 23126120 | 8667390 | -8667390 | 0.1089 | 0 | 0 | 0 | 92022220 | 1.6756
Link | DC | 12450 | 12450 | 9425826 | 5927289 | 3498537 | -3498537 | 0.56439 | 30701790 | 0 | 0 | 65736290 | 4.2816
| DSM | 26000000 | 26000000 | 0 | 746156.9 | -746156.9 | 0 | 1.3134e-05 | 56809250000 | 0 | 7.4616 | -3436997 | -4.6063
| Electrolysis | 3653.095 | 3653.095 | 0 | 104206.1 | -104206.1 | 0 | 0.013055 | 7877806 | 0 | 0 | 37.6149 | 0.000361
| H2 Power Generation | 278.381 | 278.381 | 0 | 68066.46 | -68066.46 | 0 | 0.1119 | 540196 | 0 | 340332.3 | 0 | NaN
| Virtual Link | 156000000 | 156000000 | 0 | 400.0453 | -400.0453 | 400.0453 | 1.1737e-09 | 340860000000 | 0 | 0.004 | -3364.649 | -8.4106
Load | Data Centre | 0 | 0 | 0 | 1877543 | -1877543 | 0 | NaN | 0 | 0 | 0 | -14746680 | -7.8542
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -398605600 | -7.6393
StorageUnit | Battery Storage | 26471.97 | 26471.97 | 4340403 | 7190680 | -2850277 | 0 | 0.19936 | 60691540 | 0 | 0 | 15815520 | 1.3716
| Domestic Battery Storage | 857.708 | 857.708 | 212299.4 | 319310.3 | -107010.8 | 0 | 0.28366 | 1981103 | 0 | 0 | 495733.1 | 0.93251
| Liquid Air Energy Storage | 457.994 | 457.994 | 34084.59 | 215676.7 | -181592.1 | 0 | 0.24958 | 1182309 | 0 | 0 | 528827.3 | 2.1173
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1116940 | 2354467 | -1237527 | 0 | 0.29976 | 12818030 | 0 | 0 | 9304492 | 2.6803
Store | DSM | 13000000 | 13000000 | 373078.5 | 373078.5 | 0 | 0 | 0.9202 | 0 | 0 | 0 | 0 | NaN
| Hydrogen Gas | 46768.01 | 46768.01 | 67024.54 | 71902.37 | -4877.827 | 0 | 0.47734 | 0 | 0 | 0 | 0 | NaN