## Summary
BIG SUMMARY
Data Centre Allocation: | Scotland
Total Capacity [GW]: | 4
Flexibility: | 40%
x_CFE: | 10%
Total Green Energy | 123437.019
Total Storage | 33087.675
| Inflexible | Temporal | Spatial | Both | CFE | CFE_both
Total Green Energy Curtailment | 11412215.3318 | 11282147.4542 | 11607062.9081 | 11405555.0843 | 0 | 0
Total Wind Offshore Curtailment | 6642040.554 | 6747945.0236 | 6978331.4115 | 6789503.7605 | 0 | 0
Total Wind Onshore Curtailment | 3145740.1662 | 2836769.7527 | 2991360.3452 | 2992191.1272 | 0 | 0
Total Solar PV Curtailment | 1348080.0664 | 1420933.7972 | 1347541.7486 | 1341046.5347 | 0 | 0
DC Cost | 14118942.2157 | 13924424.6488 | 14126904.8704 | 13435078.1533 | 0 | 0
Network objective | 81875276.0255 | 80436112.5998 | 81162063.3439 | 76445019.9172 | - | -
Tot Green En Curtailment Reduction w.r.t. Inflexible |  | 1.14% | -1.707% | 0.05836% | 100% | 100%
Total Wind Offshore Curtailment Reduction |  | -1.594% | -5.063% | -2.22% | 100% | 100%
Total Wind Onshore Curtailment Reduction |  | 9.822% | 4.908% | 4.881% | 100% | 100%
Total Solar PV Curtailment Reduction |  | -5.404% | 0.03993% | 0.5217% | 100% | 100%
DC Cost Reduction w.r.t. Inflexible |  | 1.378% | -0.0564% | 4.844% | 100% | 100%
Objective Reduction w.r.t. Inflexible |  | 1.758% | 0.8711% | 6.632% | #VALUE! | #VALUE!

## Inflexible
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3571751.3895 | 0 | 3571751.3895 | 0 | 0.11936 | 26351823.6105 | 0 | 40697209.3833 | 40697209.3833 | 11.3942
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4643.509 | 0 | 4643.509 | 0 | 0.1932 | 19391.491 | 0 | 57858.1221 | 99256.8498 | 21.3754
| Landfill Gas | 834.5111 | 834.5111 | 1327.7833 | 0 | 1327.7833 | 0 | 0.00072819 | 1822078.8963 | 0 | 71700.2976 | 71876.9304 | 54.1331
| Large Hydro | 1897.296 | 1897.296 | 1417072.0197 | 0 | 1417072.0197 | 0 | 0.34183 | 241164.6843 | 0 | 0 | 9471835.7665 | 6.6841
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 238579.69 | 0 | 238579.69 | 0 | 0.42928 | 35189.8608 | 0 | 0 | 2000388.6914 | 8.3846
| Nuclear | 4570 | 4570 | 4061355.5404 | 0 | 4061355.5404 | 0 | 0.40673 | 5924094.4596 | 0 | 40613555.4042 | 68047738.7514 | 16.7549
| Offshore Wind | 53544.202 | 53544.202 | 25472805.5555 | 0 | 25472805.5555 | 0 | 0.21773 | 6642040.554 | 0 | 0 | 102405102.9781 | 4.0202
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11189394.1902 | 0 | 11189394.1902 | 0 | 0.18778 | 3145740.1662 | 0 | 0 | 42150354.2596 | 3.767
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13217461.3928 | 0 | 13217461.3928 | 0 | 0.14947 | 1348080.0664 | 0 | 0 | 90278673.5679 | 6.8303
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 35023140.0766 | 21829914.406 | 13193225.6705 | -13193225.6705 | 0.11274 | 0 | 0 | 0 | 135731533.8501 | 2.3874
Link | DC | 12450 | 12450 | 9549084.692 | 5885749.9335 | 3663334.7585 | -3663334.7585 | 0.56739 | 30866584.7585 | 0 | 0 | 70784103.0739 | 4.586
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 134827.9246 | -134827.9246 | 0 | 0.016891 | 7847184.114 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 86990.5636 | -86990.5636 | 0 | 0.14301 | 521271.9214 | 0 | 434952.8182 | 0
Load | Data Centre | 0 | 0 | 0 | 1877542.7831 | -1877542.7831 | 0 |  | 0 | 0 | 0 | -14118942.2157 | -7.5199
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -411891455.5879 | -7.8939
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 2729197.8347 | 6114821.3176 | -3385623.4829 | 0 | 0.1529 | 61226884.4879 | 0 | 0 | 16741690.7767 | 1.893
| Domestic Battery Storage | 857.708 | 857.708 | 142784.7528 | 270758.7402 | -127973.9873 | 0 | 0.22066 | 2002065.9673 | 0 | 0 | 548921.5106 | 1.3274
| Liquid Air Energy Storage | 457.994 | 457.994 | 31042.2593 | 250612.9602 | -219570.7008 | 0 | 0.28145 | 1220287.5908 | 0 | 0 | 549749.3577 | 1.9519
| Pumped Storage Hydroelectricity | 5300 | 5300 | 846578.6136 | 2232173.6644 | -1385595.0507 | 0 | 0.26586 | 12966095.0508 | 0 | 0 | 10545946.5867 | 3.4254
Store | Hydrogen Gas | 46768.008 | 46768.008 | 86120.3836 | 93509.3672 | -7388.9836 | 0 | 0.72308 | 0 | 0 | 0 | 0

## Temporal
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3499177.0561 | 0 | 3499177.0561 | 0 | 0.11694 | 26424397.9439 | 0 | 39434399.9256 | 39434399.9256 | 11.2696
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4387.8827 | 0 | 4387.8827 | 0 | 0.18256 | 19647.1173 | 0 | 54673.0182 | 94614.4785 | 21.5627
| Landfill Gas | 834.5111 | 834.5111 | 35.5821 | 0 | 35.5821 | 0 | 1.9508e-05 | 1823371.0976 | 0 | 1921.4325 | 2025.8825 | 56.9521
| Large Hydro | 1897.296 | 1897.296 | 1414384.2127 | 0 | 1414384.2127 | 0 | 0.34118 | 243852.4913 | 0 | 0 | 9262502.4045 | 6.5488
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 241123.1614 | 0 | 241123.1614 | 0 | 0.43385 | 32646.3894 | 0 | 0 | 1968405.8008 | 8.1635
| Nuclear | 4570 | 4570 | 4052743.9752 | 0 | 4052743.9752 | 0 | 0.40586 | 5932706.0248 | 0 | 40527439.7524 | 66877593.5032 | 16.5018
| Offshore Wind | 53544.202 | 53544.202 | 25366901.086 | 0 | 25366901.086 | 0 | 0.21682 | 6747945.0236 | 0 | 0 | 101381248.1076 | 3.9966
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11498364.6037 | 0 | 11498364.6037 | 0 | 0.19297 | 2836769.7527 | 0 | 0 | 41523117.9028 | 3.6112
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13144607.662 | 0 | 13144607.662 | 0 | 0.14865 | 1420933.7972 | 0 | 0 | 89468553.0043 | 6.8065
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 35348225.6861 | 21595749.2473 | 13752476.4388 | -13752476.4388 | 0.11292 | 0 | 0 | 0 | 130381034.0235 | 2.2896
Link | DC | 12450 | 12450 | 9545347.643 | 5956448.0982 | 3588899.5447 | -3588899.5447 | 0.56985 | 30792149.5447 | 0 | 0 | 68774516.976 | 4.4366
| DSM | 26000000 | 26000000 | 0 | 430082.2906 | -430082.2906 | 0 | 7.5705e-06 | 56809569917.7094 | 0 | 4.3008 | -3463776.7523 | -8.0538
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 130469.1218 | -130469.1218 | 0 | 0.016345 | 7851542.9169 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 83534.834 | -83534.834 | 0 | 0.13733 | 524727.651 | 0 | 417674.1702 | 0
Load | Data Centre | 0 | 0 | 0 | 1877542.7831 | -1877542.7831 | 0 |  | 0 | 0 | 0 | -13924424.6488 | -7.4163
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -406314455.9356 | -7.787
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 2428163.9194 | 5849234.8362 | -3421070.9167 | 0 | 0.14311 | 61262331.9218 | 0 | 0 | 16040343.6888 | 1.9378
| Domestic Battery Storage | 857.708 | 857.708 | 123957.5792 | 254978.8624 | -131021.2832 | 0 | 0.2022 | 2005113.2632 | 0 | 0 | 527296.4262 | 1.3915
| Liquid Air Energy Storage | 457.994 | 457.994 | 30116.5536 | 248062.5832 | -217946.0296 | 0 | 0.27798 | 1218662.9196 | 0 | 0 | 530863.6644 | 1.9084
| Pumped Storage Hydroelectricity | 5300 | 5300 | 811953.8308 | 2208783.0323 | -1396829.2015 | 0 | 0.26085 | 12977329.2015 | 0 | 0 | 9950163.454 | 3.294
Store | DSM | 13000000 | 13000000 | 215041.1453 | 215041.1453 | 0 | 0 | 0.99971 | 0 | 0 | 0 | 0
| Hydrogen Gas | 46768.008 | 46768.008 | 82443.5584 | 90237.1096 | -7793.5512 | 0 | 0.76267 | 0 | 0 | 0 | 0

## Spatial
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3535410.5907 | 0 | 3535410.5907 | 0 | 0.11815 | 26388164.4093 | 0 | 40154785.3169 | 40154785.3169 | 11.3579
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4829.624 | 0 | 4829.624 | 0 | 0.20094 | 19205.376 | 0 | 60177.115 | 101874.6856 | 21.0937
| Landfill Gas | 834.5111 | 834.5111 | 1558.3296 | 0 | 1558.3296 | 0 | 0.00085462 | 1821848.3501 | 0 | 84149.7963 | 84308.4241 | 54.1021
| Large Hydro | 1897.296 | 1897.296 | 1402044.7705 | 0 | 1402044.7705 | 0 | 0.3382 | 256191.9335 | 0 | 0 | 9737734.6114 | 6.9454
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 240132.0816 | 0 | 240132.0816 | 0 | 0.43207 | 33637.4693 | 0 | 0 | 2017912.0688 | 8.4033
| Nuclear | 4570 | 4570 | 4030619.421 | 0 | 4030619.421 | 0 | 0.40365 | 5954830.579 | 0 | 40306194.2104 | 67493418.3964 | 16.7452
| Offshore Wind | 53544.202 | 53544.202 | 25136514.6981 | 0 | 25136514.6981 | 0 | 0.21485 | 6978331.4115 | 0 | 0 | 102636623.5661 | 4.0832
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11343774.0113 | 0 | 11343774.0113 | 0 | 0.19037 | 2991360.3452 | 0 | 0 | 42506435.3418 | 3.7471
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13217999.7106 | 0 | 13217999.7106 | 0 | 0.14948 | 1347541.7486 | 0 | 0 | 89963130.3523 | 6.8061
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 34786706.5898 | 21545985.1055 | 13240721.4843 | -13240721.4843 | 0.11171 | 0 | 0 | 0 | 130566562.267 | 2.3178
Link | DC | 12450 | 12450 | 9531030.4209 | 5904968.2766 | 3626062.1443 | -3626062.1443 | 0.56743 | 30829312.1443 | 0 | 0 | 70077615.375 | 4.5399
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 167931.2698 | -167931.2698 | 0 | 0.021039 | 7814080.7689 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 111351.2506 | -111351.2506 | 0 | 0.18306 | 496911.2344 | 0 | 556756.253 | 0
| Virtual Link | 156000000 | 156000000 | 0 | 65217.8585 | -65217.8585 | 65217.8585 | 1.9133e-07 | 340859934782.1415 | 0 | 0.65218 | -369109.5014 | -5.6596
Load | Data Centre | 0 | 0 | 0 | 1877542.7831 | -1877542.7831 | 0 |  | 0 | 0 | 0 | -14126904.8704 | -7.5241
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -410860293.7797 | -7.8742
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 3374355.5049 | 6616247.666 | -3241892.1611 | 0 | 0.17272 | 61083153.1661 | 0 | 0 | 16652762.7311 | 1.6668
| Domestic Battery Storage | 857.708 | 857.708 | 175863.8926 | 296091.0976 | -120227.205 | 0 | 0.25183 | 1994319.185 | 0 | 0 | 545887.7092 | 1.1567
| Liquid Air Energy Storage | 457.994 | 457.994 | 33741.2636 | 245770.4544 | -212029.1908 | 0 | 0.27931 | 1212746.0808 | 0 | 0 | 543734.1152 | 1.9453
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1028255.5716 | 2289507.5863 | -1261252.0147 | 0 | 0.2865 | 12841752.0147 | 0 | 0 | 10582762.203 | 3.1897
Store | Hydrogen Gas | 46768.008 | 46768.008 | 110337.7068 | 116538.345 | -6200.6382 | 0 | 0.60679 | 0 | 0 | 0 | 0

## Both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3350941.9518 | 0 | 3350941.9518 | 0 | 0.11198 | 26572633.0482 | 0 | 36881036.8517 | 36881036.8517 | 11.0062
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4225.147 | 0 | 4225.147 | 0 | 0.17579 | 19809.853 | 0 | 52645.3316 | 89835.3164 | 21.262
| Landfill Gas | 834.5111 | 834.5111 | 35.5821 | 0 | 35.5821 | 0 | 1.9508e-05 | 1823371.0976 | 0 | 1921.4325 | 1968.0075 | 55.3249
| Large Hydro | 1897.296 | 1897.296 | 1408796.8473 | 0 | 1408796.8473 | 0 | 0.33983 | 249439.8567 | 0 | 0 | 8928291.1012 | 6.3375
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 240395.7456 | 0 | 240395.7456 | 0 | 0.43254 | 33373.8052 | 0 | 0 | 1904336.6224 | 7.9217
| Nuclear | 4570 | 4570 | 3913185.1212 | 0 | 3913185.1212 | 0 | 0.39189 | 6072264.8788 | 0 | 39131851.2119 | 64060858.72 | 16.3705
| Offshore Wind | 53544.202 | 53544.202 | 25325342.3491 | 0 | 25325342.3491 | 0 | 0.21647 | 6789503.7605 | 0 | 0 | 96352204.3006 | 3.8046
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11342943.2293 | 0 | 11342943.2293 | 0 | 0.19036 | 2992191.1272 | 0 | 0 | 39790718.9536 | 3.508
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13224494.9245 | 0 | 13224494.9245 | 0 | 0.14955 | 1341046.5347 | 0 | 0 | 85983234.7059 | 6.5018
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 34314072.1567 | 21565112.2098 | 12748959.947 | -12748959.947 | 0.11081 | 0 | 0 | 0 | 110575848.873 | 1.9788
Link | DC | 12450 | 12450 | 9388708.9591 | 5951845.4188 | 3436863.5403 | -3436863.5403 | 0.56392 | 30640113.5403 | 0 | 0 | 64340930.0797 | 4.1942
| DSM | 26000000 | 26000000 | 0 | 675899.93 | -675899.93 | 0 | 1.1898e-05 | 56809324100.07 | 0 | 6.759 | -809211.2783 | -1.1972
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 113291.3753 | -113291.3753 | 0 | 0.014193 | 7868720.6633 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 75511.5436 | -75511.5436 | 0 | 0.12414 | 532750.9415 | 0 | 377557.7178 | 0
| Virtual Link | 156000000 | 156000000 | 0 | 61264.4118 | -61264.4118 | 61264.4118 | 1.7973e-07 | 340859938735.5881 | 0 | 0.61264 | -111981.8808 | -1.8278
Load | Data Centre | 0 | 0 | 0 | 1877542.7831 | -1877542.7831 | 0 |  | 0 | 0 | 0 | -13435078.1533 | -7.1557
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -392312876.7065 | -7.5187
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 3550704.23 | 6726156.7021 | -3175452.4721 | 0 | 0.17767 | 61016713.4771 | 0 | 0 | 16267121.6298 | 1.5829
| Domestic Battery Storage | 857.708 | 857.708 | 182450.5412 | 299963.6269 | -117513.0856 | 0 | 0.25741 | 1991605.0656 | 0 | 0 | 534354.6364 | 1.1077
| Liquid Air Energy Storage | 457.994 | 457.994 | 35250.0593 | 244929.6737 | -209679.6144 | 0 | 0.27998 | 1210396.5044 | 0 | 0 | 539408.1184 | 1.9252
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1041702.4983 | 2303925.6342 | -1262223.1359 | 0 | 0.2889 | 12842723.1359 | 0 | 0 | 10024513.8295 | 2.9963
Store | DSM | 13000000 | 13000000 | 337949.965 | 337949.965 | 0 | 0 | 0.99644 | 0 | 0 | 0 | 0
| Hydrogen Gas | 46768.008 | 46768.008 | 74289.7452 | 78082.1643 | -3792.4192 | 0 | 0.37112 | 0 | 0 | 0 | 0

## CFE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue
Generator | Advanced Biofuel | 0 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Biogas | 0 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Biomass | 0 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 0 | 23586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combined Heat & Power | 0 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| European Imports | 0 | 13695 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gas Engine | 0 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Geothermal | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Landfill Gas | 0 | 834.5111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Large Hydro | 0 | 1897.296 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Load Shedding | 0 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Marine Energy | 0 | 254.358 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Nuclear | 0 | 4570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Offshore Wind | 0 | 53544.202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Oil | 0 | 78.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Onshore Wind | 0 | 27270.741 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Open Cycle Gas Turbine | 0 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sewage Gas | 0 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Solar PV | 0 | 40470.422 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Waste to Energy | 0 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line | AC | 0 | 230800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Link | DC | 0 | 12450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Electrolysis | 0 | 3653.0948 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| H2 Power Generation | 0 | 278.381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
StorageUnit | Battery Storage | 0 | 26471.973 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Domestic Battery Storage | 0 | 857.708 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Liquid Air Energy Storage | 0 | 457.994 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Pumped Storage Hydroelectricity | 0 | 5300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Store | Hydrogen Gas | 0 | 46768.008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## CFE_both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue
Generator | Advanced Biofuel | 0 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Biogas | 0 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Biomass | 0 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 0 | 23586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combined Heat & Power | 0 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| European Imports | 0 | 13695 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gas Engine | 0 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Geothermal | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Landfill Gas | 0 | 834.5111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Large Hydro | 0 | 1897.296 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Load Shedding | 0 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Marine Energy | 0 | 254.358 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Nuclear | 0 | 4570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Offshore Wind | 0 | 53544.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Oil | 0 | 78.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Onshore Wind | 0 | 27270.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Open Cycle Gas Turbine | 0 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sewage Gas | 0 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Solar PV | 0 | 40470.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Waste to Energy | 0 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line | AC | 0 | 230800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Link | DC | 0 | 12450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| DSM | 0 | 26000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Electrolysis | 0 | 3653.095 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| H2 Power Generation | 0 | 278.381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Virtual Link | 0 | 156000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
StorageUnit | Battery Storage | 0 | 26471.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Domestic Battery Storage | 0 | 857.708 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Liquid Air Energy Storage | 0 | 457.994 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Pumped Storage Hydroelectricity | 0 | 5300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Store | DSM | 0 | 13000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hydrogen Gas | 0 | 46768.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Store | DSM | 13000000 | 13000000 | 337949.965 | 337949.965 | 0 | 0 | 0.99647 | 0 | 0 | 0 | 0
| Hydrogen Gas | 46768.008 | 46768.008 | 74681.2761 | 77139.5179 | -2458.2418 | 0 | 0.24056 | 0 | 0 | 0 | 0