## Inflexible
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 4508098 | 0 | 4508098 | 0 | 0.15065 | 25415480 | 0 | 58378230 | 58378230 | 12.9496
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 6125.191 | 0 | 6125.191 | 0 | 0.25484 | 17909.81 | 0 | 76319.88 | 138221.2 | 22.566
| Landfill Gas | 834.5111 | 834.5111 | 13522.64 | 0 | 13522.64 | 0 | 0.007416 | 1809884 | 0 | 730222.4 | 798789.5 | 59.0705
| Large Hydro | 1897.296 | 1897.296 | 1426710 | 0 | 1426710 | 0 | 0.34415 | 231526.5 | 0 | 0 | 11332440 | 7.9431
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 240433.4 | 0 | 240433.4 | 0 | 0.43261 | 33336.14 | 0 | 0 | 2361521 | 9.8219
| Nuclear | 4570 | 4570 | 4611523 | 0 | 4611523 | 0 | 0.46182 | 5373927 | 0 | 46115230 | 85811430 | 18.608
| Offshore Wind | 53544.202 | 53544.202 | 26175970 | 0 | 26175970 | 0 | 0.22374 | 5938875 | 0 | 0 | 121191800 | 4.6299
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.741 | 27270.741 | 11379960 | 0 | 11379960 | 0 | 0.19098 | 2955177 | 0 | 0 | 50093880 | 4.4019
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.422 | 40470.422 | 13368950 | 0 | 13368950 | 0 | 0.15119 | 1196596 | 0 | 0 | 106188400 | 7.9429
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 38304270 | 21177410 | 17126860 | -17126860 | 0.11795 | 0 | 0 | 0 | 212053400 | 3.565
Link | DC | 12450 | 12450 | 10188200 | 5564511 | 4623690 | -4623690 | 0.57908 | 31826940 | 0 | 0 | 101369100 | 6.435
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 179624 | -179624 | 0 | 0.022504 | 7802388 | 0 | 0 | 0 | NaN
| H2 Power Generation | 278.381 | 278.381 | 0 | 119531 | -119531 | 0 | 0.19651 | 488731.5 | 0 | 597654.8 | 0 | NaN
Load | Data Centre | 0 | 0 | 0 | 4693892 | -4693892 | 0 | NaN | 0 | 0 | 0 | -42654380 | -9.0872
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -485349800 | -9.3017
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 2668465 | 5854390 | -3185925 | 0 | 0.14735 | 61027190 | 0 | 0 | 19979390 | 2.3442
| Domestic Battery Storage | 857.708 | 857.708 | 128566.1 | 253790.5 | -125224.4 | 0 | 0.20402 | 1999316 | 0 | 0 | 656894.3 | 1.718
| Liquid Air Energy Storage | 457.994 | 457.994 | 29938.75 | 236581.8 | -206643.1 | 0 | 0.26633 | 1207360 | 0 | 0 | 652788 | 2.4493
| Pumped Storage Hydroelectricity | 5300 | 5300 | 861261.3 | 2198262 | -1337000 | 0 | 0.2642 | 12917500 | 0 | 0 | 12746540 | 4.1662
Store | Hydrogen Gas | 46768.008 | 46768.008 | 117462.2 | 123668 | -6205.854 | 0 | 0.6073 | 0 | 0 | 0 | 0 | NaN
[8 empty] | total curtailment: | 310564023.65 | total: | 105897657.08 | 243002104 | 146.0566
[8 empty] | wind curtailment: | 8894052
[8 empty] | solar curtailment: | 1196596
Summary
Total Green Capacity: |  | 121341.1844
Total Green Energy curtailment: |  | 10212613.4
Total Wind Energy Curtailment: |  | 8894052
Data Centre Cost: |  | 42654380

## Temporal
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.892 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.807 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 4455047 | 0 | 4455047 | 0 | 0.14888 | 25468530 | 0 | 57299140 | 57299140 | 12.8616
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 6073.533 | 0 | 6073.533 | 0 | 0.2527 | 17961.47 | 0 | 75676.23 | 136148.2 | 22.4166
| Landfill Gas | 834.5111 | 834.5111 | 13493.62 | 0 | 13493.62 | 0 | 0.0074 | 1809913 | 0 | 728655.3 | 791360.8 | 58.647
| Large Hydro | 1897.296 | 1897.296 | 1422735 | 0 | 1422735 | 0 | 0.34319 | 235502.1 | 0 | 0 | 11226720 | 7.8909
| Load Shedding | 48629.19 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 240161 | 0 | 240161 | 0 | 0.43212 | 33608.6 | 0 | 0 | 2342215 | 9.7527
| Nuclear | 4570 | 4570 | 4608596 | 0 | 4608596 | 0 | 0.46153 | 5376854 | 0 | 46085960 | 85070480 | 18.4591
| Offshore Wind | 53544.2 | 53544.2 | 26148610 | 0 | 26148610 | 0 | 0.2235 | 5966241 | 0 | 0 | 120440600 | 4.606
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.74 | 27270.74 | 11580200 | 0 | 11580200 | 0 | 0.19434 | 2754931 | 0 | 0 | 49807660 | 4.3011
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.42 | 40470.42 | 13241760 | 0 | 13241760 | 0 | 0.14975 | 1323786 | 0 | 0 | 105688100 | 7.9814
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 37334560 | 21244850 | 16089710 | -16089710 | 0.11616 | 0 | 0 | 0 | 206008100 | 3.5167
Link | DC | 12450 | 12450 | 10151450 | 5582174 | 4569279 | -4569279 | 0.57837 | 31772530 | 0 | 0 | 99512210 | 6.3248
| DSM | 40000000 | 40000000 | 0 | 287224.5 | -287224.5 | 0 | 3e-06 | 87399710000 | 0 | 2.8722 | -2300246 | -8.0085
| Electrolysis | 3653.095 | 3653.095 | 0 | 179006.9 | -179006.9 | 0 | 0.022426 | 7803005 | 0 | 0 | 0 | NaN
| H2 Power Generation | 278.381 | 278.381 | 0 | 118587.2 | -118587.2 | 0 | 0.19496 | 489675.2 | 0 | 592936.2 | 0 | NaN
Load | Data Centre | 0 | 0 | 0 | 4693892 | -4693892 | 0 | NaN | 0 | 0 | 0 | -42325290 | -9.0171
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -481575200 | -9.2294
StorageUnit | Battery Storage | 26471.97 | 26471.97 | 2723202 | 5909883 | -3186681 | 0 | 0.14925 | 61027940 | 0 | 0 | 19484890 | 2.257
| Domestic Battery Storage | 857.708 | 857.708 | 137496.9 | 261677.7 | -124180.8 | 0 | 0.213 | 1998273 | 0 | 0 | 640477.1 | 1.6045
| Liquid Air Energy Storage | 457.994 | 457.994 | 30841.96 | 237150.1 | -206308.2 | 0 | 0.2678 | 1207025 | 0 | 0 | 640038.5 | 2.3883
| Pumped Storage Hydroelectricity | 5300 | 5300 | 871868.1 | 2193658 | -1321790 | 0 | 0.26471 | 12902290 | 0 | 0 | 12484180 | 4.0724
Store | DSM | 20000000 | 20000000 | 143612.2 | 143612.2 | 0 | 0 | 0.99988 | 0 | 0 | 0 | 0 | NaN
| Hydrogen Gas | 46768.01 | 46768.01 | 116285.5 | 123003.1 | -6717.571 | 0 | 0.65737 | 0 | 0 | 0 | 0 | NaN
[8 empty] | total curtailment: | 87723137452.07 | total: | 104782370.6022 | 245371583.6 | 140.8253
[8 empty] | wind curtailment: | 8721172
[8 empty] | solar curtailment: | 1323786
Summary
Total Green Capacity: |  | 121341.1794
Total Green Energy curtailment: |  | 10166923.4
Total Wind Energy Curtailment: |  | 8721172
Data Centre Cost: |  | 42325290

## Spatial
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.892 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.807 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 4470672 | 0 | 4470672 | 0 | 0.1494 | 25452900 | 0 | 58118780 | 58118780 | 13
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 6291.86 | 0 | 6291.86 | 0 | 0.26178 | 17743.14 | 0 | 78396.58 | 142252 | 22.6089
| Landfill Gas | 834.5111 | 834.5111 | 13628.67 | 0 | 13628.67 | 0 | 0.0074743 | 1809778 | 0 | 735948.3 | 804991.5 | 59.066
| Large Hydro | 1897.296 | 1897.296 | 1407885 | 0 | 1407885 | 0 | 0.33961 | 250352 | 0 | 0 | 11618530 | 8.2525
| Load Shedding | 48629.19 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 238733.7 | 0 | 238733.7 | 0 | 0.42955 | 35035.85 | 0 | 0 | 2384744 | 9.9891
| Nuclear | 4570 | 4570 | 4599874 | 0 | 4599874 | 0 | 0.46066 | 5385576 | 0 | 45998740 | 85564700 | 18.6015
| Offshore Wind | 53544.2 | 53544.2 | 26088760 | 0 | 26088760 | 0 | 0.22299 | 6026087 | 0 | 0 | 121944500 | 4.6742
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.74 | 27270.74 | 11362170 | 0 | 11362170 | 0 | 0.19068 | 2972963 | 0 | 0 | 50541050 | 4.4482
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.42 | 40470.42 | 13199660 | 0 | 13199660 | 0 | 0.14927 | 1365885 | 0 | 0 | 106238000 | 8.0485
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 37339630 | 21194280 | 16145350 | -16145350 | 0.11607 | 0 | 0 | 0 | 208317800 | 3.5589
Link | DC | 12450 | 12450 | 10172830 | 5587528 | 4585304 | -4585304 | 0.57936 | 31788550 | 0 | 0 | 101020200 | 6.4098
| Electrolysis | 3653.095 | 3653.095 | 0 | 185716 | -185716 | 0 | 0.023267 | 7796296 | 0 | 0 | 0 | NaN
| H2 Power Generation | 278.381 | 278.381 | 0 | 124473.9 | -124473.9 | 0 | 0.20464 | 483788.6 | 0 | 622369.5 | 0 | NaN
| Virtual Link | 380000000 | 380000000 | 0 | 30748.63 | -30748.63 | 30748.63 | 3.7033e-08 | 830300000000 | 0 | 0.30749 | -226130.2 | -7.3542
Load | Data Centre | 0 | 0 | 0 | 4693892 | -4693892 | 0 | NaN | 0 | 0 | 0 | -42709870 | -9.099
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -485567800 | -9.3059
StorageUnit | Battery Storage | 26471.97 | 26471.97 | 3675182 | 6659065 | -2983883 | 0 | 0.17867 | 60825140 | 0 | 0 | 19882720 | 1.924
| Domestic Battery Storage | 857.708 | 857.708 | 172330.4 | 288062.8 | -115732.5 | 0 | 0.24566 | 1989824 | 0 | 0 | 653445.3 | 1.4193
| Liquid Air Energy Storage | 457.994 | 457.994 | 33659.41 | 228497.6 | -194838.2 | 0 | 0.26197 | 1195555 | 0 | 0 | 648915.2 | 2.4753
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1082654 | 2294798 | -1212144 | 0 | 0.29165 | 12792640 | 0 | 0 | 12727840 | 3.7685
Store | Hydrogen Gas | 46768.01 | 46768.01 | 122496.8 | 128024.1 | -5527.303 | 0 | 0.5409 | 0 | 0 | 0 | 0 | NaN
[8 empty] | total curtailment: | 830610634860.29 | total: | 105554234.6875 | 239376827.8 | 138.7172
[8 empty] | wind curtailment: | 8999050
[8 empty] | solar curtailment: | 1365885
Summary
Total Green Capacity: |  | 121341.1794
Total Green Energy curtailment: |  | 10486900.4
Total Wind Energy Curtailment: |  | 8999050
Data Centre Cost: |  | 42709870

## Both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.892 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.807 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 4346905 | 0 | 4346905 | 0 | 0.14527 | 25576670 | 0 | 55152630 | 55152630 | 12.6878
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 5867.405 | 0 | 5867.405 | 0 | 0.24412 | 18167.6 | 0 | 73107.87 | 131241.4 | 22.3679
| Landfill Gas | 834.5111 | 834.5111 | 13412.72 | 0 | 13412.72 | 0 | 0.0073559 | 1809994 | 0 | 724287 | 773131.5 | 57.6416
| Large Hydro | 1897.296 | 1897.296 | 1411647 | 0 | 1411647 | 0 | 0.34052 | 246589.3 | 0 | 0 | 11042220 | 7.8222
| Load Shedding | 48629.19 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 237153.7 | 0 | 237153.7 | 0 | 0.42671 | 36615.89 | 0 | 0 | 2309131 | 9.7369
| Nuclear | 4570 | 4570 | 4537327 | 0 | 4537327 | 0 | 0.45439 | 5448123 | 0 | 45373270 | 83141160 | 18.3238
| Offshore Wind | 53544.2 | 53544.2 | 26260520 | 0 | 26260520 | 0 | 0.22446 | 5854325 | 0 | 0 | 119110500 | 4.5357
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.74 | 27270.74 | 11327850 | 0 | 11327850 | 0 | 0.19011 | 3007282 | 0 | 0 | 49272770 | 4.3497
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.42 | 40470.42 | 13122590 | 0 | 13122590 | 0 | 0.1484 | 1442954 | 0 | 0 | 104319200 | 7.9496
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 37325590 | 20982790 | 16342810 | -16342810 | 0.11562 | 0 | 0 | 0 | 194255500 | 3.3315
Link | DC | 12450 | 12450 | 10084660 | 5626295 | 4458364 | -4458364 | 0.57754 | 31661610 | 0 | 0 | 95699000 | 6.0912
| DSM | 40000000 | 40000000 | 0 | 430858.6 | -430858.6 | 0 | 4.9297e-06 | 87399570000 | 0 | 4.3086 | -1918466 | -4.4527
| Electrolysis | 3653.095 | 3653.095 | 0 | 168783.3 | -168783.3 | 0 | 0.021145 | 7813229 | 0 | 0 | 0 | NaN
| H2 Power Generation | 278.381 | 278.381 | 0 | 113032.3 | -113032.3 | 0 | 0.18583 | 495230.1 | 0 | 565161.7 | 0 | NaN
| Virtual Link | 380000000 | 380000000 | 0 | 32280.76 | -32280.76 | 32280.76 | 3.8878e-08 | 830300000000 | 0 | 0.32281 | -98914.38 | -3.0642
Load | Data Centre | 0 | 0 | 0 | 4693892 | -4693892 | 0 | NaN | 0 | 0 | 0 | -41758760 | -8.8964
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -475102100 | -9.1054
StorageUnit | Battery Storage | 26471.97 | 26471.97 | 3869780 | 6755991 | -2886211 | 0 | 0.18371 | 60727470 | 0 | 0 | 19257070 | 1.8123
| Domestic Battery Storage | 857.708 | 857.708 | 180789.3 | 293334.9 | -112545.6 | 0 | 0.25299 | 1986638 | 0 | 0 | 632986 | 1.3351
| Liquid Air Energy Storage | 457.994 | 457.994 | 34365.93 | 227667.4 | -193301.5 | 0 | 0.26185 | 1194018 | 0 | 0 | 633332.3 | 2.417
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1076291 | 2274472 | -1198182 | 0 | 0.28935 | 12778680 | 0 | 0 | 12286210 | 3.6667
Store | DSM | 20000000 | 20000000 | 215429.3 | 215429.3 | 0 | 0 | 0.9984 | 0 | 0 | 0 | 0 | NaN
| Hydrogen Gas | 46768.01 | 46768.01 | 111200.9 | 116316.9 | -5115.993 | 0 | 0.50064 | 0 | 0 | 0 | 0 | NaN
[8 empty] | total curtailment: | 918022093202.79 | total: | 101888461.2014 | 229137841.82 | 138.5504
[8 empty] | wind curtailment: | 8861607
Summary | [7 empty] | solar curtailment: | 1442954
Total Green Capacity: |  | 121341.1794
Total Green Energy curtailment: |  | 10426526.4
Total Wind Energy Curtailment: |  | 8861607
Data Centre Cost: |  | 41758760