## Summary
BIG SUMMARY
Data Centre Allocation: | Population
Total Capacity [GW]: | 10
Flexibility: | 10%
x_CFE: | 3%
Total Green Energy | 123437.019
Total Storage | 33087.675
| Inflexible | Temporal | Spatial | Both | CFE | CFE_both
Total Green Energy Curtailment | 10518757.2977 | 10459850.4531 | 10898060.4993 | 10712070.8075 | 0 | 0
Total Wind Offshore Curtailment | 5921211.9222 | 5669402.0027 | 5912935.05 | 5873686.105 | 0 | 0
Total Wind Onshore Curtailment | 3100280.2652 | 3199822.0096 | 3317049.8511 | 3295245.4199 | 0 | 0
Total Solar PV Curtailment | 1184577.2052 | 1275838.5863 | 1323458.504 | 1206265.8994 | 0 | 0
DC Cost | 44867995.5666 | 44567723.1406 | 44861070.4495 | 43972049.8007 | 0 | 0
Network objective | 107961707.8405 | 106778171.803 | 107960173.1506 | 104031558.2742 | - | -
Tot Green En Curtailment Reduction w.r.t. Inflexible |  | 0.56% | -3.606% | -1.838% | 100% | 100%
Total Wind Offshore Curtailment Reduction |  | 4.253% | 0.1398% | 0.8026% | 100% | 100%
Total Wind Onshore Curtailment Reduction |  | -3.211% | -6.992% | -6.289% | 100% | 100%
Total Solar PV Curtailment Reduction |  | -7.704% | -11.72% | -1.831% | 100% | 100%
DC Cost Reduction w.r.t. Inflexible |  | 0.6692% | 0.01543% | 1.997% | 100% | 100%
Objective Reduction w.r.t. Inflexible |  | 1.096% | 0.001422% | 3.64% | #VALUE! | #VALUE!

## Inflexible
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 4604267.7956 | 0 | 4604267.7956 | 0 | 0.15387 | 25319307.2044 | 0 | 60088239.4985 | 60088239.4985 | 13.0506
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 5635.822 | 0 | 5635.822 | 0 | 0.23448 | 18399.178 | 0 | 70222.3421 | 129814.0185 | 23.0338
| Landfill Gas | 834.5111 | 834.5111 | 13201.8427 | 0 | 13201.8427 | 0 | 0.0072402 | 1810204.8369 | 0 | 712899.5087 | 786891.1648 | 59.6047
| Large Hydro | 1897.296 | 1897.296 | 1378993.1879 | 0 | 1378993.1879 | 0 | 0.33264 | 279243.516 | 0 | 0 | 10172452.2578 | 7.3767
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 240325.1617 | 0 | 240325.1617 | 0 | 0.43242 | 33444.3891 | 0 | 0 | 2277334.7401 | 9.4761
| Nuclear | 4570 | 4570 | 4670544.8786 | 0 | 4670544.8786 | 0 | 0.46774 | 5314905.1214 | 0 | 46705448.7861 | 87127567.9507 | 18.6547
| Offshore Wind | 53544.202 | 53544.202 | 26193634.1874 | 0 | 26193634.1874 | 0 | 0.22389 | 5921211.9222 | 0 | 0 | 120118460.8339 | 4.5858
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11234854.0912 | 0 | 11234854.0912 | 0 | 0.18855 | 3100280.2652 | 0 | 0 | 48585174.7966 | 4.3245
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13380964.254 | 0 | 13380964.254 | 0 | 0.15132 | 1184577.2052 | 0 | 0 | 106490575.0869 | 7.9584
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 34611851.6151 | 23494148.4488 | 11117703.1663 | -11117703.1663 | 0.11522 | 0 | 0 | 0 | 153730342.3191 | 2.6457
Link | DC | 12450 | 12450 | 10257171.0908 | 5534845.1466 | 4722325.9442 | -4722325.9442 | 0.58052 | 31925575.9442 | 0 | 0 | 103894310.0041 | 6.5789
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 120524.8161 | -120524.8161 | 0 | 0.0151 | 7861487.2225 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 76979.541 | -76979.541 | 0 | 0.12656 | 531282.944 | 0 | 384897.7052 | 0
Load | Data Centre | 0 | 0 | 0 | 4693920.3252 | -4693920.3252 | 0 |  | 0 | 0 | 0 | -44867995.5666 | -9.5587
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -485058822.9673 | -9.2962
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 2789354.9578 | 5957108.8776 | -3167753.9198 | 0 | 0.15121 | 61009014.9248 | 0 | 0 | 20061986.8065 | 2.2937
| Domestic Battery Storage | 857.708 | 857.708 | 145157.4941 | 268579.8512 | -123422.357 | 0 | 0.22077 | 1997514.337 | 0 | 0 | 661370.682 | 1.5985
| Liquid Air Energy Storage | 457.994 | 457.994 | 30353.2856 | 235807.4085 | -205454.1229 | 0 | 0.26597 | 1206171.0129 | 0 | 0 | 664144.067 | 2.4953
| Pumped Storage Hydroelectricity | 5300 | 5300 | 848198.6225 | 2237756.4303 | -1389557.8078 | 0 | 0.26648 | 12970057.8078 | 0 | 0 | 11836150.0387 | 3.8355
Store | Hydrogen Gas | 46768.008 | 46768.008 | 74959.81 | 82347.6403 | -7387.8302 | 0 | 0.72296 | 0 | 0 | 0 | 0

## Temporal
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 4560961.6874 | 0 | 4560961.6874 | 0 | 0.15242 | 25362613.3126 | 0 | 58915453.7208 | 58915453.7208 | 12.9173
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 5646.822 | 0 | 5646.822 | 0 | 0.23494 | 18388.178 | 0 | 70359.4021 | 129208.7578 | 22.8817
| Landfill Gas | 834.5111 | 834.5111 | 13199.6189 | 0 | 13199.6189 | 0 | 0.007239 | 1810207.0608 | 0 | 712779.4192 | 778614.2897 | 58.9876
| Large Hydro | 1897.296 | 1897.296 | 1377409.9174 | 0 | 1377409.9174 | 0 | 0.33226 | 280826.7866 | 0 | 0 | 10130183.861 | 7.3545
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 239808.4829 | 0 | 239808.4829 | 0 | 0.43149 | 33961.0679 | 0 | 0 | 2264489.4591 | 9.4429
| Nuclear | 4570 | 4570 | 4669512.8603 | 0 | 4669512.8603 | 0 | 0.46763 | 5315937.1397 | 0 | 46695128.603 | 86509176.8056 | 18.5264
| Offshore Wind | 53544.202 | 53544.202 | 26445444.1069 | 0 | 26445444.1069 | 0 | 0.22604 | 5669402.0027 | 0 | 0 | 119522801.6638 | 4.5196
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11135312.3469 | 0 | 11135312.3469 | 0 | 0.18688 | 3199822.0096 | 0 | 0 | 48313924.548 | 4.3388
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13289702.8729 | 0 | 13289702.8729 | 0 | 0.15029 | 1275838.5863 | 0 | 0 | 106261576.9897 | 7.9958
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 34873468.6102 | 23147539.5782 | 11725929.032 | -11725929.032 | 0.11505 | 0 | 0 | 0 | 149931224.9484 | 2.5841
Link | DC | 12450 | 12450 | 10226448.5487 | 5548539.1257 | 4677909.423 | -4677909.423 | 0.57989 | 31881159.423 | 0 | 0 | 101983627.8387 | 6.4649
| DSM | 28000000 | 28000000 | 0 | 300411.1414 | -300411.1414 | 0 | 4.9103e-06 | 61179699588.8586 | 0 | 3.0041 | -2703789.68 | -9.0003
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 121034.454 | -121034.454 | 0 | 0.015163 | 7860977.5846 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 76889.5307 | -76889.5307 | 0 | 0.12641 | 531372.9543 | 0 | 384447.6537 | 0
Load | Data Centre | 0 | 0 | 0 | 4693920.3252 | -4693920.3252 | 0 |  | 0 | 0 | 0 | -44567723.1406 | -9.4948
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -481951063.0727 | -9.2366
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 2692713.5789 | 5886634.7239 | -3193921.145 | 0 | 0.14833 | 61035182.15 | 0 | 0 | 19550641.7432 | 2.2788
| Domestic Battery Storage | 857.708 | 857.708 | 136921.6905 | 261788.3955 | -124866.705 | 0 | 0.21275 | 1998958.685 | 0 | 0 | 644270.9643 | 1.6159
| Liquid Air Energy Storage | 457.994 | 457.994 | 30683.0051 | 232249.531 | -201566.5259 | 0 | 0.26274 | 1202283.4159 | 0 | 0 | 651369.1133 | 2.4773
| Pumped Storage Hydroelectricity | 5300 | 5300 | 857733.2749 | 2236479.5446 | -1378746.2697 | 0 | 0.26719 | 12959246.2697 | 0 | 0 | 11663643.1788 | 3.7695
Store | DSM | 14000000 | 14000000 | 150205.5707 | 150205.5707 | 0 | 0 | 0.99983 | 0 | 0 | 0 | 0
| Hydrogen Gas | 46768.008 | 46768.008 | 75516.6043 | 83351.1914 | -7834.5871 | 0 | 0.76668 | 0 | 0 | 0 | 0

## Spatial
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 4623573.6346 | 0 | 4623573.6346 | 0 | 0.15451 | 25300001.3654 | 0 | 60086721.6773 | 60086721.6773 | 12.9957
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 5643.705 | 0 | 5643.705 | 0 | 0.23481 | 18391.295 | 0 | 70320.5643 | 129909.057 | 23.0184
| Landfill Gas | 834.5111 | 834.5111 | 13201.8427 | 0 | 13201.8427 | 0 | 0.0072402 | 1810204.8369 | 0 | 712899.5087 | 786891.1648 | 59.6047
| Large Hydro | 1897.296 | 1897.296 | 1348647.3019 | 0 | 1348647.3019 | 0 | 0.32532 | 309589.4021 | 0 | 0 | 10169580.4555 | 7.5406
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 238741.8587 | 0 | 238741.8587 | 0 | 0.42957 | 35027.6921 | 0 | 0 | 2277171.6316 | 9.5382
| Nuclear | 4570 | 4570 | 4670840.1218 | 0 | 4670840.1218 | 0 | 0.46776 | 5314609.8782 | 0 | 46708401.2181 | 87130688.7879 | 18.6542
| Offshore Wind | 53544.202 | 53544.202 | 26201911.0595 | 0 | 26201911.0595 | 0 | 0.22396 | 5912935.05 | 0 | 0 | 120074081.584 | 4.5826
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11018084.5053 | 0 | 11018084.5053 | 0 | 0.18491 | 3317049.8511 | 0 | 0 | 48556210.6511 | 4.407
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13242082.9552 | 0 | 13242082.9552 | 0 | 0.14975 | 1323458.504 | 0 | 0 | 106455250.1988 | 8.0392
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 34930475.1677 | 23309869.7611 | 11620605.4066 | -11620605.4066 | 0.11549 | 0 | 0 | 0 | 152798567.6396 | 2.6236
Link | DC | 12450 | 12450 | 10280469.44 | 5538342.6353 | 4742126.8047 | -4742126.8047 | 0.5815 | 31945376.8047 | 0 | 0 | 103889485.5957 | 6.5675
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 112603.0818 | -112603.0818 | 0 | 0.014107 | 7869408.9569 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 76366.0317 | -76366.0317 | 0 | 0.12555 | 531896.4533 | 0 | 381830.1583 | 0
| Virtual Link | 182000000 | 182000000 | 0 | 2396.5024 | -2396.5024 | 2396.5024 | 6.0264e-09 | 397669997603.4975 | 0 | 0.02397 | -23395.3442 | -9.7623
Load | Data Centre | 0 | 0 | 0 | 4693920.3252 | -4693920.3252 | 0 |  | 0 | 0 | 0 | -44861070.4495 | -9.5573
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -484948903.7084 | -9.2941
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 3744410.5064 | 6725292.5464 | -2980882.0399 | 0 | 0.18101 | 60822143.0449 | 0 | 0 | 20085133.6058 | 1.9184
| Domestic Battery Storage | 857.708 | 857.708 | 195340.6864 | 306696.8098 | -111356.1234 | 0 | 0.26788 | 1985448.1034 | 0 | 0 | 661865.1778 | 1.3184
| Liquid Air Energy Storage | 457.994 | 457.994 | 33101.3418 | 228254.6466 | -195153.3048 | 0 | 0.26117 | 1195870.1948 | 0 | 0 | 665008.2574 | 2.5445
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1087872.8696 | 2335085.3736 | -1247212.5039 | 0 | 0.29558 | 12827712.5039 | 0 | 0 | 11845912.2939 | 3.4607
Store | Hydrogen Gas | 46768.008 | 46768.008 | 74928.7584 | 77384.884 | -2456.1256 | 0 | 0.24035 | 0 | 0 | 0 | 0

## Both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 4424704.8877 | 0 | 4424704.8877 | 0 | 0.14787 | 25498870.1123 | 0 | 56724086.3413 | 56724086.3413 | 12.8199
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 5596.407 | 0 | 5596.407 | 0 | 0.23284 | 18438.593 | 0 | 69731.2312 | 125776.2485 | 22.4745
| Landfill Gas | 834.5111 | 834.5111 | 13201.8427 | 0 | 13201.8427 | 0 | 0.0072402 | 1810204.8369 | 0 | 712899.5087 | 761605.3854 | 57.6894
| Large Hydro | 1897.296 | 1897.296 | 1356105.7807 | 0 | 1356105.7807 | 0 | 0.32712 | 302130.9233 | 0 | 0 | 9938540.0256 | 7.3287
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 239027.0909 | 0 | 239027.0909 | 0 | 0.43008 | 34742.4599 | 0 | 0 | 2227731.6038 | 9.32
| Nuclear | 4570 | 4570 | 4614434.9877 | 0 | 4614434.9877 | 0 | 0.46212 | 5371015.0123 | 0 | 46144349.8767 | 84585096.1908 | 18.3305
| Offshore Wind | 53544.202 | 53544.202 | 26241160.0046 | 0 | 26241160.0046 | 0 | 0.22429 | 5873686.105 | 0 | 0 | 118260885.6742 | 4.5067
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11039888.9365 | 0 | 11039888.9365 | 0 | 0.18527 | 3295245.4199 | 0 | 0 | 47764884.1226 | 4.3266
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13359275.5598 | 0 | 13359275.5598 | 0 | 0.15108 | 1206265.8994 | 0 | 0 | 104793838.2863 | 7.8443
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 34380051.0602 | 23350522.3508 | 11029528.7094 | -11029528.7094 | 0.11448 | 0 | 0 | 0 | 144431803.5202 | 2.5018
Link | DC | 12450 | 12450 | 10157671.2783 | 5619512.419 | 4538158.8592 | -4538158.8592 | 0.57997 | 31741408.8592 | 0 | 0 | 97900389.9663 | 6.2052
| DSM | 28000000 | 28000000 | 0 | 467454.7814 | -467454.7814 | 0 | 7.6406e-06 | 61179532545.2186 | 0 | 4.6745 | -2583908.3659 | -5.5276
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 112315.7519 | -112315.7519 | 0 | 0.014071 | 7869696.2868 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 76097.3283 | -76097.3283 | 0 | 0.12511 | 532165.1567 | 0 | 380486.6417 | 0
| Virtual Link | 182000000 | 182000000 | 0 | 0 | 0 | 0 | 0 | 397670000000 | 0 | 0 | 0
Load | Data Centre | 0 | 0 | 0 | 4693920.3252 | -4693920.3252 | 0 |  | 0 | 0 | 0 | -43972049.8007 | -9.3679
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -475169274.5247 | -9.1066
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 3849126.7438 | 6768274.748 | -2919148.0042 | 0 | 0.18356 | 60760409.0092 | 0 | 0 | 19348980.4557 | 1.8224
| Domestic Battery Storage | 857.708 | 857.708 | 189258.971 | 300589.7709 | -111330.7999 | 0 | 0.26138 | 1985422.7799 | 0 | 0 | 637627.7759 | 1.3017
| Liquid Air Energy Storage | 457.994 | 457.994 | 34079.6306 | 226827.3696 | -192747.739 | 0 | 0.26072 | 1193464.629 | 0 | 0 | 643440.3995 | 2.4662
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1085733.8786 | 2322833.6001 | -1237099.7215 | 0 | 0.29434 | 12817599.7215 | 0 | 0 | 11435444.7719 | 3.3549
Store | DSM | 14000000 | 14000000 | 233727.3907 | 233727.3907 | 0 | 0 | 0.99806 | 0 | 0 | 0 | 0
| Hydrogen Gas | 46768.008 | 46768.008 | 74713.556 | 77237.254 | -2523.698 | 0 | 0.24697 | 0 | 0 | 0 | 0

## CFE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue
Generator | Advanced Biofuel | 0 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Biogas | 0 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Biomass | 0 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 0 | 23586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combined Heat & Power | 0 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| European Imports | 0 | 13695 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gas Engine | 0 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Geothermal | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Landfill Gas | 0 | 834.5111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Large Hydro | 0 | 1897.296 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Load Shedding | 0 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Marine Energy | 0 | 254.358 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Nuclear | 0 | 4570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Offshore Wind | 0 | 53544.202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Oil | 0 | 78.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Onshore Wind | 0 | 27270.741 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Open Cycle Gas Turbine | 0 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sewage Gas | 0 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Solar PV | 0 | 40470.422 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Waste to Energy | 0 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line | AC | 0 | 230800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Link | DC | 0 | 12450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Electrolysis | 0 | 3653.0948 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| H2 Power Generation | 0 | 278.381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
StorageUnit | Battery Storage | 0 | 26471.973 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Domestic Battery Storage | 0 | 857.708 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Liquid Air Energy Storage | 0 | 457.994 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Pumped Storage Hydroelectricity | 0 | 5300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Store | Hydrogen Gas | 0 | 46768.008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## CFE_both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue
Generator | Advanced Biofuel | 0 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Biogas | 0 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Biomass | 0 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 0 | 23586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combined Heat & Power | 0 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| European Imports | 0 | 13695 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gas Engine | 0 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Geothermal | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Landfill Gas | 0 | 834.5111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Large Hydro | 0 | 1897.296 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Load Shedding | 0 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Marine Energy | 0 | 254.358 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Nuclear | 0 | 4570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Offshore Wind | 0 | 53544.202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Oil | 0 | 78.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Onshore Wind | 0 | 27270.741 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Open Cycle Gas Turbine | 0 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sewage Gas | 0 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Solar PV | 0 | 40470.422 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Waste to Energy | 0 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line | AC | 0 | 230800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Link | DC | 0 | 12450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| DSM | 0 | 28000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Electrolysis | 0 | 3653.0948 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| H2 Power Generation | 0 | 278.381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Virtual Link | 0 | 182000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
StorageUnit | Battery Storage | 0 | 26471.973 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Domestic Battery Storage | 0 | 857.708 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Liquid Air Energy Storage | 0 | 457.994 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Pumped Storage Hydroelectricity | 0 | 5300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Store | DSM | 0 | 14000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hydrogen Gas | 0 | 46768.008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0