## Summary
BIG SUMMARY
Data Centre Allocation: | Population
Total Capacity [GW]: | 4
Flexibility: | 10%
x_CFE: | 90%
Total Green Energy | 123437.019
Total Storage | 33087.675
| Inflexible | Temporal | Spatial | Both | CFE | CFE_both
Total Green Energy Curtailment | 11412538.7291 | 11416156.9777 | 11775024.442 | 11639358.4813 | 12128104.69 | 12095943.96
Total Wind Offshore Curtailment | 6536103.4404 | 6602690.0352 | 6564609.8832 | 6712367.8615 | 7191048 | 7186173
Total Wind Onshore Curtailment | 3222104.4621 | 3114089.9084 | 3362993.7074 | 3287011.9954 | 3415151 | 3420547
Total Solar PV Curtailment | 1339813.4739 | 1388330.2163 | 1508285.2373 | 1309421.9723 | 1179305 | 1148771
DC Cost | 15237429.2491 | 15206049.6651 | 15237428.5427 | 15145488.4793 | 15239690 | 15114160
Network objective | 83006417.4226 | 82606742.585 | 83006292.183 | 81641873.5352 | 83582045.6085 | 82200484.0133
Tot Green En Curtailment Reduction w.r.t. Inflexible |  | -0.0317% | -3.176% | -1.987% | -6.27% | -5.988%
Total Wind Offshore Curtailment Reduction |  | -1.019% | -0.4361% | -2.697% | -10.02% | -9.946%
Total Wind Onshore Curtailment Reduction |  | 3.352% | -4.373% | -2.014% | -5.991% | -6.159%
Total Solar PV Curtailment Reduction |  | -3.621% | -12.57% | 2.268% | 11.98% | 14.26%
DC Cost Reduction w.r.t. Inflexible |  | 0.2059% | 4.636e-06% | 0.6034% | -0.01484% | 0.809%
Objective Reduction w.r.t. Inflexible |  | 0.4815% | 0.0001509% | 1.644% | -0.6935% | 0.9709%

## Inflexible
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3617998.2648 | 0 | 3617998.2648 | 0 | 0.12091 | 26305576.7352 | 0 | 41523690.0341 | 41523690.0341 | 11.477
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4626.798 | 0 | 4626.798 | 0 | 0.1925 | 19408.202 | 0 | 57649.9031 | 97520.6149 | 21.0773
| Landfill Gas | 834.5111 | 834.5111 | 484.795 | 0 | 484.795 | 0 | 0.00026587 | 1822921.8846 | 0 | 26178.9311 | 26314.7002 | 54.2811
| Large Hydro | 1897.296 | 1897.296 | 1376986.7725 | 0 | 1376986.7725 | 0 | 0.33216 | 281249.9315 | 0 | 0 | 8653086.774 | 6.2841
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 240502.1295 | 0 | 240502.1295 | 0 | 0.43274 | 33267.4213 | 0 | 0 | 1937849.2941 | 8.0575
| Nuclear | 4570 | 4570 | 4104923.8381 | 0 | 4104923.8381 | 0 | 0.41109 | 5880526.1619 | 0 | 41049238.3806 | 68828600.6862 | 16.7673
| Offshore Wind | 53544.202 | 53544.202 | 25578742.6692 | 0 | 25578742.6692 | 0 | 0.21863 | 6536103.4404 | 0 | 0 | 101617652.6383 | 3.9727
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11113029.8944 | 0 | 11113029.8944 | 0 | 0.1865 | 3222104.4621 | 0 | 0 | 41099209.7824 | 3.6983
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13225727.9853 | 0 | 13225727.9853 | 0 | 0.14957 | 1339813.4739 | 0 | 0 | 90581604.9586 | 6.8489
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 32551784.1506 | 23320581.3232 | 9231202.8274 | -9231202.8274 | 0.11079 | 0 | 0 | 0 | 99542435.7716 | 1.7816
Link | DC | 12450 | 12450 | 9583051.789 | 5872284.338 | 3710767.4511 | -3710767.4511 | 0.56814 | 30914017.4511 | 0 | 0 | 71862787.4103 | 4.6497
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 111151.3948 | -111151.3948 | 0 | 0.013925 | 7870860.6439 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 69932.0348 | -69932.0348 | 0 | 0.11497 | 538330.4502 | 0 | 349660.1738 | 0
Load | Data Centre | 0 | 0 | 0 | 1877542.7831 | -1877542.7831 | 0 |  | 0 | 0 | 0 | -15237429.2491 | -8.1156
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -411597719.5007 | -7.8883
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 2534785.6103 | 5970502.2084 | -3435716.5981 | 0 | 0.14705 | 61276977.6031 | 0 | 0 | 16733883.1459 | 1.9675
| Domestic Battery Storage | 857.708 | 857.708 | 138085.3594 | 270500.3505 | -132414.9912 | 0 | 0.21802 | 2006506.9712 | 0 | 0 | 550607.0228 | 1.3476
| Liquid Air Energy Storage | 457.994 | 457.994 | 30637.9669 | 251498.4245 | -220860.4576 | 0 | 0.28193 | 1221577.3476 | 0 | 0 | 557677.1842 | 1.9766
| Pumped Storage Hydroelectricity | 5300 | 5300 | 813057.9709 | 2247794.305 | -1434736.3341 | 0 | 0.26431 | 13015236.3341 | 0 | 0 | 9938024.0907 | 3.2468
Store | Hydrogen Gas | 46768.008 | 46768.008 | 68895.075 | 76769.0166 | -7873.9416 | 0 | 0.77053 | 0 | 0 | 0 | 0

## Temporal
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3596047.0416 | 0 | 3596047.0416 | 0 | 0.12017 | 26327527.9584 | 0 | 41131015.123 | 41131015.123 | 11.4378
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4453.372 | 0 | 4453.372 | 0 | 0.18529 | 19581.628 | 0 | 55489.0151 | 95186.798 | 21.3741
| Landfill Gas | 834.5111 | 834.5111 | 522.8323 | 0 | 522.8323 | 0 | 0.00028673 | 1822883.8473 | 0 | 28232.945 | 28368.1311 | 54.2592
| Large Hydro | 1897.296 | 1897.296 | 1382017.6341 | 0 | 1382017.6341 | 0 | 0.33337 | 276219.0699 | 0 | 0 | 8637571.9416 | 6.25
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 238941.8029 | 0 | 238941.8029 | 0 | 0.42993 | 34827.7479 | 0 | 0 | 1935411.9283 | 8.0999
| Nuclear | 4570 | 4570 | 4104458.9139 | 0 | 4104458.9139 | 0 | 0.41104 | 5880991.0861 | 0 | 41044589.1395 | 68653450.5366 | 16.7266
| Offshore Wind | 53544.202 | 53544.202 | 25512156.0743 | 0 | 25512156.0743 | 0 | 0.21806 | 6602690.0352 | 0 | 0 | 101513478.0108 | 3.979
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11221044.448 | 0 | 11221044.448 | 0 | 0.18831 | 3114089.9084 | 0 | 0 | 41022297.8047 | 3.6558
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13177211.2429 | 0 | 13177211.2429 | 0 | 0.14902 | 1388330.2163 | 0 | 0 | 90344947.028 | 6.8562
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 32692993.448 | 23168647.3035 | 9524346.1445 | -9524346.1445 | 0.11077 | 0 | 0 | 0 | 98850007.2672 | 1.7696
Link | DC | 12450 | 12450 | 9604788.4669 | 5916535.0909 | 3688253.376 | -3688253.376 | 0.57057 | 30891503.376 | 0 | 0 | 71373919.0877 | 4.5984
| DSM | 26000000 | 26000000 | 0 | 117173.9121 | -117173.9121 | 0 | 2.0626e-06 | 56809882826.0879 | 0 | 1.1717 | -1041930.4632 | -8.8922
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 102077.8159 | -102077.8159 | 0 | 0.012788 | 7879934.2227 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 69483.0381 | -69483.0381 | 0 | 0.11423 | 538779.4469 | 0 | 347415.1906 | 0
Load | Data Centre | 0 | 0 | 0 | 1877542.7831 | -1877542.7831 | 0 |  | 0 | 0 | 0 | -15206049.6651 | -8.0989
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -410643691.3267 | -7.87
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 2603248.2395 | 6038224.3379 | -3434976.0984 | 0 | 0.1494 | 61276237.1034 | 0 | 0 | 16577041.8843 | 1.9183
| Domestic Battery Storage | 857.708 | 857.708 | 142469.9688 | 272476.0696 | -130006.1008 | 0 | 0.22141 | 2004098.0808 | 0 | 0 | 545406.7103 | 1.3144
| Liquid Air Energy Storage | 457.994 | 457.994 | 31820.7672 | 252267.3171 | -220446.5499 | 0 | 0.28388 | 1221163.44 | 0 | 0 | 552474.6132 | 1.9447
| Pumped Storage Hydroelectricity | 5300 | 5300 | 821260.8643 | 2241676.9402 | -1420416.0759 | 0 | 0.26449 | 13000916.0759 | 0 | 0 | 9857427.5405 | 3.2183
Store | DSM | 13000000 | 13000000 | 58586.9561 | 58586.9561 | 0 | 0 | 0.99993 | 0 | 0 | 0 | 0
| Hydrogen Gas | 46768.008 | 46768.008 | 68330.0555 | 70301.4885 | -1971.433 | 0 | 0.19292 | 0 | 0 | 0 | 0

## Spatial
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3619085.2403 | 0 | 3619085.2403 | 0 | 0.12094 | 26304489.7597 | 0 | 41523637.6926 | 41523637.6926 | 11.4735
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4626.798 | 0 | 4626.798 | 0 | 0.1925 | 19408.202 | 0 | 57649.9031 | 97520.6146 | 21.0773
| Landfill Gas | 834.5111 | 834.5111 | 484.795 | 0 | 484.795 | 0 | 0.00026587 | 1822921.8846 | 0 | 26178.9311 | 26314.7002 | 54.2811
| Large Hydro | 1897.296 | 1897.296 | 1355338.2084 | 0 | 1355338.2084 | 0 | 0.32693 | 302898.4956 | 0 | 0 | 8653084.4209 | 6.3844
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 237532.4324 | 0 | 237532.4324 | 0 | 0.42739 | 36237.1185 | 0 | 0 | 1937849.2635 | 8.1583
| Nuclear | 4570 | 4570 | 4105063.8288 | 0 | 4105063.8288 | 0 | 0.4111 | 5880386.1712 | 0 | 41050638.2884 | 68829995.3471 | 16.7671
| Offshore Wind | 53544.202 | 53544.202 | 25550236.2264 | 0 | 25550236.2264 | 0 | 0.21839 | 6564609.8832 | 0 | 0 | 101617651.5231 | 3.9772
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 10972140.6491 | 0 | 10972140.6491 | 0 | 0.18414 | 3362993.7074 | 0 | 0 | 41099208.1189 | 3.7458
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13057256.2219 | 0 | 13057256.2219 | 0 | 0.14766 | 1508285.2373 | 0 | 0 | 90581596.1014 | 6.9373
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 32710577.2198 | 23296425.0241 | 9414152.1957 | -9414152.1957 | 0.11106 | 0 | 0 | 0 | 98969393.1285 | 1.7671
Link | DC | 12450 | 12450 | 9596868.5716 | 5884986.2738 | 3711882.2978 | -3711882.2978 | 0.56912 | 30915132.2978 | 0 | 0 | 71862732.2428 | 4.6417
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 102550.6241 | -102550.6241 | 0 | 0.012848 | 7879461.4145 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 69637.4722 | -69637.4722 | 0 | 0.11449 | 538625.0128 | 0 | 348187.3611 | 0
| Virtual Link | 156000000 | 156000000 | 0 | 668.606 | -668.606 | 668.606 | 1.9615e-09 | 340859999331.394 | 0 | 0.00669 | -6077.8418 | -9.0903
Load | Data Centre | 0 | 0 | 0 | 1877542.7831 | -1877542.7831 | 0 |  | 0 | 0 | 0 | -15237428.5427 | -8.1156
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -411597668.0622 | -7.8883
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 3506518.0346 | 6737429.4913 | -3230911.4568 | 0 | 0.1771 | 61072172.4618 | 0 | 0 | 16733885.9792 | 1.6335
| Domestic Battery Storage | 857.708 | 857.708 | 188390.3625 | 307210.6683 | -118820.3058 | 0 | 0.26445 | 1992912.2858 | 0 | 0 | 550606.9754 | 1.111
| Liquid Air Energy Storage | 457.994 | 457.994 | 33362.3495 | 244032.76 | -210670.4105 | 0 | 0.2772 | 1211387.3005 | 0 | 0 | 557677.1842 | 2.0104
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1024552.2287 | 2335101.0505 | -1310548.8218 | 0 | 0.29011 | 12891048.8218 | 0 | 0 | 9938024.0907 | 2.9581
Store | Hydrogen Gas | 46768.008 | 46768.008 | 68750.4756 | 70898.4403 | -2147.9647 | 0 | 0.2102 | 0 | 0 | 0 | 0

## Both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8435 | 0 | 0 | 0
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718.0135 | 0 | 0 | 0
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070987.6665 | 0 | 0 | 0
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721868.66 | 0 | 0 | 0
| European Imports | 13695 | 13695 | 3567776.3889 | 0 | 3567776.3889 | 0 | 0.11923 | 26355798.6111 | 0 | 40461381.0441 | 40461381.0441 | 11.3408
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037.39 | 0 | 0 | 0
| Geothermal | 11 | 11 | 4453.372 | 0 | 4453.372 | 0 | 0.18529 | 19581.628 | 0 | 55489.0151 | 94600.8978 | 21.2425
| Landfill Gas | 834.5111 | 834.5111 | 37.806 | 0 | 37.806 | 0 | 2.0731e-05 | 1823368.8737 | 0 | 2041.5221 | 2169.7175 | 57.3994
| Large Hydro | 1897.296 | 1897.296 | 1361765.7866 | 0 | 1361765.7866 | 0 | 0.32849 | 296470.9174 | 0 | 0 | 8602315.9475 | 6.317
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178335.7916 | 0 | 0 | 0
| Marine Energy | 254.358 | 254.358 | 239683.8163 | 0 | 239683.8163 | 0 | 0.43126 | 34085.7346 | 0 | 0 | 1925872.1292 | 8.0351
| Nuclear | 4570 | 4570 | 4077561.2231 | 0 | 4077561.2231 | 0 | 0.40835 | 5907888.7769 | 0 | 40775612.2309 | 68045813.2251 | 16.6879
| Offshore Wind | 53544.202 | 53544.202 | 25402478.248 | 0 | 25402478.248 | 0 | 0.21713 | 6712367.8615 | 0 | 0 | 101189046.0255 | 3.9834
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0
| Onshore Wind | 27270.741 | 27270.741 | 11048122.361 | 0 | 11048122.361 | 0 | 0.18541 | 3287011.9954 | 0 | 0 | 40926759.9941 | 3.7044
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003414.65 | 0 | 0 | 0
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.3768 | 0 | 0 | 0
| Solar PV | 40470.422 | 40470.422 | 13256119.4869 | 0 | 13256119.4869 | 0 | 0.14991 | 1309421.9723 | 0 | 0 | 90039499.22 | 6.7923
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145343.93 | 0 | 0 | 0
Line | AC | 230800 | 230800 | 32086594.0335 | 23381746.5422 | 8704847.4913 | -8704847.4913 | 0.10999 | 0 | 0 | 0 | 97870681.9137 | 1.7644
Link | DC | 12450 | 12450 | 9550825.482 | 5891567.6473 | 3659257.8347 | -3659257.8347 | 0.56767 | 30862507.8348 | 0 | 0 | 70328226.7229 | 4.5542
| DSM | 26000000 | 26000000 | 0 | 186967.0887 | -186967.0887 | 0 | 3.2911e-06 | 56809813032.9113 | 0 | 1.8697 | -860318.1451 | -4.6014
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 102512.5497 | -102512.5497 | 0 | 0.012843 | 7879499.489 | 0 | 0 | 0
| H2 Power Generation | 278.381 | 278.381 | 0 | 69469.5706 | -69469.5706 | 0 | 0.11421 | 538792.9144 | 0 | 347347.8529 | 0
| Virtual Link | 156000000 | 156000000 | 0 | 45.5484 | -45.5484 | 45.5484 | 1.3365e-10 | 340859999954.4517 | 0 | 0.00046 | -352.4636 | -7.7367
Load | Data Centre | 0 | 0 | 0 | 1877542.7831 | -1877542.7831 | 0 |  | 0 | 0 | 0 | -15145488.4793 | -8.0667
| Electricity | 0 | 0 | 0 | 52178335.7916 | -52178335.7916 | 0 |  | 0 | 0 | 0 | -409116366.1708 | -7.8407
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 3444808.0916 | 6690756.1515 | -3245948.0598 | 0 | 0.17523 | 61087209.0649 | 0 | 0 | 16551694.1184 | 1.633
| Domestic Battery Storage | 857.708 | 857.708 | 175681.3402 | 297064.6994 | -121383.3592 | 0 | 0.25225 | 1995475.3392 | 0 | 0 | 544578.7569 | 1.1519
| Liquid Air Energy Storage | 457.994 | 457.994 | 33416.3394 | 249000.2182 | -215583.8788 | 0 | 0.28221 | 1216300.7688 | 0 | 0 | 551200.9486 | 1.9517
| Pumped Storage Hydroelectricity | 5300 | 5300 | 956022.2174 | 2298930.515 | -1342908.2976 | 0 | 0.28107 | 12923408.2976 | 0 | 0 | 9834972.4665 | 3.0215
Store | DSM | 13000000 | 13000000 | 93483.5443 | 93483.5443 | 0 | 0 | 0.99917 | 0 | 0 | 0 | 0
| Hydrogen Gas | 46768.008 | 46768.008 | 68934.5637 | 71223.7779 | -2289.2142 | 0 | 0.22402 | 0 | 0 | 0 | 0

## CFE
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.8915 | 1642.8915 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.8067 | 9185.8067 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3594433 | 0 | 3594433 | 0 | 0.12012 | 26329140 | 0 | 41974260 | 41974260 | 11.6776
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4631.564 | 0 | 4631.564 | 0 | 0.1927 | 19403.44 | 0 | 57709.29 | 98173.42 | 21.1966
| Landfill Gas | 834.5111 | 834.5111 | 601.7128 | 0 | 601.7128 | 0 | 0.00033 | 1822805 | 0 | 32492.49 | 32623.69 | 54.2187
| Large Hydro | 1897.296 | 1897.296 | 1354044 | 0 | 1354044 | 0 | 0.32662 | 304192.9 | 0 | 0 | 8659987 | 6.3956
| Load Shedding | 48629.1909 | 48629.1909 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 235361.8 | 0 | 235361.8 | 0 | 0.42349 | 38407.79 | 0 | 0 | 1941076 | 8.2472
| Nuclear | 4570 | 4570 | 4116907 | 0 | 4116907 | 0 | 0.41229 | 5868543 | 0 | 41169070 | 69379570 | 16.8524
| Offshore Wind | 53544.202 | 53544.202 | 24923800 | 0 | 24923800 | 0 | 0.21304 | 7191048 | 0 | 0 | 99997000 | 4.0121
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.741 | 27270.741 | 10919980 | 0 | 10919980 | 0 | 0.18326 | 3415151 | 0 | 0 | 41096600 | 3.7634
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.422 | 40470.422 | 13386240 | 0 | 13386240 | 0 | 0.15138 | 1179305 | 0 | 0 | 91453710 | 6.8319
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 32189100 | 22829720 | 9359372 | -9359372 | 0.1091 | 0 | 0 | 0 | 98829040 | 1.7963
Link | DC | 12450 | 12450 | 9527160 | 5840562 | 3686598 | -3686598 | 0.56492 | 30889850 | 0 | 0 | 72544950 | 4.7206
| Electrolysis | 3653.0948 | 3653.0948 | 0 | 105916.1 | -105916.1 | 0 | 0.013269 | 7876096 | 0 | 0 | 36.7617 | 0.000347
| H2 Power Generation | 278.381 | 278.381 | 0 | 69704.53 | -69704.53 | 0 | 0.1146 | 538558 | 0 | 348522.7 | 0 | NaN
Load | Data Centre | 0 | 0 | 0 | 1877543 | -1877543 | 0 | NaN | 0 | 0 | 0 | -15239690 | -8.1168
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -412340200 | -7.9025
StorageUnit | Battery Storage | 26471.973 | 26471.973 | 4261634 | 7207848 | -2946214 | 0 | 0.19829 | 60787470 | 0 | 0 | 16848690 | 1.469
| Domestic Battery Storage | 857.708 | 857.708 | 197543.2 | 310363.1 | -112819.9 | 0 | 0.27102 | 1986912 | 0 | 0 | 530536.2 | 1.0446
| Liquid Air Energy Storage | 457.994 | 457.994 | 33928.02 | 220546 | -186618 | 0 | 0.25429 | 1187335 | 0 | 0 | 567754.1 | 2.2311
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1124980 | 2380548 | -1255568 | 0 | 0.30271 | 12836070 | 0 | 0 | 9908309 | 2.8265
Store | Hydrogen Gas | 46768.008 | 46768.008 | 69246.72 | 73683.47 | -4436.756 | 0 | 0.43417 | 0 | 0 | 0 | 0 | NaN

## CFE_both
|  | Optimal Capacity | Installed Capacity | Supply | Withdrawal | Energy Balance | Transmission | Capacity Factor | Curtailment | Capital Expenditure | Operational Expenditure | Revenue | Market Value
Generator | Advanced Biofuel | 372.4393 | 372.4393 | 0 | 0 | 0 | 0 | 0 | 813779.8 | 0 | 0 | 0 | NaN
| Biogas | 1642.892 | 1642.892 | 0 | 0 | 0 | 0 | 0 | 3589718 | 0 | 0 | 0 | NaN
| Biomass | 9185.807 | 9185.807 | 0 | 0 | 0 | 0 | 0 | 20070990 | 0 | 0 | 0 | NaN
| Combined Cycle Gas Turbine | 23586 | 23586 | 0 | 0 | 0 | 0 | 0 | 51535410 | 0 | 0 | 0 | NaN
| Combined Heat & Power | 3534.036 | 3534.036 | 0 | 0 | 0 | 0 | 0 | 7721869 | 0 | 0 | 0 | NaN
| European Imports | 13695 | 13695 | 3551784 | 0 | 3551784 | 0 | 0.1187 | 26371790 | 0 | 40917920 | 40917920 | 11.5204
| Gas Engine | 4067.294 | 4067.294 | 0 | 0 | 0 | 0 | 0 | 8887037 | 0 | 0 | 0 | NaN
| Geothermal | 11 | 11 | 4576.383 | 0 | 4576.383 | 0 | 0.1904 | 19458.62 | 0 | 57021.73 | 96522.62 | 21.0915
| Landfill Gas | 834.5111 | 834.5111 | 35.5821 | 0 | 35.5821 | 0 | 1.9508e-05 | 1823371 | 0 | 1921.433 | 2050.361 | 57.64
| Large Hydro | 1897.296 | 1897.296 | 1356764 | 0 | 1356764 | 0 | 0.32728 | 301473.2 | 0 | 0 | 8593434 | 6.3338
| Load Shedding | 48629.19 | 48629.19 | 0 | 0 | 0 | 0 | 0 | 52178340 | 0 | 0 | 0 | NaN
| Marine Energy | 254.358 | 254.358 | 234789.8 | 0 | 234789.8 | 0 | 0.42246 | 38979.76 | 0 | 0 | 1926160 | 8.2038
| Nuclear | 4570 | 4570 | 4087791 | 0 | 4087791 | 0 | 0.40937 | 5897659 | 0 | 40877910 | 68456300 | 16.7465
| Offshore Wind | 53544.2 | 53544.2 | 24928670 | 0 | 24928670 | 0 | 0.21308 | 7186173 | 0 | 0 | 99353260 | 3.9855
| Oil | 78.5 | 78.5 | 0 | 0 | 0 | 0 | 0 | 171522.5 | 0 | 0 | 0 | NaN
| Onshore Wind | 27270.74 | 27270.74 | 10914590 | 0 | 10914590 | 0 | 0.18317 | 3420547 | 0 | 0 | 40762850 | 3.7347
| Open Cycle Gas Turbine | 3662.89 | 3662.89 | 0 | 0 | 0 | 0 | 0 | 8003415 | 0 | 0 | 0 | NaN
| Sewage Gas | 55.8194 | 55.8194 | 0 | 0 | 0 | 0 | 0 | 121965.4 | 0 | 0 | 0 | NaN
| Solar PV | 40470.42 | 40470.42 | 13416770 | 0 | 13416770 | 0 | 0.15173 | 1148771 | 0 | 0 | 90609630 | 6.7535
| Waste to Energy | 4643.178 | 4643.178 | 0 | 0 | 0 | 0 | 0 | 10145340 | 0 | 0 | 0 | NaN
Line | AC | 230800 | 230800 | 32159570 | 22982550 | 9177016 | -9177016 | 0.10934 | 0 | 0 | 0 | 95791070 | 1.7372
Link | DC | 12450 | 12450 | 9524101 | 5881246 | 3642855 | -3642855 | 0.56631 | 30846100 | 0 | 0 | 70845060 | 4.5987
| DSM | 26000000 | 26000000 | 0 | 187588.1 | -187588.1 | 0 | 3.302e-06 | 56809810000 | 0 | 1.8759 | -856679.2 | -4.5668
| Electrolysis | 3653.095 | 3653.095 | 0 | 107731 | -107731 | 0 | 0.013497 | 7874281 | 0 | 0 | 36.9241 | 0.000343
| H2 Power Generation | 278.381 | 278.381 | 0 | 69142.09 | -69142.09 | 0 | 0.11367 | 539120.4 | 0 | 345710.4 | 0 | NaN
| Virtual Link | 156000000 | 156000000 | 0 | 45.5484 | -45.5484 | 45.5484 | 1.3365e-10 | 340860000000 | 0 | 0.00046 | -354.4992 | -7.7813
Load | Data Centre | 0 | 0 | 0 | 1877543 | -1877543 | 0 | NaN | 0 | 0 | 0 | -15114160 | -8.05
| Electricity | 0 | 0 | 0 | 52178340 | -52178340 | 0 | NaN | 0 | 0 | 0 | -408903900 | -7.8367
StorageUnit | Battery Storage | 26471.97 | 26471.97 | 4291764 | 7212774 | -2921010 | 0 | 0.1989 | 60762270 | 0 | 0 | 16701970 | 1.4518
| Domestic Battery Storage | 857.708 | 857.708 | 204310.8 | 314653.3 | -110342.5 | 0 | 0.27692 | 1984435 | 0 | 0 | 526021.9 | 1.0136
| Liquid Air Energy Storage | 457.994 | 457.994 | 34787.07 | 218694.8 | -183907.8 | 0 | 0.2533 | 1184625 | 0 | 0 | 560826.3 | 2.2125
| Pumped Storage Hydroelectricity | 5300 | 5300 | 1125868 | 2368412 | -1242544 | 0 | 0.30174 | 12823040 | 0 | 0 | 9809439 | 2.8073
Store | DSM | 13000000 | 13000000 | 93794.04 | 93794.04 | 0 | 0 | 0.9991 | 0 | 0 | 0 | 0 | NaN
| Hydrogen Gas | 46768.01 | 46768.01 | 68085.78 | 74355.36 | -6269.589 | 0 | 0.61353 | 0 | 0 | 0 | 0 | NaN